## Slide 1: QMWG Update to WMS
S. Looney
June 12, 2013

## Slide 2: NPRRs and WMS Assignments
NPRR532, Performance Measurement and Verification and Telemetry Requirements for Load Resources Providing Non-Spin
  Assignment from WMS
  ERCOT presented data on baseline methodology
  ERCOT provided proposed revisions to the Nodal Non-Spinning Reserve Service Deployment and Recall Procedure specifying that Load Resources would be deployed last.
  NPRR532 implementation is technically feasible
  Recommendation , WMS vote based on impact to market

## Slide 3: NPRRs and WMS Assignments
NPRR524, Resource Limits in Providing Ancillary Service and NPRR527, Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis
  Joint meeting with PDCWG
  24% of HSL may be offered as RRS
  Primary Frequency Responsive requirement is 1150 MW ERCOT-wide, if 83% of RRS on a Resource is PFR, ERCOT will have the required quantity.
  83% equals 20/24
  Support with GDF Suez 6/4/2013 comments.
  Recommend that another study of PFR requirements for ERCOT be considered in the future.
  NPRR527, recommend requirement for telemetry of quantity of RRS which is non-PFR from each Resource.

## Slide 4: NPRRs and WMS Assignments
NPRR153, Generation Resource Fixed Quantity Block
  Provides for the ability to submit a fixed quantity block offer for NSRS in the DAM.
  Evaluation of these offers could cause unintended pricing anomalies during DAM execution.
  Consensus of the QMWG, this NPRR is no longer needed.
  ERCOT to submit an administrative NPRR to remove the Protocol language.

## Slide 5: General Update
Discussed NPRR546, Removal of References to RUC Notifications
  As a result of NPRR 321 and NPRR416, provisions of NPRR207 are not needed
  Removes the definition of RUC Notification and references to RUC Notification and NPRR207
New Generation Interconnection Handbook – No update available
Wind Forecast Accuracy Report – No update available
NSRS Testing/Qualification Procedure – ERCOT has worked offline with QSEs to develop a test procedure for testing online NSRS. Will follow up with NPRR/NOGRR.
Reactive Testing Workshop, June 14 – Agenda posted
PSSE Version for SSWG models – Following up with ERCOT to provide information to Resource owners regarding additional data requirements.