| NOGRR Number | 119 | NOGRR Title | Revisions to Load Shed Table |
| --- | --- | --- | --- |
| Date Posted |  | June 18, 2013 |  |

| Requested Resolution | Urgent. ERCOT is seeking an effective date of July 3, 2013 to ensure that the Transmission Operator (TO) Load Shed obligations are accurately reflected in the ERCOT Load Shed Table. This will ensure Load Shed obligations are clear for ERCOT and Market Participants in the event of an emergency. |
| --- | --- |
| Nodal Operating Guide Section Requiring Revision | 4.5.3.4, Load Shed Obligation |
| Protocol Section(s) Requiring Revision | None. |
| Revision Description | This Nodal Operating Guide Revision Request (NOGRR) updates the ERCOT Load Shed Table for 2013. |
| Reason for Revision | Because a new TO has been registered with ERCOT the percentage of Load shed between various TOs has changed. This NOGRR revises the ERCOT Load Shed Table to accurately reflect these changes. |

| Business Case |  |  |
| --- | --- | --- |
|  | 1 | Market Participants benefit from up to date information in the event of an emergency. |

| Sponsor |  |
| --- | --- |
| Name | Chad Thompson |
| E-mail Address | Chad.Thompson@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248- 6508 |
| Cell Number |  |
| Market Segment | Not Applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Kelly P. Landry |
| E-Mail Address | Kelly.Landry@ercot.com |
| Phone Number | 512-248-4630 |

Proposed Guide Language Revision

4.5.3.4	Load Shed Obligation

Obligation for Load shed is by DSP.  Load shedding obligations need to be represented by an Entity with 24x7 operations and Hotline communications with ERCOT and control over breakers.  Percentages for Level 3 Load shedding will be based on the previous year’s TSP peak Loads, as reported to ERCOT, and will be reviewed by ERCOT and modified annually.  (Use TOs as list of Entities)

ERCOT Load Shed Table

| Transmission Operator | 2012 Total Transmission Operator Load (%MW) |
| --- | --- |
| American Electric Power Service Corp. | 8.81 |
| Brazos Electric Power Cooperative Inc. | 4.84 |
| Brownsville Public Utilities Board | 0.42 |
| Bryan Texas Utilities | 0.51 |
| CenterPoint Energy Houston Electric LLC | 24.23 |
| City of Austin DBA Austin Energy | 3.84 |
| City of College Station | 0.28 |
| City of Garland | 0.75 |
| CPS Energy (San Antonio) | 7.08 |
| Denton Municipal Electric | 0.52 |
| GEUS (Greenville) | 0.16 |
| LCRA Transmission Services Corporation | 5.46 |
| Oncor Electric Delivery Company LLC | 37.42 |
| Rayburn Country Electric Cooperative Inc. DBA Rayburn Electric | 1.13 |
| Sharyland Utilities | 0.08 |
| South Texas Electric Cooperative Inc. | 1.92 |
| Texas-New Mexico Power Company | 2.55 |
| ERCOT Total | 100.00 |