Example of testing results

- A description of the testing covering the aspects outlined in the testing protocol

- At a minimum, a chart similar to the following chart is preferred way to plot your testing results.  The chart can be done for discrete locations or an aggregate chart if testing was done at multiple locations during one timeframe.

- Pros and cons of the VR method utilized at your company

- Suggestions for improving the current practice at your company

- Suggestions for future testing

- General rough estimate of the overall CVR factor on your system and any other technical comments

- An executive summary

Time