| NOGRR Number | 119 | NOGRR Title | Revisions to Load Shed Table |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Action |  | Approved |
| Date of Decision |  | July 2, 2013 |  |  |
| Effective Date |  | July 3, 2013 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Operating Guide Section Requiring Revision |  | 4.5.3.4, Load Shed Obligation |  |  |
| Protocol Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) updates the ERCOT Load Shed Table for 2013. |  |  |
| Reason for Revision |  | Because a new Transmission Operator (TO) has been registered with ERCOT, the percentage of Load shed between various transmission operators has changed. This NOGRR revises the ERCOT Load Shed Table to accurately reflect these changes. |  |  |
| Procedural History |  | - On 6/18/13, NOGRR119 and the associated Impact Analysis were posted. - On 6/20/13, Operations Working Group (OWG) comments were posted. - On 6/20/13, the motion to grant NOGRR119 Urgent status passed via ROS email vote. - On 6/26/13, ROS considered NOGRR119 and the Impact Analysis via email vote. - On 7/2/13, TAC considered NOGRR119. |  |  |
| ROS Decision |  | On 6/26/13, ROS unanimously voted via email vote to recommend approval of NOGRR119 as submitted with a recommended effective date of July 3, 2013, and to endorse and forward the Impact Analysis for NOGRR119 to TAC. All Market Segments participated in the email vote. |  |  |
| Summary of ROS Discussion |  | On 6/26/13, there was no discussion. |  |  |
| TAC Decision |  | On 7/2/13, TAC unanimously voted to approve NOGRR119 as recommended by ROS in the 6/26/13 ROS Report. All Market Segments were present for the vote. |  |  |
| TAC Discussion |  | On 7/2/13, there was no discussion. |  |  |

| Business Case |  |
| --- | --- |
| 1 | Market Participants benefit from up to date information in the event of an emergency. |

| Sponsor |  |
| --- | --- |
| Name | Chad Thompson |
| E-mail Address | Chad.Thompson@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6508 |
| Cell Number |  |
| Market Segment | Not Applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Kelly P. Landry |
| E-Mail Address | Kelly.Landry@ercot.com |
| Phone Number | 512-248-4630 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| OWG 062013 | Supported NOGRR119 as Urgent and recommended approval as submitted. |

Proposed Guide Language Revision

4.5.3.4	Load Shed Obligation

Obligation for Load shed is by DSP.  Load shedding obligations need to be represented by an Entity with 24x7 operations and Hotline communications with ERCOT and control over breakers.  Percentages for Level 3 Load shedding will be based on the previous year’s TSP peak Loads, as reported to ERCOT, and will be reviewed by ERCOT and modified annually.  (Use TOs as list of Entities)

ERCOT Load Shed Table

| Transmission Operator | 2012 Total Transmission Operator Load (%MW) |
| --- | --- |
| American Electric Power Service Corp. | 8.81 |
| Brazos Electric Power Cooperative Inc. | 4.84 |
| Brownsville Public Utilities Board | 0.42 |
| Bryan Texas Utilities | 0.51 |
| CenterPoint Energy Houston Electric LLC | 24.23 |
| City of Austin DBA Austin Energy | 3.84 |
| City of College Station | 0.28 |
| City of Garland | 0.75 |
| CPS Energy (San Antonio) | 7.08 |
| Denton Municipal Electric | 0.52 |
| GEUS (Greenville) | 0.16 |
| LCRA Transmission Services Corporation | 5.46 |
| Oncor Electric Delivery Company LLC | 37.42 |
| Rayburn Country Electric Cooperative Inc. DBA Rayburn Electric | 1.13 |
| Sharyland Utilities | 0.08 |
| South Texas Electric Cooperative Inc. | 1.92 |
| Texas-New Mexico Power Company | 2.55 |
| ERCOT Total | 100.00 |