NPRR Comments


	NPRR Number
	541
	NPRR Title
	SPS and RAP Modeling Clarification

	
	

	Date
	July 11, 2013

	
	

	Submitter’s Information

	Name
	Seth Cochran on behalf of WMS

	E-mail Address
	seth.cochran@dc-energy.com 

	Company
	DC Energy

	Phone Number
	512-971-8767

	Cell Number
	

	Market Segment
	Not applicable


	Comments


At its July 10, 2013 meeting, WMS voted to endorse NPRR541 as amended by the 7/2/13 Operations Working Group (OWG) comments.  There was one abstention from the Independent Power Marketer (IPM) Market Segment.  All Market Segments were present for the vote.
	Revised Proposed Protocol Language


3.10.7.4

Special Protection Systems and Remedial Action Plans
(1)
All Special Protection Systems (SPSs) and Remedial Action Plans (RAPs) used by ERCOT and SPS or RAP Owner to maintain a secure system must be defined in the Network Operations Model.

(2)
Proposed new SPSs and RAPs and proposed changes to SPSs and RAPs must be submitted to ERCOT for review and approval. Affected Entities shall approve proposed new SPSs and RAPs and proposed changes to SPSs and RAPs in accordance with the process outlined in the Operating Guides.  ERCOT shall provide notification to the market and post all SPSs and RAPs under consideration on the MIS Secure Area within five Business Days of receipt.
(3)
Once a new or changed SPS or RAP is approved by ERCOT and by all directly affected Entities, the facility owner shall ensure that equipment impacted by an SPS or RAP is modeled correctly.  
(4)
ERCOT shall model approved SPSs and RAPs using a NOMCR and include the SPS and RAP  in the security analysis.  The NOMCR shall include a detailed description of the system conditions required to implement the SPS or RAP.  Execution of an SPS or RAP shall be included or assumed in the calculation of LMPs as well as the Network Operations Model.  ERCOT shall provide notification to the market and post on the MIS Secure Area all approved SPSs and RAPs at least two Business Days before implementation, identifying the date of implementation.
�Please note that NPRR529 also proposes revisions to this section.





541NPRR-08 WMS Comments 071113.doc
Page 1 of 2
PUBLIC


