## Slide 1: PDCWG Report to ROS
David Kee Chair
CPS Energy
Sydney Niemeyer Vice Chair
NRG Energy

## Slide 2: June Meeting
Met June 24, 2013
  15 members representing 10 companies as well as ERCOT & TRE.
NPRR 524 – update
NOGRR 111
Event reviews
Frequency Control Report June 2013

## Slide 3: NPRR 524 update
Comments submitted – pending ROS chair approval.
http://www.ercot.com/mktrules/issues/nprr/501-525/524/index

## Slide 4: NPRR 527
Comments submitted and posted
http://www.ercot.com/content/mktrules/issues/nprr/526-550/527/keydocs/527NPRR-09_PDCWG_Comments_062013.doc

## Slide 5: NOGRR 111
Comments submitted and posted
http://www.ercot.com/content/mktrules/issues/nogrr/101-125/111/keydocs/111NOGRR-06_PDCWG_Comments_070213.doc

## Slide 6: Event Review
PDCWG Reviewed 5 events
  All events resulted in good system frequency performance with few poor performers identified
  Non Frequency responsive RRS providers were noted and ERCOT will follow up with QSEs regarding their performance
Modifications to performance evaluation sheet were discussed and requested

## Slide 7: ERCOT Frequency Control Report
Sydney Niemeyer NRG Energy
July 3, 2013

## Slide 8: Notes
CPS2 data from NRG frequency data.
Time error values from NRG True Time device can be slightly different from ERCOT’s Time Error but the daily delta times should be accurate.
ERCOT total Time Error Correction time is from NRG data.

## Slide 20
May Daily Time Error Change
June Daily Time Error Change

## Slide 21
X
104
June 2013

## Slide 22
Time Correction History

## Slide 25
ERCOT Primary Frequency Response – BAL-003-1
2014 Bias and Frequency Response Measure

## Slide 29: Focus for 2013
Formal & documented review/report of frequency responsiveness for Power Augmentation on Combined Cycle Resources (train not individual unit)
Review regulation/GTBD deployment effectiveness (SCR 773)
Study the impact of HSL/basepoint/generation deviation on compliance and reliability
Responsive Reserve requirements, qualification vs. compliance. (10min vs. 16 second)
Standardized/consistent metrics for PFR analysis (BAL001-TRE).
Standardized/reasonable expectations for extreme events (2750MW or larger lost) – driven by NERC.
No performance required for nonpayment (freq. resp AS)
ERS impact review with appropriate ERCOT group. Target Q1-2014
PMU data understanding of implications
Pilot of fast frequency response – characterize & create evaluation process.
Work on realistic measurement of combined cycles

## Slide 30
Questions?