| PGRR Number | 029 | PGRR Title | Deadline for Regional Transmission Plan |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | June 26, 2013 |  |  |
| Proposed Effective Date |  | October 1, 2013 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Planning Guide Sections Requiring Revision |  | - 3.1.1.2, Regional Transmission Plan - 3.1.1.4, Generation Interconnection Process 3.1.4, Regional Transmission Plan Development Process |  |  |
| Protocol Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) establishes an annual deadline of December 31st for ERCOT to complete the Regional Transmission Plan; and proposes a non-substantive correction in Section 3.1.1.4. |  |  |
| Reason for Revision |  | At its 2/14/13 meeting, ROS directed the Planning Working Group (PLWG) to develop a PGRR that establishes an annual December 31st deadline for the Regional Transmission Plan (Operations and Planning Synchronization Task Force (OPSTF) recommendation 3a). |  |  |
| Procedural History |  | - On 4/26/13, PGRR029 and an Impact Analysis were posted. - On 5/22/13, the PLWG considered PGRR029. - On 6/26/13, the PLWG considered the 5/22/13 PLWG Report and Impact Analysis for PGRR029. |  |  |
| PLWG Decision |  | On 5/22/13, PLWG was in consensus to recommend approval of PGRR029 as submitted. On 6/26/13, the PLWG was in consensus to endorse and forward the 5/22/13 PLWG Report and Impact Analysis for PGRR029 to ROS. |  |  |
| Summary of PLWG Discussion |  | On 5/22/13, there was no discussion. On 6/26/13, there was no discussion. |  |  |

| Business Case |  |
| --- | --- |
| 1 | Establishes December 31st as an annual deadline for completing the Regional Transmission Plan. |
| 2 | Provides a correction to a section reference in the Planning Guide. |

| Sponsor |  |
| --- | --- |
| Name | Prabhu Gnanam |
| E-mail Address | ggnanam@ercot.com |
| Company | ERCOT |
| Phone Number | (512) 248-3146 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Guide Language Revision

- 3.1.1.2	Regional Transmission Plan

(1)	The Regional Transmission Plan is developed annually by ERCOT, in coordination with the RPG and Transmission Service Providers (TSPs).  The Regional Transmission Plan addresses region-wide reliability and economic transmission needs and the planned improvements to meet those needs for the upcoming six years included in the SSWG base cases.  These planned improvements include projects previously approved by the ERCOT Board, projects previously reviewed by the RPG, new projects that will be refined at the appropriate time by TSPs in order to complete RPG review, and the local projects currently planned by TSPs.  Combined, these projects represent ERCOT’s plan which addresses the reliability and efficiency of the ERCOT System in order to meet North American Electric Reliability Corporation (NERC) Reliability Standards, the Protocols, Operating Guides and this Planning Guide.  Projects that are included in the Regional Transmission Plan are not considered to have been endorsed by ERCOT until they have undergone the appropriate level of RPG Project Review as outlined in Protocol Section 3.11.4, Regional Planning Group Project Review Process, if required.  The process used by ERCOT to develop the Regional Transmission Plan is outlined in Section 3.1.4, Regional Transmission Plan Development Process.

(2)	ERCOT shall post the Regional Transmission Plan to the Planning and Operations Information (POI) website by December 31 of each year.

- 3.1.1.4	Generation Interconnection Process

This process facilitates the interconnection of new generation units in the ERCOT Region by assessing the transmission upgrades necessary for new generating units to operate reliably.  The process to study interconnecting new generation or modifying an existing generation interconnection to the ERCOT Transmission Grid is covered in Section 5, Generation Resource Interconnection or Change Request.  The generation interconnection study process primarily covers the direct connection of generation Facilities to the ERCOT Transmission Grid and directly-related projects.  Additional upgrades to the ERCOT Transmission Grid that might be cost-effective as a result of new or modified generation may be initiated by any stakeholder through the RPG Project Review procedure described in Protocol Section 3.11.4, Regional Planning Group Project Review Process, at the appropriate time, subject to the confidentiality provisions in Section 5.

- 3.1.4	Regional Transmission Plan Development Process

As prescribed by Section 3.1.1.2, Regional Transmission Plan, the purpose of the Regional Transmission Plan is to provide a coordinated plan for the ERCOT System.  This Section describes the process used by ERCOT to develop the Regional Transmission Plan.  While unanticipated changes in Load and generation may require additional projects to be needed that were not included in the current Regional Transmission Plan, or require additional evaluation of projects included in the current Regional Transmission Plan when they are submitted for RPG Project Review, the Regional Transmission Plan provides a reasonable and supportable basis for analyses of the planned ERCOT Transmission Grid.