## Slide 1: Unresolved Issues in NPRR 555
Texas Steel Companies
July 9, 2013

## Slide 2: Issues
Load Resources providing Non-Spin must be a Controllable Load Resource.
  Removes the current capability for Load Resources that do not have the capability to be dispatched by SCED from this market
  Potentially leaves Non-Spin AS stranded if the bid price is at SWCAP
ERCOT must provide an aggregate energy Demand curve based on the RTM Energy Bid curves available to SCED as it does for generation offers in the RTM
  The intent of §25.505. Resource Adequacy in the Electric Reliability Council of Texas Power Region, (f) Publication of resource and load information in ERCOT markets. “To increase the transparency of the ERCOT-administered markets, ERCOT shall post at a publicly accessible location on its website…..”]
  Without such an aggregate curve, market participants will not understand the true extent of SCED’s ability to control Resources

## Slide 3: Issues
ERCOT must post the name of the controlling entity for a Load Resource engaged in the RTM
  Note the Entity controlling a Load Resource must meet the requirements of §25.502. Pricing Safeguards in Markets Operated by the Electric Reliability Council of Texas and of any state laws requiring separation of “control” of generation and load. As such entities controlling a Load Resource in the RTM must be a different entity than the QSE or Generation Entity controlling generation.
  Not as likely a problem with Load Resources only participated in the DAM, but now can set prices in RTM potentially to the benefit of generation owners as well as themselves.
SCED calculation of HDL and LDL for Load Resources must have a separate Normal Up Ramp Rate Curve from its Normal Down Ramp Rate Curve
  Many more loads may be able to participate as the time to stop consuming versus resuming consumption level can be significantly different

## Slide 4: Issues
The SCED methodology described in the protocols should be clarified that Offers will be considered at Resource Nodes while Bids will be distributed across all the load Nodes in the Load Zone containing the Load Resource
Demand Response Capability from a Controllable Load Resource in SCED must be included in Physical Responsive Capability calculations
  If a Load Resource is able to set prices for the entire market through automatic dispatch of SCED, then it must also be counted as ERCOT PRC for all operator actions including declaration of the EEA.

## Slide 5: Issues
Special provisions regarding the Base Point Deviation charges must be provided to resolve performance issues with SCED intervals of 5 minutes versus Settlement Intervals of 15 minutes.
  Load Base Points will rarely be different than MPC telemetry (Load remains not deployed as prices are less than its Bid). Measuring performance for such rare events by averaging all actions over an entire month will hide any performance problems that may have occurred when such a load actually set prices.
  Suggestion to only validate performance when the Load Resource actually sets the LMP