## Slide 1: Methodology for including power augmentation technology costs in the Mitigated Offer Cap
ERCOT
Ino González
WMS
July 10, 2013

## Slide 2: Power Augmentation into Mitigated Offer Cap
May 8, WMS meeting minutes
Review of Seasonal Heat Rates
ERCOT Staff reviewed issues with existing Protocol requirements pertaining to Resource Seasonal costs and requested referral of the issue to the Resource Cost Working Group (RCWG). Market Participants requested that RCWG also consider, in a separate initiative, how to add new technologies to the Resource Cost Manual. Mr. Cochran referred both issues to RCWG.

## Slide 3: Power Augmentation into Mitigated Offer Cap
Mitigated Offer Cap data in MMS
Table 1 (current) Table 2 (ideal) (system change)
Point | MW | IHR | VOM
1 | MW1 | IHR1 | VOM
2 | MW2 | IHR2 | 
3 | MW3 | IHR3 | 
4 | MW4 | IHR4 | 
5 | MW5 | IHR5 | 
6 | MW6 | IHR6 | 
7 | MW7 | IHR7 | 
8 | MW8 | IHR8 | 
9 | MW9 | IHR9 | 
10 | MW10 | IHR10 | 
Point | MW | IHR | VOM
1 | MW1 | IHR1 | VOM1
2 | MW2 | IHR2 | VOM2
3 | MW3 | IHR3 | VOM3
4 | MW4 | IHR4 | VOM4
5 | MW5 | IHR5 | VOM5
6 | MW6 | IHR6 | VOM6
7 | MW7 | IHR7 | VOM7
8 | MW8 | IHR8 | VOM8
9 | MW9 | IHR9 | VOM9
10 | MW10 | IHR10 | VOM10
Note: Typical power augmentation operating range. VOM is normally higher with power augmentation

## Slide 4: Power Augmentation into Mitigated Offer Cap
Protocols Section 4.4.9.4.1 Mitigated Offer Cap
The greater of A or B (based on verifiable costs)
A. Generic Heat Rate x Fuel Price
B. [Incremental Heat Rate (IHR) x Fuel Price + VOM]* W
Where,
W = Factor as defined in Section 4.4.9.4.1 (e) Mitigated Offer Cap of the nodal Protocols.

## Slide 5: Power Augmentation into Mitigated Offer Cap
Resources that filed verifiable costs
B. MOC = [IHRi x FIP + VOM]* W
Where, i = 1...10
And FIP = Fuel Price
VOM = constant value along the IHR curve

## Slide 6: Power Augmentation into Mitigated Offer Cap
Including a VOM for power augmentation
B. MOC = [IHRi x FIP + VOM + VOMP]* W
Where,
VOM = average variable O&M for operations without power augmentation, and
VOMP = corresponding variable O&M value for power augmentation technique (assuming only one power augmentation online)

## Slide 7: Power Augmentation into Mitigated Offer Cap
Interim solution to add power aug. costs in the MOC - cont.
B. MOC = [IHRi + VOM/FIP + VOMP/FIP]*FIP* W
Note, the term VOMP/FIP is an implied heat rate (IMHR)
or,
B. MOC = [IHRi + VOM/FIP + IMHRj]*FIP* W
then,
B. MOC = [{IHRi + IMHRj} x FIP + VOM]* W
(this equation does not require a system change)
IMHRj = VOMP/ FIPavg, and j = 10 (assuming power augmentation is added to the last point of the IHR curve
FIPavg = represents the average Fuel Index Price for the first two weeks of the month prior to the effective month. For example, the FIPavg for August is based on the average FIP price for period July 1- July 15.

## Slide 8: Power Augmentation into Mitigated Offer Cap
Interim solution to add power aug. costs in the MOC- cont.
Table 3
Point | MW | IHR | VOM | VOMPa | IMHRb | Final IHR | Final VOM
1 | MW1 | IHR1 | VOM | Null | Null | IHR1 | VOM
2 | MW2 | IHR2 |  |  |  | IHR2 | 
3 | MW3 | IHR3 |  |  |  | IHR3 | 
4 | MW4 | IHR4 |  |  |  | IHR4 | 
5 | MW5 | IHR5 |  |  |  | IHR5 | 
6 | MW6 | IHR6 |  |  |  | IHR6 | 
7 | MW7 | IHR7 |  |  |  | IHR7 | 
8 | MW8 | IHR8 |  |  |  | IHR8 | 
9 | MW9 | IHR9 |  |  |  | IHR9 | 
10 | MW10 | IHR10 |  | VOMP | IMHR | IHR10+IMHR | 
a VOMP - Incremental variable cost above normal VOM
b IMHR = VOMP/FIPavg

## Slide 9: Power Augmentation into Mitigated Offer Cap
Interim solution to add power aug. costs in the MOC - cont.

## Slide 10: Power Augmentation into Mitigated Offer Cap
Interim solution to add power aug. costs in the MOC- cont.
Table 4
Point | MW | IHR | VOM | VOMPa | IMHRb | Final IHR | Final VOM | MOC
1 | 30 | 8 | 3 |  |  | 8 | 3 | 38.5
2 | 40 | 8.2 |  |  |  | 8.2 | 3 | 39.38
3 | 50 | 8.4 |  |  |  | 8.4 | 3 | 40.26
4 | 60 | 8.6 |  |  |  | 8.6 | 3 | 41.14
5 | 70 | 8.8 |  |  |  | 8.8 | 3 | 42.02
6 | 80 | 9 |  |  |  | 9 | 3 | 42.9
7 | 90 | 9.2 |  |  |  | 9.2 | 3 | 43.78
8 | 100 | 9.4 |  |  |  | 9.4 | 3 | 44.66
9 | 110 | 9.6 |  |  |  | 9.6 | 3 | 45.54
10 | 120 | 9.6 |  | 80 | 20 | 29.6 | 3 | 133.54
a VOMP = Incremental cost above normal VOM
b Excludes VOM from normal operations ($3/MWh); FIPavg = $4/MMBtu; IMHR = $80/MWh / $4/MMBtu

## Slide 11: Power Augmentation into Mitigated Offer Cap - con
?