Operations Working Group Meeting

Wednesday, 06/19/13

Austin - MET Center

In Attendance:

Michael A. Cruz-Montes - CNP			               Kevin Morley –CNP

David Turner – Lone Star Transmission                                 Robertox Delfaro – Lone Star Transmission

Robert Avila –Brownsville P.U.B.                                            Kelly P. Landry – ERCOT

Chad Thompson –ERCOT                                                         Emal Latifzai – ERCOT

Jian Chen – ERCOT                                                                    David Bogen – ONCOR

Bob Temple –WETT                                                                  Julius Horvath – WETT

Patrick Trevino – CPS energy                                                  Brenda Hampton – Luminant

Walter Reid – Wind Coalition                                                 Kelly Blackmer – ERCOT

Frank Owens – Cross Texas Transmission                             Stan Morris – TNMP

Colleen Frosch – ERCOT                                                           David Penney – TRE

Matt Carter – GPL                                                                     Anthony Alford – CNP

Liz Jones – ONCOR                                                                    Laura Zotter –Austin Energy

Curtis Graves –Austin Energy                                                 Billy Reid – Austin Energy

Isabel Flores – ERCOT                                                               Karl Tammar – Sharyland

Woody Rickerson – ERCOT    				Ebby John - CNP

Dial-In Attendees:

Tip Tipton – Brazos

Randy Jones – Calpine

Mike Hall – CNP

Stephen Solis –ERCOT

- Antitrust Admonition

Meeting opened at 9:30 with a review of the Antitrust Admonition by Frank Owens.

- ROS Meeting

ROS remanded NOGRR109 back to OWF and referred NPRR542 back to OWG. The group discussed both and made changes as required.

- May OWG Meeting Notes

May OWG meeting notes was reviewed and approved.

- NOGRR Reviews

  - 104NOGRR Removal of Transmission Operator Definition from the Nodal Operating Guide

This NOGRR proposes deleting the definition of Transmission Operator from the Nodal Operating Guides. [ERCOT]  No action taken.

  - 109NOGRR Revisions to Definition of Credible Single Contingency for Operations Planning.  This Nodal Operating Guide Revision Request (NOGRR) revises the definition of Credible Single Contingency for Operations Planning to align with actual practice. [OWG] Recommended for approval as amended by the 5/14 CenterPoint comments and as revised by OWG.

  - 110NOGR Synchronization with NPRR529, Congestion Management Plan.

This Nodal Operating Guide Revision Request (NOGRR) synchronizes the Nodal Operating Guide with revisions proposed by NPRR529, Congestion Management Plan. [ERCOT]  The comments from CNP were reviewed. As part of package of Congestion Management Plan, it will be considered at the 6/27 OWG meeting.

  - 111NOGRR Synchronization with NPRR527, Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis

This Nodal Operating Guide Revision Request (NOGRR) synchronizes the Nodal Operating Guide with NPRR527, Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis, requires Combined Cycle Generation Resources to telemeter individual High Sustainable Limits (HSLs) for gas and steam turbines.  The HSLs for combustion and steam turbines were previously submitted in zonal and ERCOT requests this practice be resumed in the nodal. [ERCOT].  No action taken.

  - 113NOGRR Synchronization with NPRR536, ERS Time Obligation Certainty

This Nodal Operating Guide Revision Request (NOGRR) synchronizes the Nodal Operating Guide with revisions proposed by NPRR536, ERS Time Obligation Certainty, by clarifying that, upon deployment, Qualified Scheduling Entities (QSEs) shall instruct Emergency Response Service (ERS) Resources to perform at contracted levels consistent with the criteria described in Protocol Section 8.1.3.1.4, Event Performance Criteria for Emergency Response Service Resources, until ERCOT releases the ERS deployment or the ERS Resources have reached their maximum deployment time. [DSWG]  Endorsed IA and forwarded to ROS.

f. 	114NOGRR Synchronization with NPRR540, Clarification of Credible Single Contingency

This Nodal Operating Guide Revision Request (NOGRR) revises the use of Credible Single Contingency to align with actual practice and with NPRR540. [OWG]  Considered as part of package of CMP Revision Request and will be reviewed at the 06/27 OWG meeting.

g. 	115NOGRR Update to List of CREZ Circuits and Stations

This Nodal Operating Guide Revision Request (NOGRR) updates the list of Competitive Renewable Energy Zone (CREZ) circuits and stations to align with installed 345kV circuits and stations.  Non-substantive revisions are also proposed to 7.1. [OWG]  Endorsed IA and forwarded to ROS.

h.	116NOGRR Synchronization with NPRR542, Clarification of the Use of Emergency Condition

This Nodal Operating Guide Revision Request (NOGRR) clarifies the use of Emergency

Condition and synchronizes the Nodal Operating Guides with NPRR542. [OWG]  Tabled

- 118NOGRR Hydro Responsive Test Reporting.

This Nodal Operating Guide Revision Request (NOGRR) revises the requirement for ERCOT to develop a monthly report related to hydro responsive tests to a quarterly report. [ERCOT] Reviewed and Recommended Approval

- 119NOGRR Revisions to Load Shed Table.

This Nodal Operating Guide Revision Request (NOGRR) updates the ERCOT Load Shed Table for 2013. Endorsed request for Urgent status and endorsed as submitted

- 528NPRR Clarification of Assessment of Chronic Congestion

This Nodal Protocol Revision Request (NPRR) consolidates into one section, the steps ERCOT will take when active or binding transmission constraints are identified. [ERCOT] Considered as part of package of CMP Revision Request and will be reviewed at the 06/27 OWG meeting.

- 529NPRR Congestion Management Plan

This Nodal Protocol Revision Request (NPRR) defines Congestion Management Plan (CMP) and several subcategories such as a Mitigation Plan and a Remedial Action Plan (RAP) and clarifies actions to be taken when Security-Constrained Economic Dispatch (SCED) is unable to resolve a constraint causing a security violation. [ERCOT] Considered as part of package of CMP Revision Request and will be reviewed at the 06/27 OWG meeting.

- 536NPRR ERS Time Obligation Certainty

This Nodal Protocol Revision Request (NPRR) strikes language which has the effect of creating an uncertain and indefinite obligation to provide ongoing Demand response capacity in an emergency. [DSWG]  No action taken.

- 540NPRR Clarification of Credible Single Contingency

This Nodal Protocol Revision Request (NPRR) revises the use of Credible Single Contingency to align with actual practice. [OWG]  The comments from CNP were reviewed. Considered as part of package of CMP Revision Request and will be reviewed at the 06/27 OWG meeting.

- 542NPRR Clarification of the Use of Emergency Condition

This Nodal Protocol Revision Request (NPRR) clarifies the use of Emergency Condition in the Nodal Protocols.  [OWG] NPRR542 was table by PRS for ROS consideration of “Reliability Issues.”  No action taken.

- Draft Subsynchronous Resonance Requirements.

This Nodal Operating Guide Revision Request (NOGRR) adds Subsynchronous Resonance (SSR) study and protection requirements for Generation Resources, Transmission Service Providers (TSPs), and other facility owners. Isabel Flores reviewed the NOGRR. Referred to the 6/26 PDCWG Meeting.

- SCR774 Enhancement to Outage Scheduler and Reports.

This System Change Request (SCR) adds fields to the Outage Scheduler in order to provide information on changes to approved Outages, and adds a report on cancelled Outages. [Edison Mission] Woody Rickerson reviewed the SCR. Recommended PRS to table SCR774 and to refer it to ROS/NDSWG

- Monthly Operations Report

Jian Chen reviewed the May report.

- Operations Task Force Report

OTF is still working on the pending assignment.

- Texas RE Update Report

Nothing to report.

- System Operations Report

Nothing to report.

- Seminar Task Force Report

No update for seminar.

Liz Jones from ONCOR suggested ERCOT provide some feedback regarding recent PUC decision on notice of violation filed against CPS energy.

- ERCOT Fundamental Task Force

Kelly Blackmer from ERCOT reviewed the proposal to form ERCOT fundamental Task Force. The focus of this task force is to improve ERCOT fundamental test. It will be brought back to OWG next month for recommendation.

- Other

None.

- Future Meeting Date

Thursday June 27, 2013