| SCR Number | 774 | SCR Title | Enhancement to Outage Scheduler and Reports |
| --- | --- | --- | --- |

| Date | July 16, 2013 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Ebby John |
| E-mail Address | ebby.john@centerpointenergy.com |
| Company | CenterPoint Energy |
| Phone Number | 713-207-2136 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

Comments

CenterPoint Energy supports the comments posted by Oncor Electric Delivery Company LLC (Oncor) regarding SCR774.   CenterPoint Energy appreciates the desire to have additional information regarding transmission outages but urges ERCOT and the proponents of SCR774 to balance the value gained from these reports with the burden and cost to provide the additional information.   CenterPoint Energy requests that ERCOT work together with affected Transmission Service Providers and Resource Entities in the implementation details of this SCR.

CenterPoint Energy requests the following changes to the SCR.

- The “Delayed Outage Field” should be implemented as a pull down menu to minimize impact on TSPs and ERCOT.

- The Cancelled Outage Report should include reason codes for ERCOT requested cancellations or reschedules.

- The Cancelled Outage Report should include reason codes for outages associated with Transmission Customer Owned equipment.   Reasons for cancellations and delays may not be readily available from customers or contractor and the TSP would not be able to attest to the accuracy of the information

- The reports identified in this SCR should include outages for transmission equipment owned by Resource Entitles.

Revised Cover Page Language

| Reason for System Change | Adds fields to the Outage Scheduler to provide data needed to complete reports which were part of the original Nodal Protocols and which were also approved by the ERCOT Board via Nodal Operating Guide Revision Request (NOGRR) 025, Monitoring Programs for QSEs, TSPs, and ERCOT and Nodal Protocol Revision Request (NPRR) 219, Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings. The following reports have place holders on the Market Information System (MIS), but do not provide insight into the Transmission Outage scheduling because they currently are not populated with data. The following reports have been planned, but not posted because they are currently grey-boxed in the Protocols and Nodal Operating Guide: - Advanced Transmission Outage Schedule Statistics (NOGRR025); - Planned vs. Actual Transmission Outage Annual Statistics (Original Nodal Protocols and NPRR219; - Planned vs. Actual Transmission Outage Monthly Statistics (Original Nodal Protocols and NPRR219) The fact that there are no reported statistics on Outage Scheduling makes it difficult to track the Outage Scheduler information. The changes proposed in this SCR would provide insight into the reasons for and changes to Outages in the Outage Scheduler. This will provide the opportunity for Market Participants that engage in the Real-Time Market (RTM), Day-Ahead Market (DAM), and Congestion Revenue Right (CRR) market to make more informed decisions. |
| --- | --- |

Revised Business Case for Proposed System Change

Issue:

Limited visibility into reasons for/timing/changes of Outages in the Outage Scheduler.

Resolution:

Add the following fields to the Approved and Accepted Outage List

- Nature of Work – provide pull down menu with reason codes for Outages.  Company Full Name – clears up confusion on who submitted the Outage

- Normal State for breakers and switches – useful to distinguish between in/out status of equipment

- Breaker and switch Outage status - useful for distinguishing between in/out status of equipment

- TEID – useful for referencing back to the Common Information Model (CIM) posting

- Planned vs. Actual Start – calculated field showing the +/- deviation in Planned and Actual Start Date/Time

- Planned vs. Actual End-- calculated field showing the +/- deviation in Planned and Actual End Date/Time

- Outage Delayed Field—Provide pull down menu in the Approved/Accepted list that allows the Transmission Service Provider (TSP) or ERCOT on behalf of a Resource Entity who has delayed their Outage 24 hours to provide their reason for delay

- TSP/RE Notes – free form field for TSPs or ERCOT on behalf of the REs to include scheduling information (see below)

Add a Cancelled Outage Report

- This would include a reason the Outage was cancelled from a pull down menu

- Report would hold the cancelled Outage information for an undetermined amount of time (to be determined)—this is just looking for how long the report on cancelled outages should be kept on the MIS.

- Report would include a field that categorized the cancellation as “Before CRR”, “After CRR”, or “After DAM”.

Enhancement to Existing Withdrawn Outage Report

- ERCOT is the only Entity that can withdraw an Outage for reliability reasons.  So a reason code of “blank” would mean that ERCOT instructed the outage to be withdrawn.

- The daily report would include a field that categorized the withdrawal relative to CRR auctions and the close of the Day-Ahead Market as “Before Monthly CRR”, “After Monthly CRR”, or “After DAM.”