| NPRR Number | 549 | NPRR Title | Clarification for Posting Transmission Loss Factors |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | July 18, 2013 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Nodal Protocol Sections Requiring Revision |  | 13.2.4, Seasonal Transmission Loss Factor Calculation 13.2.5, Loss Monitoring |  |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) clarifies the posting requirements for Transmission Loss Factors (TLFs). |  |  |
| Reason for Revision |  | Per Section 13.2.4, TLFs are calculated for each of the four seasons and are posted to the Market Information System (MIS) Public Area prior to the start of the year. This NPRR aligns the Protocols with current practice by clarifying that ERCOT will post the seasonal TLFs for the next four seasons beginning with the Spring season. Additionally, since the monthly base cases used to calculate the TLFs are classified as Critical Energy Infrastructure Information (CEII) and therefore cannot be posted to the MIS Public Area, the provision requiring the inclusion of the monthly base cases in the posting has been deleted. The monthly base cases will continue to be posted on the Planning and Operations Information site. Finally, this NPRR deletes language regarding the cost of losses in the evaluation of transmission additions as it is duplicative of language in Planning Guide Section 3.1.3.2, Reliability-Driven Project Evaluation. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 6/24/13, NPRR549 and an Impact Analysis were posted. - On 7/18/13, PRS considered NPRR549. |  |  |
| PRS Decision |  | On 7/18/13, PRS unanimously voted to recommend approval of NPRR549 as submitted. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 7/18/13, there was no discussion. |  |  |

| Business Case |  |
| --- | --- |
| 1 | - Provides clarification of existing Protocol language so that it aligns with the current business process. |

| Sponsor |  |
| --- | --- |
| Name | James Teixeira |
| E-mail Address | jteixeira@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6582 |
| Cell Number | 512-656-6734 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | 512-248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Protocol Language Revision

13.2.4	Seasonal Transmission Loss Factor Calculation

(1)	Seasonal on-peak and off-peak TLFs are derived from the annually updated ERCOT on-peak and off-peak load flow base cases analysis by ERCOT.  Base cases reflect the most current data on the transmission system and Generation Resource dispatch.  The ERCOT Transmission Grid topology and related Generation Resource dispatch in the base cases are the critical factors in calculating losses.  Seasonal time periods are defined as follows:

(a)	Spring (March – May)

(b)	Summer (June – September)

(c)	Fall (October – November)

(d)	Winter (December – February)

(2)	ERCOT shall calculate seasonal TLFs by dividing ERCOT seasonal case transmission losses (60 kV system and higher) by the ERCOT seasonal base Load adjusted (reduced) for self-serve Load modeled in the case.  The resulting TLFs are expressed as a percentage of Load.

(3)	ERCOT shall post the seasonal TLFs to the MIS Public Area prior to the start of the year for the next four seasons beginning with the Spring season.  .

13.2.5	Loss Monitoring

ERCOT shall monitor Transmission Losses annually and will investigate any abnormal loss factors.