ERCOT System Protection Working Group (SPWG)

monthly report to

ERCOT Reliability Operation Subcommittee (ROS)

Aug 15th, 2013

Current group activity and updates:

- Completion of the Future Year (FY) short circuit case studies and posted to ERCOT planning website Jul 15th 2013.

- 2nd SPWG Meeting held Thu 7/18/13 and Fri 7/19/13.

  - Rich Bauer of NERC Event Analysis Group spoke about Misoperation Trends

- Focus on incorrect protection settings. Large majority were incorrect ground settings that did not coordinate with adjacent lines.

- TRE region leads with lower misop rates

  - ERCOT will send out market notice for DME reports at least one month ahead of time.

  - Siemens on call to in the RARF discussion.

  - Section 4 of SPWG procedures edits being finalized and will be on next ROS agenda for approval consideration.

  - System Protection Contact List.

  - Wind Turbine Modelling presentation from AEP. Action items to pursue in Nov meeting.

  - ERCOT gave presentation on Panhandle renewable energy studies.

  - TBPE gave a training session on Ethics.

  - Guest speaker on Event Misop and Root Cause Analysis.

2013 SPWG Meetings

- Scheduled for:  November 21 & 22 at ERCOT Met Center Facility.

Submitted by Danny Ee, SPWG 2013 Chair, 08/12/13