DRAFT

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, July 11, 2013 – 9:30 a.m.

Attendance

Members:

| Bern, Alan | Oncor Electric Delivery | Alt. Rep. for K. Donohoo |
| --- | --- | --- |
| DeTullio, David | Air Liquide |  |
| Ebrahimian, Reza | Austin Energy | Alt. Rep. for J. Armke |
| Garrett, Mark | Direct Energy |  |
| Green, Bob | Garland Power and Light |  |
| Hatfield, Bill | LCRA |  |
| Holloway, Harry | GDF Suez Energy Marketing |  |
| Hudson, Tony | Texas-New Mexico Power |  |
| Jones, Randy | Calpine |  |
| Keetch, Rick | Reliant Energy Retail Services |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Marsh, Tony | MAMO Enterprises |  |
| Moore, John | South Texas Electric |  |
| Reed, Cyrus | Sierra Club |  |
| Rocha, Paul | CenterPoint Energy |  |
| Ryno, Randy | Brazos Electric Power |  |
| Showalter, Dana | E.ON Climate and Renewables |  |
| Staples, Boone | Tenaska | Alt. Rep. for S. Helyer/Via Teleconference |
| Wagner, Marguerite | Edison Mission |  |
| Williams, Blake | CPS Energy |  |

The following proxy was assigned:

- Marguerite Wagner to Randy Jones

Guests:

| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| --- | --- | --- |
| Bailey, Robert | NRG Energy | Via Teleconference |
| Beckmann, Dwight | Brazos Electric | Via Teleconference |
| Dye, Ken | Brazos Electric | Via Teleconference |
| Ee, Danny | Austin Energy |  |
| English, Barksdale | Austin Energy |  |
| Firestone, Joel | Topaz Power | Via Teleconference |
| Gedrich, Brian | NextEra |  |
| Giffin, Blair | Lone Star Transmission | Via Teleconference |
| Goff, Eric | Citi | Via Teleconference |
| Hampton, Brenda | Luminant |  |
| Helton, Bob | GDF Suez |  |
| Henry, Jack | Siemens Industry |  |
| Horvath, Julius | WETT |  |
| John, Ebby | CenterPoint Energy |  |
| Juricek, Michael | Oncor |  |
| Kee, David | CPS Energy |  |
| Kremling, Barry | GVEC |  |
| Lane, Rob | Luminant |  |
| Looney, Sherry | Luminant | Via Teleconference |
| Martinez, Zandy | Brownsville PUB | Via Teleconference |
| McMurray, Mark | Noble Solutions | Via Teleconference |
| Miller, Jake | EDF Trading | Via Teleconference |
| Mincemoyer, Phillip | Direct Energy | Via Teleconference |
| Moore, John A. | Stratus Energy | Via Teleconference |
| Muñoz, Manuel | CenterPoint Energy |  |
| Nashawati, Eithar | Oncor |  |
| Nunan, Gerry | Schneider Engineering |  |
| Owens, Frank | Cross Texas Transmission |  |
| Penney, David | Texas Reliability Entity |  |
| Preas, Dylan | LCRA | Via Teleconference |
| Priestley, Vanus | Macquarie | Via Teleconference |
| Reid, Walter | Wind Coalition |  |
| Sandidge, Clint | Noble Solutions | Via Teleconference |
| Son, Peter | Crescent Power | Via Teleconference |
| Stephenson, Randa | Lone Star Transmission |  |
| Thurnher, Greg | Energy Future Holdings | Via Teleconference |
| Trout, Seth | CES | Via Teleconference |
| White, Lauri | AEP Texas |  |
| Woodruff, Taylor | Oncor |  |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Anderson, Kevin |  | Via Teleconference |
| Anthony, Susan |  | Via Teleconference |
| Bezzam, Joseph |  | Via Teleconference |
| Billo, Jeff |  |  |
| Frosch, Colleen |  |  |
| Gonzalez, Ino |  |  |
| Huang, Fred |  | Via Teleconference |
| Landin, Yvette |  |  |
| Landry, Kelly |  |  |
| Latifzai, Emal |  |  |
| Mago, Nitika |  | Via Teleconference |
| Matlock, Robert |  | Via Teleconference |
| Moorty, Sai |  | Via Teleconference |
| Reed, Bobby |  | Via Teleconference |
| Sharma, Sandip |  |  |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Wattles, Paul |  |  |
| White, Camden |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

2013 ROS Chair Harry Holloway called the July 11, 2013 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Holloway directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines.  A copy of the guidelines was available for review.

Agenda Review

There were no changes to the agenda.

Draft June 13, 2013 ROS Meeting Minutes

Randy Jones moved to approve the June 13, 2013 ROS meeting minutes as posted.  David DeTullio seconded the motion.  The motion carried unanimously.

Technical Advisory Committee (TAC) Update (see Key Documents)

Mr. Holloway noted the disposition of Revision Requests considered at the July 2, 2013 TAC meeting.

Referrals (see Key Documents)

System Change Request (SCR) 774, Enhancement to Outage Scheduler and Reports

Market Participants requested that proposed SCR774 language be reviewed for metric implications and cost impacts to Entities.

Mark Garrett moved to refer SCR774 to the Network Data Support Working Group (NDSWG) and the Operations Working Group (OWG).  Randy Ryno seconded the motion.  The motion carried unanimously.

Draft Other Binding Document: Requirements for Aggregate Load Resource Participation in the ERCOT Markets (Related to Nodal Protocol Revision Request (NPRR) 532, Performance Measurement and Verification and Telemetry Requirements for Load Resources Providing Non-Spin)

Paul Wattles presented draft language for an Other Binding Document pertaining to requirements for Aggregate Load Resource participation in the ERCOT market, and noted that the Other Binding Document is needed to support NPRR532 and will be a pillar for the Loads in Security-Constrained Economic Dispatch (SCED) project.  Paul Rocha suggested that the draft language be referred to the NDSWG to consider Texas Load Aggregation Points (TLAPs), system upgrades, new requirements on Transmission Service Providers (TSPs) and modeling issues.

Dennis Kunkel expressed concern, despite proposed limits, for transmission issues and significant events due to curtailing Load, and suggested caution in having a certain level of participation at the substation level.  Market Participants discussed potential issues should a group of larger Loads become an Aggregated Load Resource; and how to determine the responsible Entity for residential consumers to contact in the event that shed Load does not return.  Mr. Holloway referred the draft Other Binding Document to NDSWG to investigate network modeling language.  There were no objections.

ERCOT Updates (see Key Documents) Resource Asset Registration Form (RARF) Project Woody Rickerson presented an update on the RARF Data Completion Project and noted that a third RARF Workshop is scheduled for August 29, 2013 at ERCOT Austin. Market Participants discussed Power System Simulator/Engineering (PSS/E) version 33 upgrade deadline, though it is not part of the RARF Data Completion Project but a standard biannual upgrade. Marguerite Wagner requested a stakeholder vetting process for decisions by subgroups that affect the market. ERCOT Staff noted that versioning upgrades are standard. Dana Showalter requested more advanced notice and coordination of upgrades. Mr. Holloway recommended that ERCOT provide a market bulletin to reflect a December 31, 2013 due date for version 33 PSS/E updates.

June 2013 System Planning Report Jeff Billo presented the June 2013 System Planning Report.

June 2013 Operations Report Emal Latifzai presented the July 2013 Operations Report.

OWG (see Key Documents)

Nodal Operating Guide Revision Request (NOGRR) 110, Synchronization with NPRR529, Congestion Management Plan

ERCOT Staff reported that language revisions suggested by OWG altered ERCOT Staff’s understanding of the application of NOGRR110, explained the ongoing Full Time Equivalent (FTE) impact to ERCOT Grid Coordination posed by NOGRR110, and noted that Temporary Outage Action Plan (TOAP) reviews will also impact resources.  Ms. Wagner expressed concern that parties other than Transmission Operators are proposing TOAPs; opined that any TOAP under review should be publicly posted; and reiterated concern for consistent equal information to Market Participants.  ROS took no action on NOGRR110.

NOGRR109, Revisions to Definition of Credible Single Contingency for Operations Planning

NOGRR114, Synchronization with NPRR540, Clarification of Credible Single Contingency

NOGRR116, Synchronization with NPRR542, Clarification of the Use of Emergency Condition

NPRR528, Clarification of Assessment of Chronic Congestion

NPRR529, Congestion of Management Plan

NPRR541, SPS and RAP Modeling Clarification

NPRR542, Clarification of the Use of Emergency Condition

Mr. R. Jones moved to table NOGRR109, NOGRR114, and NOGRR116, and to recommend that PRS table NPRR528, NPRR529, NPRR541, and NPRR542.  Mr. DeTullio seconded the motion.  The motion carried unanimously.

NOGRR113, Synchronization with NPRR536, ERS Time Obligation Certainty

Mr. DeTullio moved to recommend approval of NOGRR113 as recommended by OWG in the 6/19/13 OWG Report.  Cyrus Reed seconded the motion.  The motion carried with one abstention from the Investor Owned Utility (IOU) Market Segment.

NOGRR115, Update to List of CREZ Circuits and Stations

Mr. Ryno moved to recommend approval of NOGRR115 as recommended by OWG in the 6/19/13 OWG Report.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

NPRR540, Clarification of Credible Single Contingency

Mr. Rocha moved to endorse NPRR540 as amended by the 7/10/13 ERCOT comments.  Mr. DeTullio seconded the motion.  The motion carried unanimously.

Performance, Disturbance, Compliance Working Group (PDCWG) (see Key Documents)

David Kee reviewed recent PDCWG activities and presented Revision Requests for ROS consideration.

NPRR524, Resource Limits in Providing Ancillary Service

Market Participants discussed the 6/11/13 ERCOT comments to NPRR524, and that the 7/3/13 PDCWG comments were the result of a misunderstanding about procurement, but that the PDCWG has not met to discuss the clarification.  Mr. R. Jones noted that in ERCOT’s energy only construct, most base units are fully loaded at all times, and that the market has determined to value energy over the ability to respond to frequency.  Market Participants discussed an upcoming holistic review of Ancillary Service products; that there is a Protocol requirement for Entities to provide telemetry for capability that is not frequency responsive; and that PDCWG will likely provide comments to support NPRR524.

Mr. Greer moved to endorse NPRR524 as revised by the 6/11/13 ERCOT comments.  Bob Green seconded the motion.  The motion carried with one objection from the Independent Retail Electric Provider (IREP) Market Segment, and one abstention from the IREP Market Segment.

NPRR527, Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis

Mr. R. Jones moved to endorse NPRR527 as revised by the 6/20/13 PDCWG comments.  Mr. Ryno seconded the motion.  Mr. R. Jones noted his previous concern that the initial language was either cost-prohibitive or impractical in calling for telemetry on each component, but that the revised language allayed concern.  The motion carried unanimously.

Planning Working Group (PLWG) (see Key Documents)

John A. Moore reviewed recent PLWG activities.

Planning Guide Revision Request (PGRR) 029, Deadline for Regional Transmission Plan

Mr. Ryno moved to recommend approval of PGRR029 as recommended by PLWG in the 6/26/13 PLWG Report.  Mr. Rocha seconded the motion.  The motion carried unanimously.

Resource Data Working Group (RDWG)

Confirm 2013 RDWG Leadership

Mr. R. Jones moved to endorse Brenda Hampton and Ms. Showalter as 2013 Chair and Vice Chair of RDWG, respectively.  Ms. Wagner seconded them motion.  The motion carried unanimously.

Steady State Working Group (SSWG) (see Key Documents)

Julius Horvath reviewed recent SSWG activities and presented voting items for ROS consideration.

Revised SSWG Procedure Manual

Mr. Rocha moved to approve the revised SSWG Procedure Manual as submitted.  Mr. DeTullio seconded the motion.  The motion carried unanimously.

NPRR551, Posting of Annual Planning Model

Mr. Rocha moved to endorse NPRR551 as submitted.  Mr. Reed seconded the motion.  The motion carried unanimously.

System Protection Working Group (SPWG) (see Key Documents)

Danny Ee presented the SPWG report.

Voltage Reduction Task Force (VRTF) (see Key Documents)

Eithar Nashawati presented the VRTF report.

Black Start Working Group (BSWG) (see Key Documents)

Dylan Preas presented the BSWG report.

Dynamics Working Group (DWG) (see Key Documents)

Reza Ebrahimian presented the DWG Report.

DWG Procedure Manual

Mr. Rocha moved to approve the revised DWG Procedure Manual as submitted, and to direct DWG to develop a PGRR to address requirements in the DWG Procedure Manual.  Mr. Green seconded the motion.  Market Participants discussed that there is a wide disparity of dynamic modeling knowledge among TSPs, and that with ERCOT performing the annual flat starts data compilation and assimilation, knowledge will be maintained and consistent.

Critical Infrastructure Protection Working Group (CIPWG)

There was no CIPWG update.

Network Data Support Working Group (NDSWG) (see Key Documents)

There was no NDSWG update.

NERC Reliability Working Group (NRWG)

There was no NRWG update.

Special Protection System (SPS) Type 2 Task Force (SPS2TF)

Mr. R. Jones reported that the SPS2TF has no meetings scheduled at this time, and pending the outcome of NOGRR110, Synchronization with NPRR529, Congestion Management Plan, may seek to disband.

Other Business

Brittney Albracht asked if ROS members continue to prefer meeting materials be posted to the meeting detail rather than distributed via email.  Ms. Showalter suggested that a list of materials newly updated to ercot.com be sent to the ROS listserv.

Adjournment

Mr. Holloway adjourned the July 11, 2013 ROS meeting at 12:05 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2013/07/20130711-ROS