VRTF Update to ROS
August 15th, 2013

- VRTF did not have a meeting since last ROS meeting

- DWG

  - Added distribution detail to a station in the South of Oncor’s territory

  - Added load models and were able to run some preliminary test faults

  - Continuing to work with Distribution Planning to add surrounding distribution detail to see the effects of VR on adjacent buses.

- Companies working on their testing plans/part of the report are

  - Oncor

  - CenterPoint

  - AEP Texas

  - GVEC

- Posted to last meeting webpage (old)

  - VRTF report to ROS outline.docx

  - FinalReportDataVRTF_sum.xlsx

  - Test Protocol.doc

  - Testing QA_03232013.docx

  - Example of Testing Results.docx

- Report to ROS is in porgress

- Next meeting on 8/29/2013

VRTF Report to ROS

Draft Outline:

- Executive Summary (address key findings of this summer’s testing).

- Scope

  - What is Voltage Reduction?

  - Possible Strategies for Applying Voltage Reduction

    - EEA events

    - Peak Demand Reduction

    - VAR optimization

- Report from DWG

- Test methods used to validate the effectiveness of voltage reduction(Could be an Appendix)

  - Utility A

  - Utility B

  - Utility C

- Results of Tests Performed in Summer 2012(Could be an Appendix)

  - Utility A

  - Utility B

  - Utility C

- Industry experience with voltage reduction (Summary of literature search and Survey of Utilities)

  - Historical experience within ERCOT (identify deficiencies in legacy schemes, load changes over time)

    - ONCOR

    - Centerpoint

    - GVEC

  - Other Regions

- Control systems for implementing voltage reduction

  - Description of available technologies

  - Costs

  - Emerging technologies (if relevant)

  - Barriers to implementation

- Potential MW reduction during Summer

  - Reporting utilities

  - Extrapolation to ERCOT

    - Challenges with extrapolating data.

    - Technique applied

    - Results