## Slide 1: CMWG Update to WMS 8-14-13
Report of CMWG Meeting of
8-7-13

## Slide 2: CRR General Update
Annual Auction Sequence finished in July. Market spent $164M
ERCOT presentation to group showed graphical “stacks” of the number of outstanding CRR instruments

## Slide 3: CRR Model Refinements: PMCRs
CRR Models—based on current Network Operations Model + future Network Operations Model Change Requests & Outages up to 12-months in advance
PMCRS: Should we also being using Planning Model Change Requests (PMCR)?
Pros for including Planning Model Changes
  Best estimate of what the model will look like more than 6 months in the future
  Less constrained system since transmission improvements in place
Cons when including Planning Model Changes
  When project schedules change, CRR oversells constraint and cascades into subsequent auctions and DAM (can also happen on approved NOMCRs)
No active recommendation from CMWG on PMCRs—but likely need to revisit as TPIT is changing from TO reporting to being drawn from Planning Model Change Requests—we need to track how well the PMCRs align with actual in service dates

## Slide 4: CRR Model Refinements: Outages, SPS & RAPs
Outages we could gain improvement to CRR Models with more insight into outages
  For 2012: 68% of outages submitted with under 10 days notice
    44% outages submitted within 6-10 days, prior, 24% are %= 5 days
    CRR Case Building starts ~ 45 days ahead of the flow month—so limited info on outages available at time of case building
    Regardless of outage timing—determining most limiting day will continue to require engineering judgment
Historically ERCOT has excluded RAPs in multi-month auctions for months auctioned after these RAPs “expire”
  RAPS--Recommendation: RAPS should be modeled in CRR model until ERCOT affirmatively removes them via RAP process.
    Also, Operations will change RAP expiration language to “review”
  SPS--CMWG Recommendation: SPSs should be modeled in CRR model until we determine what we will do with PMCRs.

## Slide 5: CRR Other
Current CRR Auction credit lock process working —some entities were provided access to post credit after credit lock date. ERCOT has committed to reporting on this in September. Could make lock date closer to bid due date.
NPRR 484 Credit Changes for CRR Collateralization-- CRR and Credit changes to implement path-specific adders --ERCOT will publish adders 2 days ahead of credit lock starting this Fall
Training
NPRR 551— working with ERCOT to get Annual Model Posting times split to accommodate posting of first Annual Model on 10/15 prior to Auction bid close
NPRRs 528/529— encourage folks to review these NPRRs. Clarified Understanding that ERCOT cannot remove a constraint from SCED just because there is a mitigation plan associated with it
SCR 774—general support for adding fields to Outage Scheduler (OS), some questions from transmission side on value of investing in this OS (vs. a new OS…but new OS not currently on project list…)
Friday, September 13, 2013
Wednesday, September 25, 2013 (CWG meeting in AM)
Tuesday, October 8, 2013