| NPRR Number | 555 | NPRR Title | Load Resource Participation in Security-Constrained Economic Dispatch |
| --- | --- | --- | --- |
| Date |  | August 14, 2013 |  |
| Submitter’s Information |  |  |  |
| Name |  | Randy Jones |  |
| E-mail Address |  | rajones@calpine.com |  |
| Company |  | Calpine |  |
| Phone Number |  | 713.830.8846 |  |
| Cell Number |  | 832.385.3322 |  |
| Market Segment |  | Independent Generator |  |

Comments

Below are Calpine’s preliminary recommendations on the appropriate configurable parameters (“X and Y” values) relating to Base Point Deviation, Controllable Load Resource Event Performance Deployment (CLREDP), and telemetry validation.

|  | Resource/Metric | Reference | X |  | Y |  |
| --- | --- | --- | --- | --- | --- | --- |
| 7 | Base Point Deviation, Over-Consumption, CLR | NPRR555 § 6.6.5.1.1.3 | 25% | or | 0*MW | Whichever is greater |
| 8 | Base Point Deviation, Under-Consumption, CLR | NPRR555 § 6.6.5.1.1.4 | 15% | or | 15 MW | Whichever is greater |
| 9 | Base Point Deviation, Over-Consumption, CLR with AS Responsibility | NPRR555 § 6.6.5.1.1.3 | 15% | or | 15 MW | Whichever is greater |
| 10 | Base Point Deviation, Under-Consumption, CLR with AS Responsibility | NPRR555 § 6.6.5.1.1.4 | 10% | or | 10 MW | Whichever is greater |
| 11 | CLREDP | NPRR555 § 8.1.1.4.1(9) | 25% | or | 25 MW | Whichever is greater |
| 12 | CLREDP with AS Responsibility | NPRR555 § 8.1.1.4.1(9) | 15% | or | 15 MW | Whichever is greater |
| 13 | ALR Telemetry Validation, Monthly Net Power Flow vs. Meter Data | Draft OBD | 90% |  | 10% | X% of telemetry values within Y% of meter data |
| 14 | ALR Telemetry Validation, SPC+2 Qualification (for AS) | Draft OBD | 80% |  | 10% | X% of SPC+2 values within Y% of NPF values |
| 15 | ALR Telemetry Validation, Monthly SPC+2 vs. SPC (for AS) | Draft OBD | 80% |  | 10% | X% of SPC+2 values within Y% of SPC values |
| 16 | ALR Telemetry Validation during SCED Deployments | Draft OBD | n/a |  | _% | Y% difference between ERCOT baseline and SPC/SPC+2 values |

NOTES:

- Calpine note:  The performance parameter for BPD, Over-Consumption, should initially be 25% without a MW conditional value in Phase I of the program.  In Phase II, or at some critical mass point where load aggregations much greater than 25 MWs are participating then the “…or 25 MWs” portion of the criteria might be revisited by TAC.

- Current NPRR language proposes universal metrics for all CLRs regardless of whether there is an AS responsibility (see NPRR555 §§ 6.6.5.1.1.3 & 6.6.5.1.1.4).

- X and Y values applicable to SCED and Non-spin will be posted on MIS Public separately from existing GREDP/CLREDP document.

Revised Cover Page Language

None proposed at this point.

Revised Proposed Protocol Language

None proposed at this point.

Draft Other Binding Document “Requirements for Aggregate Load Resource Participation in the ERCOT Markets,” Section 3.  See: http://www.ercot.com/calendar/2013/08/20130808-DSWG