| NPRR Number | 541 | NPRR Title | SPS and RAP Modeling Clarification |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Tabled |
| Date of Decision |  | May 16, 2013 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Nodal Protocol Section Requiring Revision |  | 3.10.7.4, Definition of Special Protection Systems and Remedial Action Plans |  |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) clarifies that ERCOT models all new Special Protection Systems (SPSs) and Remedial Action Plans (RAPs) and all changes to SPSs and RAPs via the Network Operations Model Change Request (NOMCR) process. |  |  |
| Reason for Revision |  | To provide clarity regarding actions ERCOT will take upon approval of SPSs or RAPs. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 4/29/13, NPRR541 and an Impact Analysis were posted. - On 5/16/13, PRS considered NPRR541. |  |  |
| PRS Decision |  | On 5/16/13, PRS unanimously voted to table NPRR541 and refer the issue to WMS and ROS. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 5/16/13, Market Participants discussed the need for NPRR541 to be vetted by the Congestion Management Working Group (CMWG) and requested that NPRR541 be reviewed in conjunction with NPRR528, Clarification of Assessment of Chronic Congestion, and NPRR529, Congestion Management Plan. Market Participants identified specific concerns related to the definition of “facility owner” and how affected facility owners are to ensure that all SPSs and RAPs are accurately modeled when the owner of the facility is submitting the request. |  |  |

| Business Case |  |  |
| --- | --- | --- |
|  | 1 | - This NPRR provides clarity to the Protocols regarding ERCOT’s responsibilities related to SPSs and RAPs. |

| Sponsor |  |
| --- | --- |
| Name | Isabel Flores |
| E-mail Address | iflores@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6531 |
| Cell Number | 512-565-9117 |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Kelly Landry |
| E-Mail Address | klandry@ercot.com |
| Phone Number | 512-248-4630 |

Comments

Please note that NPRR529 also proposes revisions to Section 3.10.7.4.

Proposed Protocol Language Revision

3.10.7.4	Definition of Special Protection Systems and Remedial Action Plans

(1)	All Special Protection Systems (SPSs) and Remedial Action Plans (RAPs) used by ERCOT and facility owners to maintain a secure system must be defined in the Network Operations Model.

(2)	Proposed new SPSs and RAPs and proposed changes to SPSs and RAPs must be submitted to ERCOT for review and approval. Affected facility owners shall approve proposed new SPSs and RAPs and proposed changes to SPSs and RAPs in accordance with the process outlined in the Operating Guides.  ERCOT shall post all SPSs and RAPs under consideration on the MIS Secure Area within five Business Days of receipt.

(3)	Once a new or changed SPS or RAP is approved by ERCOT and by all directly affected facility owners the facility owner shall ensure that equipment impacted by an SPS or RAP is modeled correctly.

(4)	ERCOT shall model approved SPSs and RAPs using a NOMCR and include them in the security analysis.  The NOMCR must include a detailed description of the system conditions required to implement the SPS or RAP.  Execution of an SPS or RAP must be included or assumed in the calculation of LMPs as well as the Network Operations Model.  ERCOT shall post on the MIS Secure Area all approved SPSs and RAPs at least two Business Days before implementation, identifying the date of implementation.