## Slide 1: PDCWG Report to ROS
David Kee Chair
CPS Energy
Sydney Niemeyer Vice Chair
NRG Energy

## Slide 2: July Meeting
Met July 31, 2013
  20 members representing 12 companies as well as ERCOT & TRE.
NPRR 524 - update
NPRR527 - update
Small Signal Stability Study scope discussion
PMU Project - discussion
SCR773 data review & discussion
FRRS – discussion
Event review
Frequency Control Report July 2013

## Slide 3: NPRR 524 update
Reviewed NPRR524 in an open forum with WebEx.
Developed and submitted comments
  Overturned previous recommendation to reject
  No consensus to endorse

## Slide 4: NPRR 527
Discussion of expectations for the implementation of NPRR527.
Scenario developed:

## Slide 5: Topics Discussed
Small Signal Stability Study scope
  Reviewed Scope
  Recommend ROS endorse the study scope when noticed for vote
PMU Project - discussion
SCR773
  Trend is optimistic, but it may be influenced by the weather
  Recommend gather more data and study through September
  Noted that Combined Cycles not shutting down properly
  Also noted that midnight transition seems to have issues
NPRR486 (open action item for ROS)
  SCR773 was a result of this NPRR
  Will discuss NPRR486 at August meeting, likely an open session
FRRS
  Discussed proportional deployment
  ERCOT will develop options for PDCWG based on feedback

## Slide 6: Event Review
PDCWG Reviewed 1 event
  Event resulted in good system frequency performance with few poor performers identified
  Non Frequency responsive RRS providers were noted and ERCOT will follow up with QSEs regarding their performance

## Slide 7: Focus for 2013
Formal & documented review/report of frequency responsiveness for Power Augmentation on Combined Cycle Resources (train not individual unit)
Review regulation/GTBD deployment effectiveness (SCR 773)
Study the impact of HSL/basepoint/generation deviation on compliance and reliability
Responsive Reserve requirements, qualification vs. compliance. (10min vs. 16 second)
Standardized/consistent metrics for PFR analysis (BAL001-TRE).
Standardized/reasonable expectations for extreme events (2750MW or larger lost) – driven by NERC.
No performance required for nonpayment (freq. resp AS)
ERS impact review with appropriate ERCOT group. Target Q1-2014
PMU data understanding of implications
Pilot of fast frequency response – characterize & create evaluation process.
Work on realistic measurement of combined cycles

## Slide 8: ERCOT Frequency Control Report
Sydney Niemeyer NRG Energy
August 5, 2013

## Slide 9: Notes
Time error values from NRG True Time device can be slightly different from ERCOT’s Time Error but the daily delta times should be accurate.
ERCOT total Time Error Correction time is from NRG data.

## Slide 18
60.010 <= HZ < 60.015

## Slide 23
Time Correction History

## Slide 26
ERCOT Primary Frequency Response – BAL-003-1
2014 Bias and Frequency Response Measure

## Slide 30
Questions?