| NPRR Number | 541 | NPRR Title | SPS and RAP Modeling Clarification |
| --- | --- | --- | --- |
| Date |  | July 2, 2013 |  |
| Submitter’s Information |  |  |  |
| Name |  | Frank Owens on behalf of the Operations Working Group (OWG) |  |
| E-mail Address |  | fowens@crosstexas.com |  |
| Company |  | Cross Texas Transmission LLC |  |
| Phone Number |  | 512-276-6122 |  |
| Cell Number |  | 512-348-3294 |  |
| Market Segment |  | Not Applicable |  |

Comments

At its June 19 and June 27, 2013 meeting, OWG reviewed Nodal Protocol Revision Request (NPRR) 541.  After discussion, OWG was in consensus to endorse NPRR541 as amended by the CenterPoint Energy 061413 comments, and as revised by OWG.

To avoid duplication and conflict between NPRR529 and NPRR541, which both propose revisions to Section 3.10.7.4, Definition of Special Protection Systems and Remedial Action Plans, OWG recommends that all additional revisions to this section be submitted as comments to NPRR541.

Revised Proposed Protocol Language

3.10.7.4	Special Protection Systems and Remedial Action Plans

(1)	All Special Protection Systems (SPSs) and Remedial Action Plans (RAPs) used by ERCOT and SPS or RAP Owner to maintain a secure system must be defined in the Network Operations Model.

(2)	Proposed new SPSs and RAPs and proposed changes to SPSs and RAPs must be submitted to ERCOT for review and approval. Affected Entities shall approve proposed new SPSs and RAPs and proposed changes to SPSs and RAPs in accordance with the process outlined in the Operating Guides.  ERCOT shall provide notification to the market and post all SPSs and RAPs under consideration on the MIS Secure Area within five Business Days of receipt.

(3)	Once a new or changed SPS or RAP is approved by ERCOT and by all directly affected Entities, the facility owner shall ensure that equipment impacted by an SPS or RAP is modeled correctly.

(4)	ERCOT shall model approved SPSs and RAPs using a NOMCR and include the SPS and RAP  in the security analysis.  The NOMCR shall include a detailed description of the system conditions required to implement the SPS or RAP.  Execution of an SPS or RAP shall be included or assumed in the calculation of LMPs as well as the Network Operations Model.  ERCOT shall provide notification to the market and post on the MIS Secure Area all approved SPSs and RAPs at least two Business Days before implementation, identifying the date of implementation.