| NPRR Number | 532 | NPRR Title | Performance Measurement and Verification and Telemetry Requirements for Load Resources Providing Non-Spin |
| --- | --- | --- | --- |
| Date |  | August 19, 2013 |  |
| Submitter’s Information |  |  |  |
| Name |  | Seth Cochran on behalf of WMS |  |
| E-mail Address |  | seth.cochran@dc-energy.com |  |
| Company |  | DC Energy |  |
| Phone Number |  | 512-971-8767 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable |  |

Comments

At its August 14, 2013 meeting, WMS reviewed the draft Other Binding Document, “Requirements for Aggregate Load Resource Participation in the ERCOT Markets,” and voted to recommend the following values for the X and Y variables relative to Aggregate Load Resource (ALR) telemetry validation:

| Resource/Metric | X (%) | Y (%) | Description |
| --- | --- | --- | --- |
| ALR Telemetry Validation, Monthly Net Power Flow vs. Meter Data | 90 | 10 | X% of telemetry values within Y% of meter data |
| ALR Telemetry Validation, SPC+2 Qualification (for Ancillary Service) | 80 | 10 | X% of SPC+2 values within Y% of NPF values |
| ALR Telemetry Validation, Monthly SPC+2 vs. SPC (for Ancillary Service) | 80 | 10 | X% of SPC+2 values within Y% of SPC values |
| ALR Telemetry Validation during SCED Deployments | n/a | 10 | Y% difference between ERCOT baseline and SPC/SPC+2 values |

There were two abstentions from the Consumer Market Segment.  WMS then voted to endorse the draft Other Binding Document as presented to WMS without any prejudice to additional language or endorsement from ROS.  There were four abstentions from the Consumer and Investor Owned Utility (IOU) (3) Market Segments.  All Market Segments were present for the votes.

Revised Proposed Protocol Language

None.