| NPRR Number | 555 | NPRR Title | Load Resource Participation in Security-Constrained Economic Dispatch |
| --- | --- | --- | --- |
| Date |  | August 14, 2013 |  |
| Submitter’s Information |  |  |  |
| Name |  | Brad Jones |  |
| E-mail Address |  | bjones@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-4272 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable |  |

At the 8/8/13 Loads in SCED Workshop, ERCOT committed to providing stakeholders with a forum for input on the appropriate performance metrics for Controllable Load Resource participation in SCED and Non-Spin.  Specifically, ERCOT is seeking market participant input on the appropriate configurable parameters (“X and Y” values) relating to Base Point Deviation, Controllable Load Resource Event Performance Deployment (CLREDP), and telemetry validation.  This Attachment includes:

- A summary table showing current relevant values in place for Generation Resources.

- A table listing the values for which we are seeking input, with requested values highlighted in yellow.

- Relevant citations and other information.

Notes:

- Values requested are applicable only to SCED and Non-Spin.  They will not apply to Controllable Load Resources providing either RRS or Regulation Service.

- Current NPRR language proposes universal metrics for all Controllable Load Resource participation in SCED and Non-spin.  ERCOT will consider recommendations to establish separate (tighter) metrics for Controllable Load Resources with Ancillary Service responsibility.

Please send your recommendations to the following: paul.wattles@ercot.com; jonathan.levine@ercot.com.

These are the current relevant X and Y values currently in place for Generation Resources.

|  | Resource/Metric | Protocol § | X |  | Y |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Base Point Deviation, Over-Generation | 6.6.5.1.1 | 5% | or | 5 MW | Whichever is greater |
| 2 | Base Point Deviation, Under-Generation | 6.6.5.1.2 | 5% | or | 5 MW | Whichever is greater |
| 3 | Base Point Deviation, Over-Generation, IRR | 6.6.5.2 | 10% |  | n/a | Only if curtailed by ERCOT |
| 4 | Base Point Deviation, Under-Generation, IRR | n/a | n/a |  | n/a |  |
| 5 | GREDP | 8.1.1.4.1 | 8% | or | 8 MW | Whichever is greater |
| 6 | GREDP, IRR | 8.1.1.4.1 | 10% |  | n/a | Only if curtailed by ERCOT |

- Base Point Deviation Charge for Over Generation: charge to a QSE for a Generation Resource for over-generation if the telemetered generation exceeds the tolerances noted above.

- Base Point Deviation Charge for Under Generation: charge to a QSE for a Generation Resource for under-generation if the telemetered generation is below the tolerances noted above.

- IRR Generation Resource Base Point Deviation Charge: charge to a QSE for an IRR if the IRR telemetered generation is more than 10% above its Adjusted Aggregated Base Point and the flag signifying that the IRR has received a Base Point below the High Dispatch Limit (HDL) used by SCED has been received.

- No penalty is assessed to a QSE for an IRR for under generation.

- Generation Resource Energy Deployment Performance:  score for each Generation Resource that is On-Line and released to SCED Base Point Dispatch Instructions.  The GREDP is calculated for each five-minute clock interval as a percentage (noted above) and in MWs for all Resources based on Resource Status.

- Generation Resource Energy Deployment Performance: score for each IRR that is On-Line and released to SCED Base Point Dispatch Instructions.  § 8.1.1.4.1(8) states that an IRR must have a GREDP less than Z% or the Average Telemetered Generation (ATG) must be less than the expected MW output for 95% of the five-minute clock intervals in the month when the IRR received a Base Point Dispatch Instruction in which the Base Point was two MW or more below the IRR’s HSL used by SCED.

NOTES:

- Existing metrics for CLREDP in Section 8.1.1.4.1 are applicable to CLRs qualified for Regulation Service or RRS (ie, capable of primary frequency response).

- X and Y values for Base Point Deviation Charges are included in the Protocols

- X and Y values for GREDP and CLREDP (and Z value for IRR GREDP) are posted in a separate document on MIS Public: “Approved GREDP and CLREDP Performance Criteria Variables” (https://mis.ercot.com/misdownload/servlets/mirDownload?mimicKey=&doclookupId=100651349)

Please provide recommendations for the appropriate values of X and Y for the following, applicable to Controllable Load Resource participation in SCED and Non-spin:

|  | Resource/Metric | Reference | X |  | Y |  |
| --- | --- | --- | --- | --- | --- | --- |
| 7 | Base Point Deviation, Over-Consumption, CLR | NPRR555 § 6.6.5.1.1.3 | _% | or | _ MW | Whichever is greater |
| 8 | Base Point Deviation, Under-Consumption, CLR | NPRR555 § 6.6.5.1.1.4 | _% | or | _ MW | Whichever is greater |
| 9 | Base Point Deviation, Over-Consumption, CLR with AS Responsibility | NPRR555 § 6.6.5.1.1.3 | _% | or | _ MW | Whichever is greater |
| 10 | Base Point Deviation, Under-Consumption, CLR with AS Responsibility | NPRR555 § 6.6.5.1.1.4 | _% | or | _ MW | Whichever is greater |
| 11 | CLREDP | NPRR555 § 8.1.1.4.1(9) | _% | or | _ MW | Whichever is greater |
| 12 | CLREDP with AS Responsibility | NPRR555 § 8.1.1.4.1(9) | _% | or | _ MW | Whichever is greater |
| 13 | ALR Telemetry Validation, Monthly Net Power Flow vs. Meter Data | Draft OBD | _% |  | _% | X% of telemetry values within Y% of meter data |
| 14 | ALR Telemetry Validation, SPC+2 Qualification (for AS) | Draft OBD | _% |  | _% | X% of SPC+2 values within Y% of NPF values |
| 15 | ALR Telemetry Validation, Monthly SPC+2 vs. SPC (for AS) | Draft OBD | _% |  | _% | X% of SPC+2 values within Y% of SPC values |
| 16 | ALR Telemetry Validation during SCED Deployments | Draft OBD | n/a |  | _% | Y% difference between ERCOT baseline and SPC/SPC+2 values |

NOTES:

- Current NPRR language proposes universal metrics for all CLRs regardless of whether there is an AS responsibility (see NPRR555 §§ 6.6.5.1.1.3 & 6.6.5.1.1.4).

- X and Y values applicable to SCED and Non-spin will be posted on MIS Public separately from existing GREDP/CLREDP document.

Draft Other Binding Document “Requirements for Aggregate Load Resource Participation in the ERCOT Markets,” Section 3.  See: http://www.ercot.com/calendar/2013/08/20130808-DSWG