## Sheet2
Generation Interconnection Agreements as of July 31, 2013 | [6 empty] | 2013 RTP cases
INR | Site Name | County | COD | Fuel | MW For Grid | Change from Last Report | 2014 | 2016 | 2018
13INR0059 | Hereford Wind | Castro | 2013-10-13 | Wind | 499
13INR0058 | OCI Alamo 1 | Bexar | 2013-10-13 | Solar | 50 |  | x | x | x | x - modeled in the RTP base cases
11INR0094 | White Camp Solar | Kent | 2013-11-13 | Solar | 100
11INR0013 | Goldthwaite Wind Energy | Mills | 2013-12-13 | Wind | 150 |  | x | x | x
12INR0068 | Sendero Wind Energy Project | Jim Hogg | 2013-02-14 | Wind | 78 | New
10INR0089 | Deepwater Energy Storage | Harris | 2013-03-14 | Storage | 40 | Date | x | x | x
12INR0034 | Stephens Ranch Wind Energy | Borden | 2013-04-14 | Wind | 378 | Date | x | x | x
11INR0062 | Patriot (Petronilla) Wind | Nueces | 2013-04-14 | Wind | 178 | New
14INR0012 | Miami Wind 1 Project | Gray | 2013-05-14 | Wind | 401
13INR0048 | Spinning Spur Wind Two | Oldham | 2013-06-14 | Wind | 161 |  | x | x | x
14INR0015 | Deer Park Energy Center | Harris | 2013-06-14 | Gas | 192 |  | x | x | x
14INR0016 | Channel Energy Center 138/345kV CT | Harris | 2013-06-14 | Gas | 190 |  | x | x | x
10INR0020a | Panda Temple Power | Bell | 2013-06-14 | Gas | 809 |  | x | x | x
10INR0021 | Panda Sherman Power | Grayson | 2013-06-14 | Gas | 809 |  | x | x | x
13INR0021 | Ferguson Replacement Project | Llano | 2013-07-14 | Gas | 570 |  | x | x | x
14INR0030a2 | Panhandle Wind | Carson | 2013-08-14 | Wind | 218
11INR0050 | Moore Wind 1 | Crosby | 2013-08-14 | Wind | 149
13INR0010a | Mariah Wind | Parmer | 2013-10-14 | Wind | 200
11INR0054 | Midway Farms Wind | San Patricio | 2013-10-14 | Wind | 161 |  | x | x | x
13INR0020a | CPV Rattlesnake Den Ph 1 | Glasscock | 2013-10-14 | Wind | 200 | New
13INR0020b | CPV Rattlesnake Den Ph 2 | Glasscock | 2013-10-14 | Wind | 150 | New
14INR0023 | Longhorn Energy Center | Briscoe | 2013-12-14 | Wind | 200 | MW for Grid
13INR0005 | Conway Windfarm | Carson | 2013-12-14 | Wind | 600 |  |  | x | x
06INR0022c | Penascal Wind Farm 3 | Kenedy | 2013-12-14 | Wind | 202 |  |  | x | x
11INR0079a | South Clay Windfarm | Clay | 2013-12-14 | Wind | 200
09INR0051 | Mesquite Creek | Borden | 2013-03-15 | Wind | 249
08INR0018 | Gunsight Mountain | Howard | 2013-08-15 | Wind | 120
10INR0020b | Panda Temple Power | Bell | 2013-08-15 | Gas | 780 |  |  | x | x
12INR0029 | Comanche Run Wind | Swisher | 2013-12-15 | Wind | 500 | New
13INR0010b | Mariah Wind | Parmer | 2013-12-15 | Wind | 200
13INR0023 | Texas Clean Energy Project | Ector | 2013-01-16 | Coal | 240 |  |  | x | x
13INR0028 | Antelope Station | Hale | 2013-06-16 | Gas | 359
10INR0022 | Pondera King Power Project | Harris | 2013-06-16 | Gas | 1380
06INR0006 | Cobisa-Greenville | Hunt | 2013-12-16 | Gas | 1792
13INR0010c | Mariah Wind | Parmer | 2013-12-16 | Wind | 200