| NPRR Number | 551 | NPRR Title | Posting of Annual Planning Model |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Action |  | Recommended Approval |
| Date of Decision |  | September 5, 2013 |  |  |
| Proposed Effective Date |  | October 1, 2013 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Protocol Sections Requiring Revision |  | 3.10.2, Annual Planning Model 3.10.5, TSP Responsibilities |  |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) establishes that ERCOT shall post the Annual Planning Model by October 15th of each year. |  |  |
| Reason for Revision |  | To clarify that updates to the Annual Planning Model shall be posted by October 15th. Steady State Working Group (SSWG) has determined that it is easier and less confusing if the Data Set B build and Data Set A Transmission Project and Information Tracking (TPIT) updates occur at the same time each year as changes to Data Set A could impact Data Set B. Additionally, the SSWG agreed to have both updates completed by October 15 of each year. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR551 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 7/1/13, NPRR551 and an Impact Analysis were posted. - On 7/15/13, ROS comments were posted. - On 7/18/13, PRS considered NPRR551. - On 8/9/13, Edison Mission Marketing & Trading comments were posted. - On 8/29/13, ERCOT comments were posted. - On 9/5/13, TAC considered NPRR551. |  |  |
| PRS Decision |  | On 7/18/13, PRS voted to grant NPRR551 Urgent status. There was one opposing vote from the Independent Generator Market Segment and two abstentions from the Independent Power Marketer (IPM) and Consumer Market Segments. PRS then voted to recommend approval of NPRR551 as submitted and to forward NPRR551 to TAC. There was one opposing vote from the Independent Generator Market Segment and one abstention from the IPM Market Segment. All Market Segments were present for the votes. |  |  |
| Summary of PRS Discussion |  | On 7/18/13, participants requested that WMS consider the timing of the planning model formation and Congestion Revenue Right (CRR) Auction. |  |  |
| TAC Decision |  | On 9/5/13, TAC unanimously voted to recommend approval of NPRR551 as recommended by PRS in the 7/18/13 PRS Report and as amended by the 8/29/13 ERCOT comments. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 9/5/13, there was no discussion. |  |  |
| ERCOT Opinion |  | ERCOT supports approval of NPRR551. |  |  |

| Business Case |  |
| --- | --- |
| 1 | - Eliminates the need for ERCOT to post the Annual Planning Model prior to its completion. |
| 2 | - Eliminates confusion by consolidating timelines for updates to Data Set B build and Data Set A Transmission Project and Information Tracking (TPIT). |

| Sponsor |  |
| --- | --- |
| Name | Jay Teixeira/Trish Miller |
| E-mail Address | jteixeira@ercot.com / tmiller@ercot.com |
| Company | ERCOT |
| Phone Number | (512) 248-6582 / (512) 248-3028 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ROS 071513 | Endorsed NPRR551 as submitted. |
| Edison Mission Marketing & Trading 080913 | Proposed revisions which will require Data Set A and Data Set B to be posted prior to the CRR Auction. |
| ERCOT 082913 | Clarified that the Annual Planning Model will be posted by October 15th of each year. |

Proposed Protocol Language Revision

3.10.2	Annual Planning Model

(1)	For each of the next six years, ERCOT shall develop models for annual planning purposes that contain, as much as practicable, information consistent with the Network Operations Model.  The “Annual Planning Model” for each of the next six years is a model of the ERCOT power system (created, approved, posted, and updated regularly by ERCOT) as it is expected to operate during peak Load conditions for the corresponding future year.

(2)	By October 15th of each year, ERCOT shall update, for each of the next six years,  the ERCOT Planning Model and post it to the MIS Secure Area

(3)	ERCOT shall make available to TSPs and/or Distribution Service Provider (DSPs) and all appropriate Market Participants, consistent with applicable policies regarding release of CEII, the transmission model used in transmission planning.  ERCOT shall provide model information through the use of the Electric Power Research Institute (EPRI) and North American Electric Reliability Corporation (NERC) sponsored CIM and web-based Extensible Markup Language (XML) communications or Power System Simulator for Engineering (PSS/E) format.

(4)	ERCOT shall post the schedule for updating transmission information on the MIS Secure Area.

(5)	ERCOT shall coordinate updates to the Annual Planning Model with the Network Operations Model to ensure consistency of data within and between the Annual Planning Model and Network Operations Model to the extent practicable.

3.10.5	TSP Responsibilities

(1)	Each TSP shall design, implement, operate, and maintain its systems to meet the Telemetry Standards as required by Section 3.10.7.5, Telemetry Standards, for measurements facilitating the observability of the Electrical Buses used for Security-Constrained Economic Dispatch (SCED).  However, there is no obligation to re-construct or retrofit already existing installations except as shown to be needed in order to achieve Telemetry Standards and State Estimator Standards.

(2)	TSPs shall add telemetry at ERCOT’s request to maintain observability and redundancy requirements as specified herein, and under Section 3.10.7.5.  ERCOT shall request such additions when a lack of data telemetry has caused, or can be demonstrated to result in, inaccuracies between Real-Time measurements and modeling outcomes that could result in incorrect LMP prices or potential reliability problems.

(3)	Each TSP shall provide to ERCOT planned construction information, including Certificate of Convenience and Necessity (CCN) application milestone dates if applicable, all of which shall be updated according to a schedule established by ERCOT.

(4)	Each TSP shall provide to ERCOT project status updates of Transmission Facilities that are part of an Reliability Must-Run (RMR) or Must Run Alternative (MRA) exit strategy corresponding to a specific RMR or MRA Agreement that has not been terminated, which shall be updated by the first Business Day of each month, noting any acceleration or delay in planned completion date.