| NPRR Number | 551 | NPRR Title | Posting of Annual Planning Model |
| --- | --- | --- | --- |
| Date |  | August 29, 2013 |  |
| Submitter’s Information |  |  |  |
| Name |  | Jay Teixeira/Trish Miller |  |
| E-mail Address |  | jteixeira@ercot.com / tmiller@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | (512) 248-6582 / (512) 248-3028 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable. |  |

Comments

ERCOT submits these comments to clarify that updates to the Annual Planning Model shall be posted by October 15th of each year as the Steady State Working Group (SSWG) has determined that it is easier and less confusing if the Data Set B build and Data Set A Transmission Project and Information Tracking (TPIT) updates occur at the same time each year as changes to Data Set A could impact Data Set B.  Additionally, the SSWG agreed to have both updates completed by October 15 of each year.

Additionally, ERCOT supports deleting the requirement to provide updates by September 1st as updates are allowed until the Annual Planning Model is completed.  If updates are not allowed after September 1st then the models cannot be completed.

Further, ERCOT proposes a non-substantive revision to paragraph (3) of Section 3.10.5, TSP Responsibilities, in order to align with the triannual TPIT update.

Revised Proposed Protocol Language

3.10.2	Annual Planning Model

(1)	For each of the next six years, ERCOT shall develop models for annual planning purposes that contain, as much as practicable, information consistent with the Network Operations Model.  The “Annual Planning Model” for each of the next six years is a model of the ERCOT power system (created, approved, posted, and updated regularly by ERCOT) as it is expected to operate during peak Load conditions for the corresponding future year.

(2)	By October 15th of each year, ERCOT shall update, for each of the next six years,  the ERCOT Planning Model and post it to the MIS Secure Area

(3)	ERCOT shall make available to TSPs and/or Distribution Service Provider (DSPs) and all appropriate Market Participants, consistent with applicable policies regarding release of CEII, the transmission model used in transmission planning.  ERCOT shall provide model information through the use of the Electric Power Research Institute (EPRI) and North American Electric Reliability Corporation (NERC) sponsored CIM and web-based Extensible Markup Language (XML) communications or Power System Simulator for Engineering (PSS/E) format.

(4)	ERCOT shall post the schedule for updating transmission information on the MIS Secure Area.

(5)	ERCOT shall coordinate updates to the Annual Planning Model with the Network Operations Model to ensure consistency of data within and between the Annual Planning Model and Network Operations Model to the extent practicable.

3.10.5	TSP Responsibilities

(1)	Each TSP shall design, implement, operate, and maintain its systems to meet the Telemetry Standards as required by Section 3.10.7.5, Telemetry Standards, for measurements facilitating the observability of the Electrical Buses used for Security-Constrained Economic Dispatch (SCED).  However, there is no obligation to re-construct or retrofit already existing installations except as shown to be needed in order to achieve Telemetry Standards and State Estimator Standards.

(2)	TSPs shall add telemetry at ERCOT’s request to maintain observability and redundancy requirements as specified herein, and under Section 3.10.7.5.  ERCOT shall request such additions when a lack of data telemetry has caused, or can be demonstrated to result in, inaccuracies between Real-Time measurements and modeling outcomes that could result in incorrect LMP prices or potential reliability problems.

(3)	Each TSP shall provide to ERCOT planned construction information, including Certificate of Convenience and Necessity (CCN) application milestone dates if applicable, all of which shall be updated according to a schedule established by ERCOT.

(4)	Each TSP shall provide to ERCOT project status updates of Transmission Facilities that are part of an Reliability Must-Run (RMR) or Must Run Alternative (MRA) exit strategy corresponding to a specific RMR or MRA Agreement that has not been terminated, which shall be updated by the first Business Day of each month, noting any acceleration or delay in planned completion date.