## Slide 1: Protocol Revision Subcommittee
John Varnell
September 5, 2013

## Slide 2
Summary of Revision Requests
16 NPRRs Recommended for Approval
1 NPRR Withdrawn
Notes: <number>

## Slide 3: Items for a Vote
Unopposed Recommendations
NPRR527, Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis
NPRR543, Message for Confirmed E-Tags
NPRR545, Removal of Reference to Wave Traps*
NPRR546, Removal of References to RUC Notifications*
NPRR547, Governor Test Data*
NPRR548, Remove NPRR153 Grey Boxes and Clarify Fixed Quantity Block Treatment in the DAM
NPRR552, Additional Counter-Party Criteria - URGENT *
NPRR553, Monthly BLT Payment and Charge for Presidio Exception
NPRR554, Clarification of Future Credit Exposure Calculation - URGENT*
NPRR555, Load Resource Participation in Security-Constrained Economic Dispatch – URGENT
NPRR557, Administrative Change for August 1, 2013 Nodal Protocols – URGENT*
(* denotes no impacts)
Notes: <number>

## Slide 4: Items for a Vote
Recommendations with Opposing Votes
NPRR524, Resource Limits in Providing Ancillary Service - URGENT
NPRR532, Performance Measurement and Verification and Telemetry Requirements for Load Resources Providing Non-Spin – URGENT
NPRR536, ERS Time Obligation Certainty*
NPRR549, Clarification for Posting Transmission Loss Factors*
NPRR551, Posting of Annual Planning Model - URGENT*
Withdrawn Revision Requests
NPRR490, Clarification of TSP Definition and Confidentiality Obligations
(* denotes no impacts)
Notes: <number>

## Slide 5: NPRR Descriptions
NPRRs Recommended for Approval

## Slide 6: NPRR524, Resource Limits in Providing Ancillary Service - URGENT
Purpose (GDF Suez) | This NPRR will allow Generation Resources with supplemental capacity that is not always frequency responsive to provide the supplemental capacity to the market and also continue to participate in the RRS Service market.
PRS Vote | On 7/18/13, PRS voted to grant NPRR524 Urgent status, recommend approval of NPRR524 as amended by the 6/11/13 ERCOT comments, and direct that NPRR524 return to PRS with an Impact Analysis. There were two opposing votes from the Consumer Market Segment and six abstentions from the Independent Generator, IPM (2), IREP, IOU and Municipal Market Segments. On 8/22/13, PRS voted to endorse and forward the 7/18/13 PRS Report as amended by the 7/30/13 Luminant comments and Impact Analysis for NPRR524 to TAC with a recommended priority of 2013 and rank of 890. There were six abstentions from the IREP, Consumer (2), IOU, Municipal and IPM Market Segments.
Effective Date/Priority | October 1, 2013 (for manual workaround); Upon System Implementation – Priority 2013; Rank 890 (for automation)
ERCOT Impact | $50k - $75k impacts to NMMS, EMS, and ISM;
Business Case Highlights | Allows stranded capacity to be brought to the energy and Ancillary Service markets; and allows ERCOT to monitor supplemental capacity that may not be responsive to frequency at all times
Notes: <number>

## Slide 7: NPRR527, Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis
Purpose (ERCOT) | This NPRR requires Combined Cycle Generation Resources to telemeter individual HSLs for gas and steam turbines. The HSLs for combustion and steam turbines were previously submitted in the zonal market and ERCOT requests this practice be resumed in the Nodal market.
PRS Vote | On 7/18/13, PRS unanimously voted to recommend approval of NPRR527 as amended by the 6/20/13 PDCWG comments and as revised by PRS. On 8/22/13, PRS voted to endorse and forward the 7/18/13 PRS Report and Impact Analysis for NPRR527 to TAC with a recommended priority of 2014 and rank of 990. There was one abstention from the Consumer Market Segment.
Effective Date/Priority | Upon System Implementation – Priority 2014; Rank 990
ERCOT Impact | $100k - $110k; impacts to NMMS;
Business Case Highlights | Saves Market Participant’s time in manually researching and collecting the necessary data, which is not currently collected via telemetry; and preparing and attending PDCWG meetings.
ERCOT Public
Notes: <number>

## Slide 8: NPRR532, Performance Measurement and Verification and Telemetry Requirements for Load Resources Providing Non-Spin – URGENT
Purpose (DSWG) | This NPRR enables participation in the Non-Spin Service market for Load Resources whose provision of Demand response is most accurately measured and verified using a baseline performance evaluation methodology; establishes a method for evaluating Non-Spin performance using a baseline methodology; and establishes new telemetry requirements for QSEs representing Load Resources to allow ERCOT’s systems to monitor the status and performance of those Load Resources in Real-Time.
PRS Vote | On 6/20/13, PRS voted to recommend approval of NPRR532 as amended by the 6/18/13 Citigroup Energy comments. There was one opposing vote from the Independent Generator Market Segment and five abstentions from the Consumer, Independent Generator, IPM and IOU (2) Market Segments. On 8/22/13, PRS voted to grant NPRR532 Urgent status. There was one abstention from the Consumer Market Segment. PRS then unanimously voted to endorse and forward the 7/18/13 PRS Report and Impact Analysis for NPRR532 to TAC with a recommended priority of 2013 and rank of 865.
Effective Date/Priority | Upon System Implementation – Priority 2013; Rank 865
ERCOT Impact | $375k - $425k (system implementation) and $120k - $130k (annual recurring O&M); 0.5 FTEs; impacts to MMS, EMS, NMMS, EI, ISM, and MIS; ERCOT business functions will be updated; ERCOT grid operations and practices will be updated.
Business Case Highlights | Brings the Load from Demand Resource management to the Non-Spin Service market; Increases tools for Market Participants to manage Resources and price volatility; Creates ability to bid, schedule, trade, track, and settle Load Resources in the wholesale energy and Non-Spin Service markets.
Notes: <number>

## Slide 9: NPRR536, ERS Time Obligation Certainty
Purpose (DSWG) | This NPRR strikes language which has the effect of creating an uncertain and indefinite obligation to provide ongoing Demand response capacity in an Emergency Condition.
PRS Vote | On 6/20/13, PRS voted to recommend approval of NPRR536 as submitted. There were two opposing votes from the IPM and IOU Market Segments and one abstention from the Consumer Market Segment. On 7/18/13, PRS voted to endorse and forward the 6/20/13 PRS Report and Impact Analysis for NPRR536 to TAC. There was one abstention from the IOU Market Segment.
Effective Date/Priority | December 1, 2013
ERCOT Impact | No impacts (business functions will be updated)
Business Case Highlights | Much more likely to fully subscribe ERS, as additional loads will be able to participate; gives ERCOT the option to dispatch ERS Loads in tranches.
ERCOT Public
Notes: <number>

## Slide 10: NPRR543, Message for Confirmed E-Tags
Purpose (Tenaska) | This NPRR provides for notification when a confirmed Electronic Tag (e-Tag) is downloaded, cancelled, or curtailed by ERCOT’s systems.
PRS Vote | On 6/20/13, PRS voted to recommend approval of NPRR543 as submitted. There was one abstention from the IOU Market Segment. On 7/18/13, PRS unanimously voted to endorse and forward the 6/20/13 PRS Report and Impact Analysis for NPRR543 to TAC with a recommended priority of 2014 and rank of 980.
Effective Date/Priority | Upon System Implementation – Priority 2014; Rank 980
ERCOT Impact | $40k - $60k; no impacts to ERCOT staffing; impacts to MIS, MMS, EI, and MMS UI; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices
Business Case Highlights | Minimizes future Settlement disputes regarding DC Tie scheduling; data transparency and reduction in errors.
ERCOT Public
Notes: <number>

## Slide 11: NPRR545, Removal of Reference to Wave Traps
Purpose (ERCOT) | This NPRR removes a reference to wave traps as this equipment is not modeled in ERCOT systems.
PRS Vote | On 6/20/13, PRS unanimously voted to recommend approval of NPRR545 as submitted. On 7/18/13, PRS unanimously voted to endorse and forward the 6/20/13 PRS Report and Impact Analysis for NPRR545 to TAC.
Effective Date/Priority | December 1, 2013
ERCOT Impact | No impacts.
Business Case Highlights | Clarifies the Protocols by removing an irrelevant equipment reference.
ERCOT Public
Notes: <number>

## Slide 12: NPRR546, Removal of References to RUC Notifications
Purpose (ERCOT) | This NPRR removes outstanding references to “RUC Notifications.” This language is no longer relevant as a result of changes made through NPRR321, Allow Change to Energy Offer Curve MW Amounts in the Adjustment Period, which was approved by the ERCOT Board on 9/20/11.
PRS Vote | On 6/20/13, PRS unanimously voted to recommend approval of NPRR546 as submitted. On 7/18/13, PRS unanimously voted to endorse and forward the 6/20/13 PRS Report and Impact Analysis for NPRR546 to TAC.
Effective Date/Priority | December 1, 2013
ERCOT Impact | No impacts.
Business Case Highlights | Removes irrelevant references and promotes consistency within the Protocol language.
ERCOT Public
Notes: <number>

## Slide 13: NPRR547, Governor Test Data
Purpose (ERCOT) | This NPRR aligns the Protocols with current practice by clarifying that Governor test results are made available to TSPs.
PRS Vote | On 6/20/13, PRS unanimously voted to recommend approval of NPRR547 as submitted. On 7/18/13, PRS unanimously voted to endorse and forward the 6/20/13 PRS Report and Impact Analysis for NPRR547 to TAC.
Effective Date/Priority | December 1, 2013
ERCOT Impact | No impacts.
Business Case Highlights | Clarifies Protocol language.
ERCOT Public
Notes: <number>

## Slide 14: NPRR548, Remove NPRR153 Grey Boxes and Clarify Fixed Quantity Block Treatment in the DAM
Purpose (ERCOT) | This NPRR removes the grey boxes that are pending implementation of system changes associated with NPRR153, Generation Resource Fixed Quantity Block. Further, this NPRR provides clarification for how the DAM currently considers block offers and bids for Ancillary Services.
PRS Vote | On 7/18/13, PRS unanimously voted to recommend approval of NPRR548 as revised by PRS and to request that WMS review NPRR548 and submit comments. On 8/22/13, PRS unanimously voted to endorse and forward the 7/18/13 PRS Report as amended by the 8/20/13 ERCOT comments and Impact Analysis for NPRR548 to TAC.
Effective Date/Priority | December 1, 2013
ERCOT Impact | No impacts.
Business Case Highlights | Removes NPRR153 grey boxes due to the risk of undesirable clearing behaviors; clarifies existing clearing process in the Protocols.
ERCOT Public
Notes: <number>

## Slide 15: NPRR549, Clarification for Posting Transmission Loss Factors
Purpose (ERCOT) | This NPRR clarifies the posting requirements for TLFs.
PRS Vote | On 7/18/13, PRS unanimously voted to recommend approval of NPRR549 as submitted. On 8/22/13, PRS voted to endorse and forward the 7/18/13 PRS Report as revised by PRS and Impact Analysis for NPRR549 to TAC. There was one opposing vote from the Independent Generator Market Segment.
Effective Date/Priority | December 1, 2013
ERCOT Impact | No impacts.
Business Case Highlights | Provides clarification of existing Protocol language so that it aligns with the current business process.
ERCOT Public
Notes: <number>

## Slide 16: NPRR551, Posting of Annual Planning Model – URGENT
Purpose (ERCOT) | This NPRR establishes the date for which ERCOT should post the Annual Planning Model consistent with current processes.
PRS Vote | On 7/18/13, PRS voted to grant NPRR551 Urgent status. There was one opposing vote from the Independent Generator Market Segment and two abstentions from the IPM and Consumer Market Segments. PRS then voted to recommend approval of NPRR551 as submitted and to forward to TAC. There was one opposing vote from the Independent Generator Market Segment and one abstention from the IPM Market Segment.
Effective Date/Priority | October 1, 2013
ERCOT Impact | No impacts.
Business Case Highlights | Eliminates the need for ERCOT to post the Annual Planning Model prior to its completion.
ERCOT Public
Notes: <number>

## Slide 17: NPRR552, Additional Counter-Party Criteria – URGENT
Purpose (ERCOT) | Under the CFTC’s “Final Order on RTO and ISO Exemption for Certain Specified Transactions” issued in response to the ISO/RTO Joint Application for Exemption (Final Order), to be eligible for the exemption, applicable transactions must be entered into by persons who are either “appropriate persons” or “eligible contract participants” as defined in the CEA, or that meet other conditions as defined in the Final Order. This NPRR incorporates these requirements into the Protocols and mandates an annual certification by Counter-Parties that they are in compliance.
PRS Vote | On 7/18/13, PRS unanimously voted to grant NPRR552 Urgent status, to recommend approval of NPRR552 as submitted and to forward to TAC.
Effective Date/Priority | October 1, 2013
ERCOT Impact | No impacts.
Business Case Highlights | Increases the likelihood that ERCOT remains in compliance with the terms of the exemption granted under the Final Order.
ERCOT Public
Notes: <number>

## Slide 18: NPRR553, Monthly BLT Payment and Charge for Presidio Exception
Purpose (CSWG) | This NPRR introduces a new monthly charge type allocated through monthly LRS for energy associated with the Presidio Exception.
PRS Vote | On 7/18/13, PRS unanimously voted to recommend approval of NPRR553 as submitted. On 8/22/13, PRS voted to endorse and forward the 7/18/13 PRS Report and Impact Analysis for NPRR553 to TAC with a recommended priority of 2014 and rank of 1000. There was one abstention from the Independent Generator Market Segment.
Effective Date/Priority | December 1, 2013 (for manual process); Upon System Implementation – Priority 2014; Rank 1000 (for automation)
ERCOT Impact | $10k - $25k; impacts to S&B; ERCOT business functions will be updated;
Business Case Highlights | Creates a Settlement charge type for a charge that is currently calculated manually as a miscellaneous charge.
ERCOT Public
Notes: <number>

## Slide 19: NPRR554, Clarification of Future Credit Exposure Calculation - URGENT
Purpose (ERCOT) | This NPRR clarifies language that was introduced by NPRR484; and proposes (1) revisions to the FCE calculation to explicitly recognize deferred Invoice-related exposure separate from mark-to-market exposure; (2) modification of certain variables and subscripts that would otherwise appear to require calculation of certain portfolio-level values based on path-specific inputs; and (3) various administrative revisions.
PRS Vote | On 7/18/13, PRS unanimously voted to grant NPRR554 Urgent status, to recommend approval of NPRR554 as submitted and to forward to TAC.
Effective Date/Priority | October 1, 2013
ERCOT Impact | No impacts.
Business Case Highlights | Clarifies NPRR484 language and provides additional transparency to Market Participants.
ERCOT Public
Notes: <number>

## Slide 20: NPRR555, Load Resource Participation in Security-Constrained Economic Dispatch – URGENT
Purpose (ERCOT) | This NPRR enables Demand response from Controllable Load Resources, as re-defined, to be Dispatched by SCED based on an RTM Energy Bid; clarifies the rules for participation in the RTM by newly-defined “Aggregate Load Resources” (ALRs), consisting of multiple metered sites within a single ERCOT Load Zone; and establishes a long-term solution for Controllable Load Resource provision of Non-Spin Service by allowing participating Controllable Load Resources providing Non-Spin to be Dispatched economically.
PRS Vote | On 8/22/13, PRS voted to recommend approval of NPRR555 as amended by the 8/20/13 CPS Energy comments and as revised by PRS with a recommended priority of 2013 and rank of 865. There was one abstention from the Municipal Market Segment. PRS then voted to recommend the values for the X and Y variables relative to Base Point Deviation Charges and CLREDP as set forth in the 8/15/13 WMS comments and 8/19/13 ROS comments and that these values be subject to approval and review by TAC and be posted to the MIS. There were three abstentions from the Consumer (2) and IOU Market Segments.
Effective Date/Priority | Upon System Implementation – Priority 2013; Rank 865
ERCOT Impact (Preliminary) | $300k - $500k; no impacts to ERCOT staffing; impacts to MMS, EMS, S&B, EI, ISM, MIS, and CDR; ERCOT business functions and grid operations and practices will be updated.
Business Case Highlights | Allows Load Resources to contribute to price formation by setting a price based on their opportunity cost or the value of lost Load; provides participating price certainty in the form of SCED Base Point instructions; benefits Load Resources by providing price certainty in the form of SCED Dispatch.
ERCOT Public
Notes: <number>

## Slide 21: NPRR557, Clarification of Treatment of Holidays for RTM Settlement Timeline – URGENT
Purpose (ERCOT) | This NPRR corrects one word in the Section 9.5.4 by replacing “withstanding” with “notwithstanding” to align the sentence with the purpose of addressing treatment of holidays.
PRS Vote | On 8/22/13, PRS unanimously voted to grant NPRR557 Urgent status; and to recommend approval of NPRR557 as amended by the 7/31/13 ERCOT comments.
Effective Date/Priority | October 1, 2013
ERCOT Impact | No impacts.
Business Case Highlights | Alignment of Protocols with original intent of NPRR509; Clarification of treatment of holidays associated with Real-Time Market (RTM) Settlement Timeline
ERCOT Public
Notes: <number>

## Slide 22
Additional PRS Items
Addition of Other Binding Documents to OBD List
  Requirements for Aggregate Load Resource Participation in the ERCOT Markets
Reprioritization of NPRR210, Wind Forecasting Change to P50, Synchronization with PRR841
  Reprioritized to Priority of 2014 and rank of 1010
Notes: <number>