| NPRR Number | 541 | NPRR Title | SPS and RAP Modeling Clarification |
| --- | --- | --- | --- |
| Date |  | July 10, 2013 |  |
| Submitter’s Information |  |  |  |
| Name |  | Kelly P. Landry |  |
| E-mail Address |  | Kelly.Landry@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | (512) 248-4630 |  |
| Cell Number |  | (512) 248-6432 |  |
| Market Segment |  | Not Applicable |  |

Comments

ERCOT submits these comments to propose clarifications to the review and market notification processes for Special Protections Systems (SPSs) and Remedial Action Plans (RAPs).  Non-substantive revisions are also proposed in these comments.

These comments include minor corrections to the base line and formatting to correspond with current Protocol language.

Revised Proposed Protocol Language

3.10.7.4	Special Protection Systems and Remedial Action Plans

(1)	All Special Protection Systems (SPSs) and Remedial Action Plans (RAPs) used by ERCOT and SPS or RAP Owners to maintain a secure system must be defined in the Network Operations Model.

(2)	Proposed new SPSs and RAPs and proposed changes to SPSs and RAPs must be submitted to ERCOT for review and approval.  ERCOT shall seek input from affected TSPs and Resource Entities that own Transmission Facilities, and shall approve proposed new SPSs and RAPs and proposed changes to SPSs and RAPs in accordance with the process outlined in the Operating Guides.  ERCOT shall provide notification to the market and post all SPSs and RAPs under consideration on the MIS Secure Area within five Business Days of receipt.

(3)	Once a new or changed SPS or RAP is approved by ERCOT, the TSP or Resource Entity that owns the Transmission Facilities shall ensure that equipment impacted by an SPS or RAP is modeled correctly.

(4)	ERCOT shall model approved SPSs and RAPs using a NOMCR and include the SPS or RAP in the security analysis .  The NOMCR shall include a detailed description of the system conditions required to implement the SPS or RAP.  Execution of an SPS or RAP shall be included or assumed in the calculation of LMPs as well as the Network Operations Model.  ERCOT shall provide notification to the market and post on the MIS Secure Area all approved SPSs and RAPs at least two Business Days before implementation, identifying the date of implementation.  For RAPs developed in Real-Time, ERCOT shall provide notification to the market as soon as practicable.