Operations Working Group Meeting

Wednesday, 08/21/13

Austin - MET Center

In Attendance:

| Frank Owens – Cross Texas Transmission | Robert Avila - BPUB |
| --- | --- |
| Kevin Morley – CNP | Larry Helms - DME |
| Blair Giffin – Lone Star Transmission | David Penney – Texas RE |
| John Abel – ONCOR | Billy Reid – Austin Energy |
| Bob Temple - WETT | Chad Thompson – ERCOT |
| Jimmy Hartmann – ERCOT Tip Tipton – Brazos Kristen Rodriguez – Electric Power Eng., Inc. | Camden White – ERCOT Bill Blevins – ERCOT Joe Weatherly - ERCOT |
| Kelly Landry – ERCOT | Patrick Trevino – CPS Energy |
| Lauri White- AEP Texas | Brenda Hampton – Luminant |

Dial-In Attendees:

| Randy Jones – Calpine Woody Rickerson – ERCOT Victor Vaughn – GP&L Carrie Bivens - ERCOT Anthony Alford - CNP | Yvette Landin – ERCOT Michael Cruz-Montes – CNP Karl Tammar – Sharyland Ebby John - CNP |
| --- | --- |

- Antitrust Admonition

Meeting opened at 9:30 with a review of the Antitrust Admonition by Frank Owens.

- ROS Meeting

ROS assigned OWG to review NPRR556.

- July OWG Meeting Notes

Reviewed notes, minor changes identified.

- NOGRR Reviews

- 110 NOGRR; 528 NPRR; 529 NPRR No action taken at this time.  Frank Owens urged all Market Participants to voice their opinions and concerns at the upcoming Constraint Management Plan workshop on September 3, 2013 at the ERCOT MET Center.

- 104NOGRR Removal of Transmission Operator Definition from the Nodal Operating Guide.  This Nodal Operating Guide Revision Request (NOGRR) proposes deleting the definition of “Transmission Operator” from the Nodal Operating Guides.  [ERCOT] No action taken.  Noted that NOGRR104 was withdrawn.

- 111NOGRR Synchronization with NPRR527, Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis.

This Nodal Operating Guide Revision Request (NOGRR) synchronizes the Nodal Operating Guide with NPRR527, Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis, requires Combined Cycle Generation Resources to telemeter individual High Sustainable Limits (HSLs) for gas and steam turbines.  The HSLs for combustion and steam turbines were previously submitted in zonal and ERCOT requests this practice be resumed in the nodal.  [ERCOT] Tabled for one month for additional language and review.

- 120NOGRR Black Start Plan Template Revision.

This NOGRR provides substantial additional details and clarifications to the Black Start Plan Template. [BSWG]  Recommended approval as revised by OWG.

- NPRR556 Resource Adequacy during Transmission Equipment Outage.

This Nodal Protocol Revision Request (NPRR) adds a requirement for the Network Operations 	Model so that Resources that are being served by temporary equipment can participate in the 	ERCOT market as in normal operations.  Tabled for one month.  To be discussed at a special  	NDSWG meeting yet to be set.

- Monthly Operations Report

Reviewed the report; comments/questions were answered by ERCOT personnel.

- Operations Task Force

No report.

- Texas RE Update Report

David Penney reports PRC-005; PER-005; VAR-001; VAR-002 up for comments.

David Penney started discussion around operating within 2% vs. 3% data accuracy regarding voltage profile.

- System Operations Report

Operating Procedure changes that impact market participants. POB 630, 631, 632, 633, 634, 635, 636, which consist primarily of clarifications of previous procedures.  No questions were offered.

- Seminar Task Force Report

No update

- Other

Draft language was discussed revising how Misoperation reporting is conducted.  Approved submission of NOGRR on behalf of OWG.

- Future Meeting Date

Wednesday September 18th, 2013