| NPRR Number | 529 | NPRR Title | Congestion Management Plan |
| --- | --- | --- | --- |
| Date |  | August 13, 2013 |  |
| Submitter’s Information |  |  |  |
| Name |  | M Wagner |  |
| E-mail Address |  | mwagner@edisonmission.com |  |
| Company |  | Edison Mission Marketing & Trading |  |
| Phone Number |  | 617-529-3127 |  |
| Cell Number |  |  |  |
| Market Segment |  | Independent Generator |  |

Comments

Edison Mission Marketing & Trading (EMMT) submits the following comments (and reasons for same) to this NPRR.

The comments are as follows—along with reasons for the changes:

- The definition of Constraint Management Plans to limit it to the list of items in the definition.  These plans as they impact limits in SCED and Market Participants need very clear delineations of what such plans are and when they will be used. Thus, “but are not limited to” is struck.

- Deleted “must be implementable” under Mitigation Plan and Temporary Outage Action Plan. (Why would we develop something that could not be implemented?)

- Changed definition of Pre Contingency Action Plan to make it parallel to Mitigation Plan—clarifies the distinction between the two.

- Changed definition of Remedial Action Plan to include important language that was struck from the original Protocol definition.

- Changed definition of SPS by striking “acceptable ERCOT System performance” and inserted “operates within NERC criteria.” The original “acceptable performance” does not seem to convey the rigor that one might anticipate around an SPS.  What is acceptable performance for the transmission system/where is this defined? If a definition exists in the ERCOT Protocols (“Protocols”) or Nodal Operating Guides we are amenable to citing a reference instead of the language we propose herein.

- What does 3.10.7.4(2) mean?  (The language is as follows:  “Execution of an SPS or RAP must be included or assumed in the calculation of LMPs as well as the Network Operations Model.”  Does this mean that once in place an SPS or RAP needs to be modeled in the Network Operations Model, and if deployed or engaged (what is the correct term?) that it should be included in the calculation of the LMP? If modeled and deployed by ERCOT or the Transmission Service Provider, wouldn’t the LMP inherently reflect this?

- OWG comments removed several transparency elements. We have reinstated in our comments below. See “issue a Market Notice” in 3.10.7.4(2) and 3.10.7.4(3). As there is a process for commenting on proposed SPSs, a Market Notice is required to notify market participants of what is available for comment. Further, as both SPSs and RAPs impact price formation, a Market Notice about postings, proposals, and changes to approved Plans is helpful to the market. As this is already standard practice, retaining this language is does not create new work for affected parties.

- In 6.5.7.1.10 (1), OWG deleted the description of what Contingency Security Violations are and gave no reason for this. What was the reason for striking this language? Is it that ERCOT will no longer control to 100% of the Emergency Rating Post contingency? Is there a new standard proposed somewhere else? In the absence of a reason for striking this language we have reinstated it.

- In 6.5.7.1.10(3)(c) proposed language would allow ERCOT to force Resources that are ONTEST to scuttle their testing to make capacity available to SCED for nonemergency dispatch (i.e. congestion management). We do not believe that this should be required unless there is a system emergency.  Coordinating Resource testing is similar to planning outages in that it requires both real time and pre-coordination across multiple entities to ensure that the effort is completed properly. In the ordinary course of dispatch (nonemergency situations) Resources should not have to abandon their testing to solve congestion that can be managed through other mechanisms. We modified the language to require issuance of a Watch which would provide ERCOT with the flexibility it needs to resolve the situation.

- In 6.5.7.1.10(3)(d) proposed language would allow ERCOT to force a QSE to move Ancillary Services (“AS”) to other Resources. This language is problematic in several respects. First as proposed, it suggests that a Resource would move Ancillary Services. A Resource cannot move AS.  QSEs supply Ancillary Services to ERCOT—not Resources.  Thus as proposed the language does not comport with our market design.  Second, there is an entire section of the Protocols that is devoted to this situation. For reference please see:  6.4.8.1.2 “Replacement of Undeliverable Ancillary Service Due to Transmission Constraints.”  Competing requirements are confusing. We have struck the proposed language.

- In 6.5.7.1.10(3)(e) and proposed language would allow ERCOT to deploy Resource Specific Non-Spin. Given that this will have the effect of lowering the price at the exact location that should be seeing high price due to what is being characterized as congestion that cannot be solved without this, we have asked for a notification to the market.  Operations Notification is fine—we envision a statement on http://ercot.com/services/comm/mkt_notices/opsmessages

- Question about proposed language in 6.5.7.1.10(3)(f)  “Removing conflicting non-cascading constraints from the SCED process.”  Would such constraints show up in the reports required under  6.5.7.1.11. “Transmission Network and Power Balance Constraint Management”?  If not, we will submit changes that would require this.

- 6.5.7.1.10(3)(i)  Given that this action may impact prices, we added a notification to the market.  Operations Notification is fine—we envision a statement on http://ercot.com/services/comm/mkt_notices/opsmessages

Our edits below are on the most recent set of OWG comments.

Revised Proposed Cover Page

| NPRR Title | Constraint Management Plan |
| --- | --- |

Revised Proposed Protocol Language

2.1	Definitions

Constraint Management Plan (CMP)

CMPs are a set of pre-defined actions executed in response to system conditions to prevent or to resolve one or more thermal or non-thermal transmission security violations.  These plans may only be developed in cases where studies indicate economic dispatch alone may be unable to resolve a transmission security violation or in response to Real-Time conditions where SCED is unable to resolve a transmission security violation.  ERCOT will employ CMPs to facilitate the market use of the ERCOT Transmission Grid while maintaining system security and reliability in accordance with the Protocols and North American Electric Reliability Corporation (NERC) Reliability Standards.  CMPs are intended to supplement, not to replace, the use of SCED for constraint management.  CMPs include:

Mitigation Plan

A set of pre-defined actions to execute post-contingency to address voltage issues or reduce overloading on one or more given, monitored Transmission Facilities to below their Emergency Rating with restoration of normal operating conditions within two hours.  A Mitigation Plan include transmission switching and Load shedding.

Pre-Contingency Action Plan (PCAP)

A set of pre-defined actions to execute pre-contingency to address voltage issues orreduce overloading on one or more given, monitored Transmission Facilities to below their Emergency Rating with restoration of normal operating conditions within two hours.  A PCAP may include transmission switching and may not include Load shedding.

Remedial Action Plan (RAP)

A set of pre-defined actions to execute post-contingency to address voltage issues or in order to reduce loading on one or more given, monitored Transmission Facilities to below their Emergency Rating within 15 minutes.  RAPs are sufficiently dependable to assume they can be executed without loss of reliability to the interconnected network, with restoration of normal operating conditions and below Normal Rating within two hours as defined in the Network Operations Model.  These plans may be relied upon in allowing additional market use of the transmission system.  RAPs may not include Load shedding.

Temporary Outage Action Plan (TOAP)

A temporary set of pre-defined actions to execute post-contingency, during a specified Transmission Facility or Resource Outage, in order to address voltage issues or reduce overloading on one or more given, monitored Transmission Facilities to below their Emergency Rating with restoration of normal operating conditions within two hours.  A TOAP may include transmission switching and/or Load shedding.

Special Protection Systems (SPS)

Special Protection Systems (SPSs) are automatic protective relay systems designed to detect abnormal or pre-determined ERCOT System conditions and take pre-planned corrective action, other than the isolation of faulted Transmission Facilities, to ensure that the system operates within North American Electric Reliability Corporation (NERC) criteria.  SPS actions include, but are not limited to generation or transmission system configuration to maintain system stability, acceptable voltages, or acceptable Facility loadings.  An SPS does not include under-frequency or Under-Voltage Load Shedding (UVLS), fault conditions that must be isolated, or out-of-step relaying (not designed as an integral part of an SPS).  An SPS owner can be a Transmission Service Provider (TSP) or Resource Entity.

## ACRONYMS AND ABBREVIATIONS

CMP		Constraint Management Plan

PCAP		Pre-Contingency Action Plan

TOAP		Temporary Outage Action Plan

- 3.1.6.5	Evaluation of Proposed Resource Outage

(1)	If a proposed Resource Outage, in conjunction with previously accepted Outages, would cause a violation of applicable reliability standards, ERCOT shall:

(a)	Communicate with the requesting Qualified Scheduling Entity as required under Section 3.1.6.8, Resource Outage Rejection Notice;

(b)	Investigate possible Constraint Management Plans (CMPs) to resolve security violations, based upon security and reliability analysis results and strive to maximize transmission usage consistent with reliable operation; and

(c)	Consider modifying the previous acceptance or approval of one or more Transmission Facilities Outages or reliability Resource Outages, considering order of receipt and impact to the ERCOT System.

(2)	If transmission security can be maintained using an alternative considered in item (1)(b) and (1)(c), then ERCOT, may, in its judgment, direct the selected alternatives and approve the proposed Resource Outage.

(3)	If ERCOT does not resolve transmission security issues by using the alternatives considered in item (1)(b) and (1)(c), then ERCOT shall reject the proposed Resource Outage.

- 3.10.7.4	Definition of Special Protection Systems and Remedial Action Plans

(1)	All Special Protection Systems (SPSs) and Remedial Action Plans (RAPs) used by ERCOT and the TSPs to maintain a secure system must be defined in the Network Operations Model.

(2)	Proposed new SPSs and RAPs and proposed changes to SPSs and RAPs must be submitted to ERCOT for review and approval by ERCOT and all directly affected TSPs and Resource Entities under the applicable procedures in the Operating Guides.  Once a new or changed SPS or RAP is approved by ERCOT and all directly affected TSPs and Resource Entities, the TSP shall submit the approved SPS or RAP to ERCOT using an NOMCR.  The NOMCR must include a detailed description of the system conditions required to implement the SPS or RAP.  Execution of an SPS or RAP must be included or assumed in the calculation of LMPs as well as the Network Operations Model.   ERCOT shall issue a Market Notice and post all SPSs and RAPs under consideration on the MIS Secure Area within five Business Days of receipt by ERCOT.

(3)	ERCOT shall model, and include in the security analysis, approved SPSs and RAPs. ERCOT shall issue a Market Notice and post on the MIS Secure Area all approved SPSs and RAPs at least two Business Days before implementation, identifying the date of implementation.

- 6.5.7.1.10	Network Security Analysis Processor and Security Violation Alarm

(1)	Using the input provided by the State Estimator, ERCOT shall use the NSA processor to perform analysis of all contingencies in the active list.  For each contingency, ERCOT shall use the NSA processor to monitor the elements for limit violations.  ERCOT shall use the NSA processor to verify Electrical Bus voltage limits to be within a percentage tolerance as outlined in the Operating Guides.  Contingency security violations for transmission lines and transformers occur if:

(a)	The predicted post-contingency MVA exceeds 100% of the Emergency Rating after adjustments for Real-Time weather conditions applicable to the contingency are incorporated; and

(b)	No defined RAP or SPS exists that could provide relief within the time allowed by the security criteria.

(2)	When the NSA processor notifies ERCOT of a security violation, ERCOT shall immediately initiate the process described in Section 6.5.7.1.11, Transmission Network and Power Balance Constraint Management.

[NPRR393: Replace paragraph (2) above with the following upon system implementation:] (2) When the NSA processor notifies ERCOT of a security violation, ERCOT shall immediately: (a) Initiate the process described in Section 6.5.7.1.11, Transmission Network and Power Balance Constraint Management; (b) Seek to determine what unforeseen change in system condition has arisen that has resulted in the security violation, especially those that were 125% or greater of the Emergency Rating for a single SCED interval or greater than 100% of the Emergency Rating for a duration of 30 minutes or more; and (c) Where possible, seek to reverse the action (e.g. initiating a transmission clearance that the system was not properly pre-dispatched for) that has led to a security violation until further preventative action(s) can be taken.

(3)	If SCED does not resolve a transmission security violation, ERCOT shall attempt to relieve the security violation by:

(a)	Confirming that pre-determined RAPs are properly modeled in the system;

(b)	Instructing Resources  to follow Base Points from SCED if those Resources are not already doing so;

(c)	Instructing Resources update the Resources Status in the Current Operating Plan (COP) SCED after declaring a Watch as set forth in Section 6.5.9, Emergency Operations;

;

(d)	Deploying Resource-Specific Non-Spinning Reserve Service and shall notify the market of this action;

(e)	Committing additional Generation Resources through the Reliability Unit Commitment process;

(g)	Removing conflicting non-cascading constraints from the SCED process;

(h)	Re-Dispatching generation by over-riding High Dispatch Limits (HDLs) and Low Dispatch Limits (LDLs); and

(i)	Instructing TSPs to utilize Reactive Power devices to manage voltage and notify the market of this action; and

(j)	If all other mechanisms have failed, ERCOT may authorize the expedited use of a Temporary Outage Action Plan (TOAP) or Mitigation Plan.

(4)	NSA must be capable of analyzing contingencies, including the effects of  SPSs and RAPs.  The NSA must fully integrate the evaluation and deployment of SPSs and RAPs and notify the ERCOT Operator of the application of these SPSs and RAPs to the solution.

(5)	The Real-Time NSA may employ the use of appropriate ranking and other screening techniques to further reduce computation time by executing one or two iterations of the contingency study to gauge its impact and discard further study if the estimated result is inconsequential.

[NPRR393: Insert paragraph (6) below upon system implementation:] (5) ERCOT shall report monthly: (a) All security violations that were 125% or greater of the Emergency Rating for a single SCED interval or greater than 100% of the Emergency Rating for a duration of 30 minutes or more during the prior reporting month and the number of occurrences and congestion cost associated with each of the constraints causing the security violations on a rolling 12 month basis. (b) Operating conditions on the ERCOT System that contributed to each transmission security violation reported in paragraph (6)(a) above. Analysis should be made to understand the root cause and what steps could be taken to avoid a recurrence in the future.