## Slide 1: CMWG Update to WMS 9-11-13
Report of CMWG Meeting of
9-4-13

## Slide 2: WMS Assignment: Work Toward Fully Funded CRRs
Why?
  Will assist entities in getting more firm hedges
    Presently, derates can erode value of CRRs—thus leaving parties open for the difference between what they thought they owned and what actually occurs
  Will increase value of CRRs sold by ERCOT
Under Discussion
  Modifications to Balancing Account
    Presently, we do an hourly comparison of CRR Values to be paid vs. Congestion Rent collected, Account Cleared out monthly
      Overages flow to Monthly Balancing Account and are paid out monthly as part of RENA
      Under collection results in short-pay to CRR holders
    Under discussion, move to daily pay out (to smooth over hours and make CRR owners more “whole” by day instead of hour) and to collect in the Balancing Account up to base level before overages are paid out
  Improving CRR Modeling—Ideas Under Exploration
    Outage Scheduling —Outages are pulled as part of the CRR Auction Model Build Process approximate 45 days ahead of time--Last month data presented on outage scheduling for 2012: 68% of outages submitted with under 10 days notice---Can this be improved?
    Use of Planning Model Change Requests to Account for New Equipment in Models – ERCOT looked at 2012 June & December TPIT filings for major projects to be in service in April-June 2013 vs. Actual 2013 In-service Dates.
      27 projects were analyzed, 4 were early or on time, 19 were not energized or not in real time model as of 8/12/13
      Is there a way to improve visibility into in service dates of new equipment?
  SPS/RAPs—will continue to be modeled in CRR Model
  Principles of Consistency—TAC eliminated the document from 2006. Discussion that work on this should continue

## Slide 3: WMS Assignments: Ct’d
Local Power Mitigation
  NPRR 520 is in production. Results show a reduction in number of mitigated resources—but high proportion of constraints are still deemed noncompetitive –95%.
  NPRR 520 was discussion that “r squared” might not be right, or that it is right and the ECI Threshold needs to be changed if R^2 stays the same
  Discussions Will Continue
Local Power Mitigation with Ancillary Services
  When responsive reserves are deployed, there was a concern that during times when a generator providing RRS had a shift factor on a non competitive constraint, energy that was originally meant for RRS would be used along a mitigated offer curve to resolve the constraint
  ERCOT presented information that demonstrates mitigation will occur when there is market power ---but mitigation is not EXPECTED to occur when the AS is needed to serve load because the Reference Price coming out of Step 1 of SCED is expected to be sufficiently high which would mean that the mitigated offer curve (for Step 2 SCED) will be at the Reference Price level (and not at verifiable/generic cost---which is the other choice coming out of S1 of SCED).
  ERCOT Noted—mitigation of AS can occur if:
    The AS has to be released to SCED
    AS is deployed when resource needs to be mitigated to solve a noncompetitive constraint.
Potential Assignments
  Should ERCOT be able to direct Resources carrying AS to Move the AS in situations other than EEA? (Follow up to language in NPRR 529 that was discussed at workshop)

## Slide 4: LT CRR Auction Sequence Schedule
Sequence1
Jan-Jun 2014
60%
Credit Lock and Run Dates
10/28/13 – 11/15/13
November
December
January
February
Sequence2
Jul-Dec 2014
45%
Sequence3
Jan-Jun 2015
30%
Sequence4
Jul-Dec 2015
15%
Credit Lock and Run Dates
11/18/13 – 12/6/13
Credit Lock and Run Dates
1/6/14 – 1/24/14
Credit Lock and Run Dates
1/27/14 – 2/14/14

## Slide 5: CRR Other
Sharyland will be reflected in 2014 forward CRR models
NPRR 484 Credit Changes for CRR Collateralization-- CRR and Credit changes to implement path-specific adders Set to begin 10/23/13 --ERCOT will publish adders 2 days ahead of credit lock starting this Fall
Training
NPRR 551— 9/5/13 TAC passed ERCOT comments—Planning models to be posted 10/15
NPRRs 528/529— Workshop held 9/3 & 9/6
SCR 774— Workshop scheduled for 9/20
Friday, September 13, 2013
Wednesday, September 25, 2013 (CWG meeting in AM)
Tuesday, October 8, 2013