| NPRR Number | 539 | NPRR Title | Amend Wholesale Storage Load Definition |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Approved |
| Date of Decision |  | September 17, 2013 |  |  |
| Effective Date |  | October 1, 2013 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Protocol Section Requiring Revision |  | 2.1, Definitions |  |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) adds thermal energy storage associated with turbine inlet chilling to the list of technologies eligible for Wholesale Storage Load (WSL) Settlement treatment. At its April 12, 2013 meeting, WMS endorsed this NPRR and directed the Emerging Technologies Working Group (ETWG) to file it. There was one abstention to the WMS motion from the Consumer Market Segment. |  |  |
| Reason for Revision |  | The WSL definition identifies specific energy storage technologies eligible to receive WSL Settlement treatment and in order for thermal energy storage associated with turbine inlet chilling to receive WSL Settlement treatment, it must be added to the list. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR539 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 4/26/13, NPRR539 was posted. - On 5/15/13, TAS comments were posted. - On 5/16/13, PRS considered NPRR539. - On 6/13/13, an Impact Analysis was posted. - On 6/20/13, PRS considered the 5/16/13 PRS Report and Impact Analysis for NPRR539. - On 7/2/13, TAC considered NPRR539. - On 9/17/13, the ERCOT Board considered NPRR539. |  |  |
| PRS Decision |  | On 5/16/13, PRS voted to recommend approval of NPRR539 as submitted. There was one opposing vote from the Consumer Market Segment and three abstentions from the Investor Owned Utility (IOU), Municipal, and Independent Power Marketer (IPM) Market Segments. All Market Segments were present for the vote. On 6/20/13, PRS voted to endorse and forward the 5/16/13 PRS and Impact Analysis for NPRR539 to TAC. There was one abstention from the IOU Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 5/16/13, there was debate regarding what technologies qualify as WSL; the eligibility of turbine inlet chilling under Public Utility Commission of Texas (PUCT) Substantive Rules; and the precedence that this could set for other technologies trying to qualify as WSL. On 6/20/13, there was no discussion. |  |  |
| TAC Decision |  | On 7/2/13, TAC voted to recommend approval of NPRR539 as recommended by PRS in the 6/20/13 PRS Report. There was one opposing vote from the Consumer Market Segment and one abstention from the IOU Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 7/2/13, there was no discussion. |  |  |
| ERCOT Opinion |  | ERCOT supports approval of amending the definition of Wholesale Storage Load to include specifically defined storage technology as amended by this NPRR. |  |  |
| Board Decision |  | On 9/17/13, the ERCOT Board approved NPRR539 as recommended by TAC in the 7/2/13 TAC Report. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Describe qualitative benefits: - Affords an energy storage technology the Settlement treatment for which it is eligible under P.U.C. Subst. R. 25.192, Transmission Service Rates, P.U.C. Subst. R. 25.501, Wholesale Market Design, and the Protocols. - Provides additional clarity regarding WSL treatment eligibility. |

| Sponsor |  |
| --- | --- |
| Name | Mark Bruce on behalf of ETWG |
| E-mail Address | mark.bruce@stratusenergy.com |
| Company | Stratus Energy Group |
| Phone Number |  |
| Cell Number | 512-810-1516 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| TAS 051513 | Endorsed NPRR539 so that energy storage technologies previously excluded from the list in the WSL definition are not barred from equal market treatment. |

Proposed Protocol Language Revision

2.1 	DEFINITIONS

- Load

...

Wholesale Storage Load (WSL)

Energy that is separately metered from all other Facilities to charge a technology that is capable of storing energy and releasing that energy at a later time to generate electric energy.  WSL includes losses for the energy conversion process that are captured by the WSL EPS Meter.  WSL is limited to the following technologies:  batteries, flywheels, compressed air energy storage, pumped hydro-electric power, electro chemical capacitors, and thermal energy storage associated with turbine inlet chilling.