| NPRR Number | 558 | NPRR Title | Addition of Bilateral Load Response Data to Protected Information List |
| --- | --- | --- | --- |
| Date |  | July 17, 2013 |  |
| Submitter’s Information |  |  |  |
| Name |  | Marguerite Wagner |  |
| E-mail Address |  | mwagner@edisonmission.com |  |
| Company |  | Edison Mission Marketing & Trading |  |
| Phone Number |  | 617-529-3127 |  |
| Cell Number |  |  |  |
| Market Segment |  | Independent Generator |  |

Comments

We recommend tabling this NPRR until the specific areas where the submitter seeks exemption are set forth. From the breadth of the requested language change, it is not clear as to what parts of data posting that are currently contained, or which might be developed as the construct of Load in SCED moves forward, that the requestor seeks exemption. This is an important issue of market transparency and there is no urgency to move this forward without being able to answer the questions below.

Significant information is currently provided about all Generation Resources in the ERCOT Region and it is important that as Load Resources take on an increasingly “generation-like” role, that performance and transparency metrics apply to load in a manner similar to the way that they have historically been applied to Generation Resources.

Examples of the types of information about which we seek clarification are listed below. This is not an exhaustive list, but it is reasonably representative. As the development of Load in SCED moves forward, will information for Load Resources will be provided for as is currently the case for Generation Resources under the following sections:

- If Load Resources are subject to RUC, would this language preclude posting of Resources committed or decommited through RUC (Protocols 5.3(3) and 5.5.2(3), 5.5.2(13))

- Posting of information as set forth in 3.2.5—would the Load Resource data be included in the calculations for data posted under 3.2.5(1)?

- Posting of other information as set forth in 3.2.5(2), 3.2.5(3), 3.2.5(4), 3.2.5(6), 3.2.5(7), 3.2.5(8),

- Posting of 60 day information as set forth in 6.5.7.1.13(5) to the extent that a PUN would be a Resource in SCED and any relevant posting under 6.5.7.1.13(7)

- Posting of 60 day information as set forth in 6.5.7.1.13(10)

- Any postings from Load Resources providing Ancillary Services as would be required in 6.5.7.5

- Posting of Load Zone and Hub LMPs as required under 6.6.1.4 and 6.6.1.5

- Various performance postings that may be required under 8.1.

- As a broader question, how will ERCOT include Load in SCED in the posting of Posting of 60 day information as set forth in 6.5.7.1.13(8), 6.5.7.1.13(9), 11.5.2.2  Will Load Resources in SCED be included as Load or Generation?

Proposed Protocol Language Revision

None—propose tabling until above questions are answered.