DWG Report to ROS

October 2013

- DWG had a WebEx on September 30 and discussed the following:

  - Current Year 2014 flat start was reviewed.  There will be another DWG WebEx on October 30, again, to review the Current Year 2014 flat start.

  - A Voltage Reduction dynamic simulation performed by Oncor. The results confirmed that there is no load loss during a 2.5% Voltage Reduction on the tested distribution system.

- DWG’s next meeting is scheduled for December 9 -10