| NOGRR Number | 111 | NOGRR Title | Synchronization with NPRR527, Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Tabled |
| Date of Decision |  | May 15, 2013 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Nodal Operating Guide Section Requiring Revision |  | 2.2.8, Performance/Disturbance/Compliance Analysis Operating Guide |  |  |
| Protocol Section Requiring Revision |  | 6.5.5.2, Operational Data Requirements |  |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) synchronizes the Nodal Operating Guides with Nodal Protocol Revision Request (NPRR) 527, Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis, which requires Combined Cycle Generation Resources to telemeter individual High Sustained Limits (HSLs) for gas and steam turbines. The HSLs for combustion and steam turbines were previously submitted in zonal and ERCOT requests this practice be resumed in nodal. |  |  |
| Reason for Revision |  | Removes the requirement for the submission of limits due to the additional telemetry, which will be provided by Combined Cycle Generation Resources via NPRR527. |  |  |
| Procedural History |  | - On 4/2/13, NOGRR111 and an Impact Analysis were posted. - On 4/8/13, Calpine comments were posted. - On 4/17/13, the Operations Working Group (OWG) considered NOGRR111. - On 4/25/13, Luminant Comments were posted. - On 5/15/13, OWG again considered NOGRR111. |  |  |
| OWG Decision |  | On 4/17/13, OWG was in consensus to table NOGRR111 for one month. On 5/15/13, OWG was in consensus to table NOGRR111. |  |  |
| Summary of OWG Discussion |  | On 4/17/13, OWG agreed to table NOGRR111 until the Performance, Disturbance, Compliance Working Group (PDCWG) has opined on the associated NPRR527. On 5/15/13, it was noted that PDCWG and the Qualified Scheduling Entity (QSE) Managers Working Group (QMWG) will discuss the associated NPRR527 at their joint meeting on May 29, 2013. |  |  |

| Business Case |  |
| --- | --- |
| 1 | - Alignment with Protocols. |

| Sponsor |  |
| --- | --- |
| Name | Jeff Healy |
| E-mail Address | jhealy@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6914 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | 512-248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Calpine 040813 | Proposed revisions to clarify PDCWG’s evaluation of Resource performance during frequency events. |
| Luminant 042513 | Proposed language changes to provide an exception for nuclear-fueled Generation Resources and also proposed to retain language requiring Combined-Cycle Generation Resources to submit other operating limits. |

Proposed Guide Language Revision

- 2.2.8	Performance/Disturbance/Compliance Analysis

(1)	Performance/Disturbance/Compliance analysis shall be performed by ERCOT for the purpose of ensuring conformance with the Protocols.  All Resources, except nuclear-powered Resources and WGRs, must respond to frequency disturbances with a Governor droop of 5% or less unless limited by a High Sustained Limit (HSL).

(2)	ERCOT shall make a regular report on selected system disturbances, documenting the response of individual QSEs, together with a summary.  In addition, Resource Entities, QSEs, and individual members of the Performance Disturbance Compliance Working Group (PDCWG) are encouraged to work within their respective companies to enhance the performance of individual Generation Resource control systems through application of the results of the PDCWG studies.

(3)	To ensure compliance and improved performance, the Texas Reliability Entity (Texas RE) shall communicate with the Market Participants that are not meeting the current performance requirements.