| NOGRR Number | 109 | NOGRR Title | Revisions to Definition of Credible Single Contingency for Operations Planning |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Tabled |
| Date of Decision |  | October 3, 2013 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Operating Guide Section Requiring Revision |  | 1.4, Definitions |  |  |
| Protocol Section Requiring Revision |  | 2.1, Definitions |  |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) deletes the definition of Credible Single Contingency from the Operating Guides. |  |  |
| Reason for Revision |  | The original intent of this NOGRR was to respond to the 2/14/13 ROS directive to the Operations Working Group (OWG) and based on the recommendation of the Operations and Planning Synchronization Task Force (OPSTF) regarding Issue 6 of the OPSTF Issues List Matrix, which relates to the “[u]se of double circuit contingencies to develop operating limits.” The OPSTF recommendation is as follows: “OPSTF discussed a proposal that a DCKT outage be considered only if it caused a reliability problem. The 'push-back' was that it is hard for the market to model contingencies that are sometimes run and sometimes not. ERCOT commented that this would be complex, burdensome and require new tools for System Operations. OPSTF recommends that ROS direct OWG to modify the Operating Guides language (pg. 1-15) to better reflect the actual practice.” After further review, the OWG has agreed to delete the definition of Credit Single Contingency from the Operating Guides. The definition will be incorporated in the Protocols as the use of the term is being introduced in Nodal Protocol Revision Request (NPRR) 540, Clarification of Credible Single Contingency. |  |  |
| Procedural History |  | - On 3/5/13, NOGRR109 was posted. - On 3/20/13, the OWG considered NOGRR109. - On 4/8/13, an Impact Analysis was posted. - On 4/17/13, OWG considered the 3/20/13 OWG Report and Impact Analysis for NOGRR109. - On 6/13/13, ROS considered NOGRR109. - On 6/14/13, CenterPoint Energy comments were posted. - On 6/19/13, OWG again considered NOGRR109. - On 7/11/13, ROS again considered NOGRR109. - On 9/12/13, ROS again considered NOGRR109. - On 10/3/13, TAC considered NOGRR109. |  |  |
| OWG Decision |  | On 3/20/13, OWG was in consensus to recommend approval of NOGRR109 as revised by OWG. On 04/17/13, OWG was in consensus to endorse and forward the 3/20/13 OWG Report and Impact Analysis for NOGRR109 to ROS. On 6/19/13, OWG was in consensus to recommend approval of NOGRR109 as amended by the 6/14/13 CenterPoint Energy comments and as revised by OWG. |  |  |
| Summary of OWG Discussion |  | On 3/20/13, it was noted that the contingency loss of a single facility is comprised of transmission line, auto transformer, or other associated pieces of equipment. On 04/17/13, there was no discussion. On 6/19/13, the 6/14/13 CenterPoint Energy comments were reviewed. There was a request that the definition of Credible Single Contingency be moved to the Protocols since the use of the term is being introduced via NPRR540. |  |  |
| ROS Decision |  | On 6/13/13, ROS unanimously voted to remand NOGRR109 to OWG for one month. All Market Segments were present for the vote. On 7/11/13, ROS unanimously voted to table NOGRR109. All Market Segments were present for the vote. On 9/12/13, ROS voted to recommend approval of NOGRR109 as recommended by OWG in the 6/19/13 OWG Report. There was one abstention from the Independent Generator Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 6/13/13, there was a request for NOGRR109 to be remanded to OWG for review in conjunction with NPRR540. On 7/11/13, there was no discussion. On 9/12/13, there was no discussion. |  |  |
| TAC Decision |  | On 10/3/13, TAC unanimously voted to table NOGRR109 until associated Constraint Management Plan NPRRs are approved. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 10/3/13, there was no discussion. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | - To provide clarity by deleting the definition of Credible Single Contingency from the Operating Guides so that it can more appropriately reside in the Protocols. |

| Sponsor |  |
| --- | --- |
| Name | Frank Owens on behalf of OWG |
| E-mail Address | fowens@crosstexas.com |
| Company | Cross Texas Transmission, LLC |
| Phone Number | (512) 276-6122 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Kelly P. Landry |
| E-Mail Address | klandry@ercot.com |
| Phone Number | (512) 248-4630 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| CenterPoint Energy 061413 | Proposed administrative edits to Section 1.4. |

Proposed Guide Language Revision

1.4	Definitions

.