Outstanding Issues

- What additional capacity should be included in the reserve calculation and payment?

  - ERS

  - Load Resources that can be shed in 30 min

  - Constrained Wind – should we change PRC calculation

  - NUC – should we change PRC calculation

  - RMR

  - RUC

  - DC Ties import

  - 10 min reserves

- Should RRS be released as we approach scarcity to avoid artificially high price and avoid price reversal when RRS is deployed – Need to change operating procedure.

- Should offer floors for NPRR 385 be applied at 5 min or 15 min level

- Should Ps be based on actual generation instead of Base Point so that regulation deployment is also considered

- Should RUC capacity be paid capacity payment in addition to Ps in energy payment? There will only be 50% claw back  if they have submitted offers in DAM

- Should the claw back go to RENA or RUC short ? – Based on the current protocol the claw back goes to loads

- Should there be payment for Resources that can start in an hr, in 2 hr, in 3 hr etc based on current warmth state and Load Resources that can be shed in an hr

- Should the ORDC curve be changed every month?

- Should there be protocol requirement to show increased HSL testing?

- Need to consider ORDC in DAM  to converge AS price during scarcity and allow for procurement of additional reserves based on the ORDC

- Should Online Non-Spin be converted to only Offline Non-Spin

- Should we eliminate NSRS

- Should continuous deployment of On-line NSRS be converted to operator deployment of NSRS

- VOLL verse Offer Cap difference for Summer 2014

Consensus items that need to be changed in the NPRR/OBD

- Define what is covered in online status – Startup/shutdown

- fix the terminology- variable names in the settlement equation – Online Vs Offline

- Remove the floors language

- Provide Back cast for 2013 update the tool

- Posting of 15 min time weighted price adder

- Differentiate between SCED and other reserves in AS cap monitor

- Remove theory part from OBD – VNMA, Approach 1& 2

- Change OBD to match NPRR

- Post underlying data for mean & std for the back cast

- posting underlying data for mean & std along with posting of ORDC without violating confidentiality

- Add settlement equation for 2*1 CC providing nsrs

- Remove “of the” from the settlement description

- Update 9.5.3

- Whether synchronous condensers are in IRR or not? If not the update the language

- PUN HSL testing?

- Should the imbalance Payment have a separate uplift

- What additional capacity should be included in the reserve calculation and payment?

  - Capacity that can be brought online within 30 min based on current warmth state but are not providing NSRS

    - CTs that can be brought online within 30 min to change Combined Cycle Resources  to higher configurations

    - Power Augmentation that is not available to SCED