| NPRR Number | 562 | NPRR Title | Subsynchronous Resonance |
| --- | --- | --- | --- |
| Date |  | October 8, 2013 |  |
| Submitter’s Information |  |  |  |
| Name |  | Paul Hassink |  |
| E-mail Address |  | phassink@aep.com |  |
| Company |  | American Electric Power Service Corporation (AEPSC) |  |
| Phone Number |  | 918.599.2653 |  |
| Cell Number |  | (option 0 on office phone) |  |
| Market Segment |  | Investor Owned Utility (IOU) |  |

Comments

Rather than preparing a redline, AEPSC has some general comments, which it believes are useful to frame the issue.  Primarily, technical issues should be addressed by the Planning Working Group (PLWG), and protection and mitigation should be installed by their respective owners, while the Public Utility Commission of Texas (PUCT) addresses cost responsibility.

AEPSC concurs with Oncor that the term “subsynchronous resonance” does not necessarily have a common meaning, and that the phenomenon would be more accurately characterized as “subsynchronous oscillations”.  Further, application of protection and mitigation associated with subsynchronous oscillations deserves careful attention to distinctions in regard to system reliability.  Protection for subsynchronous oscillations should always be a last resort, presuming that all other practical mitigation measures have been taken, or the likelihood for the need for protection is small.  Generator tripping should not be a form of subsynchronous oscillation mitigation, but, “protection is nonetheless crucial as a last line of defense for such equipment” as Oncor indicated in its comments.

AEPSC also concurs with Oncor that “the determination of appropriate equipment protection should be made by the owner of the equipment, in consultation with other affected parties. The installation and maintenance of equipment protection should be made by the owner of the equipment. The liability for the failure of the equipment protection should be borne by the owner of the equipment.”  The determination of the application of protection and mitigation is a technical issue, which is the jurisdiction of the PLWG and appropriately supported in Planning Guides.  All impacted stakeholders should engage in the determination of risk associated with subsynchronous oscillations, and should support the PLWG with experts in both transmission and generation.  Risk should be thoroughly vetted and understood on a technical basis, independent of cost responsibility.

Finally, AEPSC also concurs with Oncor that, “the cost of equipment protection may be borne by the owner of the equipment, or may be uplifted to the market, but any uplift methodology should be approved by ERCOT and the Public Utility Commission of Texas prior to implementation.”  In order to allow ERCOT customers to benefit from low cost energy from the CREZ, AEPSC recommends that protection and mitigation should be installed by their respective owners, while the PUCT addresses cost responsibility.  An analogous situation is the generator obligation to supply reactive power, which was addressed at the PUCT some 15 years ago.  The question posed to the PUCT was whether generator reactive capability was a requirement or an ancillary service.  Within the limits set out in the ERCOT Operating Guides, the PUCT determined that reactive capability was a requirement and not a service.  Correspondingly, the PLWG should first determine a requirement through the Planning Guide, and then the cost determination can be taken up by the PUCT.  Further, should the PUCT determine that the cost of generator protection and/or mitigation should be recoverable from rate payers, then the PUCT should determine whether cost recovery would be similar to generator recovery mechanisms such as RMR cost, or transmission recovery such as TCOS.  In any case, these decisions should be debated at the PUCT, as opposed to Protocol revisions.

Revised Cover Page Language

See below.

Revised Proposed Protocol Language

AEPSC offers general comments on the NPRR in the text above and does not provide specific redline changes at this time. AEPSC expects that the NPRR 562 workshops will provide input from many parties that should be considered prior to redrafting the NPRR.