Loads in SCED v2 Workshop preliminary issues list

- Settlement & DR QSE participation

  - TAC endorsed volumetric LMP minus G concept in 2011

    - Not yet considered by BOD or PUC

  - Significant impacts on ability of third party DR QSEs to participate directly in SCED with Offers to Sell (instead of Bids to Buy)

  - Under a volumetric LMP minus G methodology, major ERCOT system challenges in sending DR values back to LSE QSE down to ESI ID level

    - May be workable for NOIEs and single-site LRs, but highly problematic for ALRs in competitive choice areas

    - PUC Rule may be necessary to clarify rules for disaggregation

    - Can it be accomplished bilaterally (outside of ERCOT settlement) between DR QSE and LSE?

      - What about measurement & verification?

  - Alternative (“full LMP” or similar) would require uplift

- Accessibility for other DR assets

  - To attract traditional DR assets such as existing UFR-type LRs, SCED would need to accommodate:

    - Block energy bids or offers from non-CLRs that don’t have incremental ramping capability (i.e. on/off breaker operated)

    - Temporal constraints

      - Lead time/advance notification >5 minutes

      - Minimum run time

      - Maximum run time

      - Return to service time

  - Impacts on Real-Time Market price formation

  - Multi-interval SCED could potentially accommodate blocky DR with temporal constraints:

    - Could minimize make-whole payment and uplift

    - Could address residual price formation issues

    - Wind and Load forecasts become important

- Other issues:

  - Using Load Zone Shift Factors for participating CLRs is an approximation

    - Causes more errors if LR is single site

    - PUC Rule change would be needed to settle LRs at LMPs rather than LZ-SPPs

  - SCED and Ancillary Services qualifications (current and future)

  - Network modeling

  - Telemetry