## Slide 1: Resource Adequacy Task Force (RATF)
Update to WMS
October 8, 2013

## Slide 2: NPRR 568 Workshops
Series of workshops have occurred to educate and address concerns and questions on NPRR 568 (Real Time Reserve Price Adder Based on ORDC)
Future workshop today after WMS & October 11 at 1pm
PRS is scheduled to consider NPRR 568 on October 17th
On October 19, ERCOT will publish indicative pricing

## Slide 3: Discussion Items
Consensus items that might require longer implementation time
1. Include in reserve calculation and payment 10 min reserves from offline power augmentation that can not be include the online HSL due RRS being provided from the resource
2. Include in reserve calculation and payment reserves that can come online in 30 minutes based on the current warmth state but cannot come online in 30 minutes from cold start (MWs that can be ramped up in 30 min and not HSL)
3. Take to ROS , if we should Include the following in reserve calculation and payment – Constrained IRRs, Nuclear, DC Ties, others
Consensus items that will be updated in the NPRR
1. Apply Discount factor to AS imbalance calculation
2. Calculate the ORDC every season for the next year using all historic data
Other Consensus items
1. Need more testing to ensure accuracy and verification of telemetry
2. RUC buyback needs to be revisited

## Slide 4: Outstanding Discussion Items
1. Should there be consistency in the amount we count for the PRC calculation compared to the capacity that receives the ORDC adder
2. Can we update what needs to be included in the PRC calculation since commissioners made the decision based on what is in the white paper
3. What additional capacity should be included or excluded in the reserve calculation?
a. ERS
  b. Load Resources that can be shed in 30 min – Discuss with ROS
c. RMR
d. RUC
4. What additional capacity should be included in the payment?
a. ERS
b. Load Resources that can be shed in 30 min – Discuss with ROS
c. RMR
d. RUC
5. Should RRS be released as we approach scarcity to avoid artificially high price due to the power balance penalty curve and avoid price reversal when RRS is deployed – Need to change operating procedure.
6. Could 500MW of RRS be deployed independent of the frequency responsive RRS MW?
7. Should the offer floors for RUC, Proxy Offer curves, output schedules be at SWCAP? Need to understand the impact on ORDC and the adder.

## Slide 5: Outstanding Discussion Items
8. Should offer floors for NPRR 385 be applied at 5 min or 15 min level
9. Should RUC capacity be paid capacity payment in addition to Ps in energy payment? There will only be 50% claw back if they have submitted offers in DAM
10. Should the RUC claw back go to RENA or RUC short? – Based on the current protocol the claw back goes to loads
11. Should there be payment for Resources that can start in an hr, in 2 hr, in 3 hr etc and Load Resources that can be shed in an hr
12. DO we need to adjust protocol requirement for HSL testing for generators (8.1.1.2(2))- something more stringent?
13. Should there be protocol requirement for HSL testing for load?
14. What is the method to disqualify resource from getting ORDC payment – Performance/ compliance requirement
15. Need to consider ORDC in DAM to converge AS price during scarcity and allow for procurement of additional reserves based on the ORDC (Future item for discussion after ORDC is implemented)
16. Should Online Non-Spin be converted to only Offline Non-Spin
17. Should we eliminate NSRS
18. Should continuous deployment of On-line NSRS be converted to operator deployment of NSRS
19. Interaction between power balance penalty and ORDC curve
20. Confirm that the AS imbalance is on LRS
21. Discuss inconsistency between VOLL and SWCAP- do we need a make-whole for RUC for AS when SWCAP <VOLL
22. Make-whole for RUC for AS when LCAP <VOLL
23. Should ORDC and PBPC be capped when PNM threshold is met
24. Credit impacts
25. Need for updating the proxy offer extension, Offer floors for RUC, offers for resources on OS.