## Slide 1: Generation Adequacy Task Force Update to WMS
October 9, 2013

## Slide 2: October 7th GATF
GATF Meeting held on Monday, October 7, 2013. Items discussed were:
  New GATF Chair
  Status report on the update of the 2012 LOLE study based on revised load models
  Discussion on ELCC of wind
  Deep Dive review of ERCOT load forecasting methodology
Item on the GATF agenda that was not discussed: Economically optimal reserve margin.

## Slide 3: GATF Discussion
New GATF Chair – if confirmed by WMS, Brandon Whittle, Stratus Energy.
Status report on the 2012 LOLE study
  ERCOT Staff working with 2012 LOLE Study vendor, ECCO International Inc., to reevaluate the study with updated load information.
  ERCOT stated they will present the revised results once they have been thoroughly vetted internally.
  Goal is to have the study results presented to at least one group, probably TAC, prior to presenting them to the Board at the November meeting.
Discussion on ELCC of wind
  Wind effective capacity analysis is not consistent with peak hour availability of thermal resources.
  Wind ELCC results based on modeled wind output using 15 years of weather data.
  GATF has recommended a different method for calculating capacity in CDR for solar, hydro, and DC tie – 20 peak hours for the past 3 years.
  Should all intermittent renewables be handled the same?
  No decisions made at GATF. Topic to be continued and any new methodology will be incorporated later, not in December 2013 CDR.

## Slide 4: GATF Discussion
Deep Dive review of ERCOT load forecasting methodology
  Calvin Opheim reviewed the methodology changes being implemented by ERCOT to the long term load forecast. Presentation posted at the October 7th GATF meeting page.
  Major takeaways:
    ERCOT reviewing a move away from using some of the economic data (Moody’s)
    Historical values of economic data are subject to significant revision for two years. While values may seem small, relative impacts are significant. This compromises the accuracy of ERCOT’s model.
    ERCOT instead will be moving to neural networks. ERCOT can determine/account for variable interactions more robustly, compared to linear regression models.
    Historical energy relationships will now be based on premise counts by customer class (residential, commercial and industrial), not on non-farm employment values.
    Main benefit: Historical premise accounts will be very stable and will not be subject to the significant changes exhibited by non-farm employment revisions.
Economically optimal reserve margin.
  Did not discuss. Could be a topic at future meetings.

## Slide 5: Questions/Comments???