| NOGRR Number | 111 | NOGRR Title | Synchronization with NPRR527, Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis |
| --- | --- | --- | --- |

| Date | April 25, 2013 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Brenda Hampton |
| E-mail Address | Brenda.hampton@energyfutureholdings.com |
| Company | Luminant Generating Company LLC |
| Phone Number | 512-349-6416 |
| Cell Number | 314-809-7065 |
| Market Segment | Investor Owned Utility (IOU) |

Comments

Luminant Generation Company LLC (Luminant) offers the following comments regarding NOGRR111 section (2.2.8 (1)) on top of the April 8, 2013 Calpine comments.  Nuclear-fueled Generation Resources, such as Comanche Peak, have licensing agreements that govern operating requirements for their plant.  In accordance with its approved Nuclear Regulatory Commission (NRC) Operating License, Comanche Peak cannot be fully frequency responsive; therefore, the exception for nuclear-fueled Generation Resources should remain in effect. Further, Luminant has no concerns with removing the language related to limits related to duct burning capability for Combined-Cycle Generation Resources; however, there are other legitimate operating limits not explicitly called out in this Operating Guide language, as evidenced by the technical reference document developed for the Texas Reliability Entity (TRE) BAL-001-TRE-1 regional standard currently under development.  Therefore, the language related to “other limits filed with ERCOT” should be retained.

Revised Cover Page Language

| Reason for Revision | Removes the requirement for the submission of limits related to duct burning capacity on Combined Cycle Generation Resources due to the additional telemetry which will be provided via NPRR527. |
| --- | --- |

Revised Proposed Guide Language

- 2.2.8	Performance/Disturbance/Compliance Analysis

(1)	Performance/Disturbance/Compliance analysis shall be performed by ERCOT for the purpose of ensuring conformance with the Protocols.  All Generation Resources (except nuclear-powered Resources) must respond to frequency disturbances with a Governor droop of 5% or less unless operating within 2% of the Resource’s High Sustained Limit (HSL) or carrying spinning capability only comprised of non-frequency responsive power augmentation equipment or unless other limits have been filed with ERCOT.

(2)	ERCOT shall make a regular report on selected system disturbances, documenting the response of individual Generation Resources, together with a summary.  In addition, Resource Entities, QSEs, and individual members of the Performance Disturbance Compliance Working Group (PDCWG) are encouraged to work within their respective companies to enhance the performance of individual Generation Resource control systems through application of the results of the PDCWG studies.