## Slide 1: PLWG Report to ROS
October 10, 2013
John Moore, PLWG Chair

## Slide 2: Voting Item: PGRR030 New Planning Guide Section 8A, Declaration of Resource Data Accuracy
PLWG recommends support for PGRR030 as currently written with no additional edits:
  PLWG was directed to address the issue of how to include clarifying language regarding the definition of IE’s (Interconnecting Entities)
  PLWG recommends that the IE clarification be provided in NPRR567

## Slide 3: Voting Item: NPRR567 Stakeholder Review of Resource Registration Data Requirements
PLWG recommends support for NPRR567 with the addition of clarifying language defining the timeframe when a new resource entity is considered an IE.
  This additional language in the definition of IE provides the desired clarity to allow the current PGRR030 language to be found acceptable.

## Slide 4: Active PGRRs Under Consideration
PGRR028 “Evaluation of Compliance of Reactive Requirements”
  ERCOT presented revised language
  Will be reviewed for potential approval at Oct PLWG Mtg
PGRR031 “Implement 95% Facility Rating Limit in Planning Criteria”
  In-depth discussion at Sept PLWG Mtg
  Developed a consensus direction on how to assess the 95% criteria
  Final review and approval expected at Oct PLWG Mtg
PGRR032 “Stakeholder Review of Resource Registration Data Requirements”
  Language found acceptable
  Impact Analysis will be considered at Oct PLWG Mtg
PGRR034 “Asynchronous Tie Interconnection Policy”
  Initial review will be held at Oct PLWG Mtg

## Slide 5: OPSTF Issues Under Consideration
Issue 5C: Discreet Load Additions
  A recommendation will be considered that no further actions are needed to address consideration of discreet load additions within the current ERCOT transmission planning processes.
Issue 10: Security-constrained deliverability of ancillary services
  A subcommittee will report on their considerations of whether any additional actions are needed