| SCR Number | 774 | SCR Title | Enhancement to Outage Scheduler and Reports |
| --- | --- | --- | --- |

| Date | October 16, 2013 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Seth Cochran |
| E-mail Address | seth.cochran@dc-energy.com |
| Company | DC Energy Texas , LLC |
| Phone Number | 512-971-8767 |
| Cell Number |  |
| Market Segment | Independent Power Marketers |

Comments

DC Energy Texas, LLC supports enhanced transparency in the area of outage scheduling and proposes that the additional fields proposed for the Approved and Accepted Outage List are also applied to the Proposed Outage List, where applicable.  It is DC Energy’s understanding that this addition would not impose design changes for ERCOT or Transmission Service Providers (TSP) Outage scheduling processes.  As such, we view it as greatly improving visibility into the full outage set without having a material impact on cost.

Issue:

Limited visibility into reasons for/timing/changes of Outages in the Outage Scheduler.

Resolution Option 1:

Add the following fields to the Approved and Accepted Outage List and where applicable to the Proposed Outage List.

- Nature of Work – provide pull down menu with reason codes for Outages.  Company Full Name – clears up confusion on who submitted the Outage

- Normal State for breakers and switches – useful to distinguish between in/out status of equipment

- Breaker and switch Outage status - useful for distinguishing between in/out status of equipment

- TEID – useful for referencing back to the Common Information Model (CIM) posting

- Planned vs. Actual Start – calculated field showing the +/- deviation in Planned and Actual Start Date/Time

- Planned vs. Actual End-- calculated field showing the +/- deviation in Planned and Actual End Date/Time

- TSP/Resource Entity Notes – free form field for TSPs, or ERCOT on behalf of the Resource Entities, to include scheduling information

Add a Cancelled Outage Report

- This would include a reason the Outage was cancelled from a pull down menu

- Report would hold the cancelled Outage information for an undetermined amount of time (to be determined)—this is just looking for how long the report on cancelled outages should be kept on the MIS.

- Report would include a field that categorized the cancellation as “Before CRR”, “After CRR”, or “After DAM”.

Enhancement to Existing Withdrawn Outage Report

- ERCOT is the only Entity that can withdraw an Outage for reliability reasons.  So a reason code of “blank” would mean that ERCOT instructed the outage to be withdrawn.

- The daily report would include a field that categorized the withdrawal relative to CRR auctions and the close of the Day-Ahead Market as “Before Monthly CRR”, “After Monthly CRR”, or “After DAM.”

Resolution Option 2:

Add the following fields to the Approved and Accepted Outage List and where applicable to the Proposed Outage List.

- Nature of Work – provide pull down menu with reason codes for Outages.  Company Full Name – clears up confusion on who submitted the Outage

- Normal State for breakers and switches – useful to distinguish between in/out status of equipment

- Breaker and switch Outage status – useful for distinguishing between in/out status of equipment

- TEID – useful for referencing back to the Common Information Model (CIM) posting

- Planned vs. Actual Start – calculated field showing the +/- deviation in Planned and Actual Start Date/Time

- Planned vs. Actual End  – calculated field showing the +/- deviation in Planned and Actual End Date/Time

- Outage Delayed Field  – Provide pull down menu notes field in the Approved/Accepted list that allows the Transmission Service Provider (TSP) or ERCOT on behalf of a Resource Entity who has delayed their Outage 24 hours to provide their reason for delay justification

- TSP/Resource Entity Notes – free form field for TSPs, or ERCOT on behalf of the Resource Entities, to include scheduling information

Add a Cancelled Outage Report

- This would include a reason the Outage was cancelled from a pull down menu

- Report would hold the cancelled Outage information for an undetermined amount of time (to be determined)—this is just looking for how long the report on cancelled outages should be kept on the MIS.

- Report would include a field that categorized the cancellation as “Before CRR”, “After CRR”, or “After DAM”.

Enhancement to Existing Withdrawn Outage Report

- ERCOT is the only Entity that can withdraw an Outage for reliability reasons.  So a reason code of “blank” would mean that ERCOT instructed the outage to be withdrawn.

- The daily report would include a field that categorized the withdrawal relative to CRR auctions and the close of the Day-Ahead Market as “Before Monthly CRR”, “After Monthly CRR”, or “After DAM.”

Revised Business Case for Proposed System Change

None at this time.