Operations Working Group Meeting

Wednesday, 09/18/13

Austin - MET Center

In Attendance:

| Frank Owens – Cross Texas Transmission | Robert Avila - BPUB |
| --- | --- |
| Kevin Morley – CNP | Laura Zotter – Austin Energy |
| Hugo Mena – Electric Power Engineers, Inc. | David Penney – Texas RE |
| John Abel – ONCOR | Billy Reid – Austin Energy |
| Bob Temple - WETT | Chad Thompson – ERCOT |
| John Schmall – ERCOT Tip Tipton – Brazos Mike Swansey - EDPR | Camden White – ERCOT Walter Reid – Wind Coalition Joe Weatherly - ERCOT |
| Kelly Landry – ERCOT | Patrick Trevino – CPS Energy |
| Lauri White- AEP Texas Victor Vaughn – GP&L | John Warren - LCRA Curtis Graves – Austin Energy |

Dial-In Attendees:

| Randy Jones – Calpine Carrie Bivens - ERCOT Kelly Blackmer – ERCOT | Bill Blevins – ERCOT David Hastings – Power Marketer Tim McGinnis - ERCOT |
| --- | --- |

- Antitrust Admonition

Meeting opened at 9:30 with a review of the Antitrust Admonition by Frank Owens.

- ROS Meeting

No new assignments.

- August OWG Meeting Notes

Reviewed notes, minor changes identified.

- NOGRR Reviews

- 111 NOGRR Synchronization with NPRR527, Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis. This Nodal Operating Guide Revision Request (NOGRR) synchronizes the Nodal Operating Guide with NPRR527, Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis, requires Combined Cycle Generation Resources to telemeter individual High Sustainable Limits (HSLs) for gas and steam turbines.  The HSLs for combustion and steam turbines were previously submitted in zonal and ERCOT requests this practice be resumed in the nodal. [ERCOT].  Recommended approval as amended by 9/17/13 ERCOT comments and as revised by OWG, and forward the IA to ROS.

- 121NOGRR ERCOT Operator Certification Program and ERCOT Fundamentals Manual.  This Nodal Operating Guide Revision Request (NOGRR) describes ERCOT’s responsibilities with respect to the ERCOT operator certification program and ERCOT Fundamentals Manual.  Recommended approval as amended by the 8/23/13 ERCOT comments.

- 122NOGRR CRR Network Model Clarification for Accepted Outages. This Nodal Operating Guide Revision Request (NOGRR) aligns the Operating Guides with current practice by clarifying that “approved” as well as “accepted” Transmission Outages in the Outage Scheduler are utilized in ERCOT’s Congestion Revenue Rights (CRR) Auction at the time of building the CRR Network Model. Recommended approval as submitted.

- 123NOGRR Revisions to Misoperations Reporting Requirements.  This Nodal Operating Guide Revision Request (NOGRR) clarifies the reporting requirements for misoperations to ERCOT and Texas Reliability Entity (Texas RE).  Recommended approval as revised by OWG.

- 124NOGGR Additional VRT Requirement for IRRs. This Nodal Operating Guide Revision Request (NOGRR) specifies new high Voltage Ride-Through (VRT) requirements for Intermittent Renewable Resources (IRRs) and prohibits IRRs from tripping for events that are less severe than the defined thresholds and occur for shorter time durations.  Tabled until the next regular OWG meeting.

- NPRR556 Resource Adequacy during Transmission Equipment Outage.  This Nodal Protocol Revision Request (NPRR) adds a requirement for the Network Operations Model so that Resources that are being served by temporary equipment can participate in the ERCOT market as in normal operations.  Endorsed the concept of NPRR556 and deferred to NDSWG on its implementation.

- Monthly Operations Report

Reviewed the report; comments/questions were answered by ERCOT personnel.

Bill Blevins gave an update on the status of the VSS tool.

- Operations Task Force

No report.

- Texas RE Update Report

David Penney gave a presentation that outlined the South Texas load loss that occurred in August.

- System Operations Report

No report

- Seminar Task Force Report

No update

- Other

Group discussed a possible joint workshop with QMWG to occur twice a year.

- Future Meeting Date

Wednesday October 16th, 2013