| NPRR Number | 541 | NPRR Title | SPS and RAP Modeling Clarification |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | October 17, 2013 |  |  |
| Proposed Effective Date |  | January 1, 2014 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Protocol Section Requiring Revision |  | 3.10.7.4, Definition of Special Protection Systems and Remedial Action Plans |  |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) clarifies that ERCOT models all new Special Protection Systems (SPSs) and Remedial Action Plans (RAPs) and all changes to SPSs and RAPs via the Network Operations Model Change Request (NOMCR) process. |  |  |
| Reason for Revision |  | To provide clarity regarding actions ERCOT will take upon approval of SPSs or RAPs. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR541 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 4/29/13, NPRR541 and an Impact Analysis were posted. - On 5/16/13, PRS considered NPRR541. - On 6/14/13, CenterPoint Energy comments were posted. - On 6/17/13, ROS comments were posted. - On 7/2/13, Operations Working Group (OWG) comments were posted. - On 7/10/13, ERCOT comments were posted. - On 7/11/13, WMS comments were posted. - On 7/15/13, a second set of ROS comments were posted. - On 7/22/13, a second set of OWG comments were posted. - On 8/19/13, a third set of ROS comments were posted. - On 9/9/13, Constraint Management Plan Revision Request Workshop comments were posted. - On 9/16/13, a fourth set of ROS comments were posted. - On 9/19/13, PRS again considered NPRR541. - On 10/17/13, PRS considered the 9/19/13 PRS Report and Impact Analysis for NPRR541. |  |  |
| PRS Decision |  | On 5/16/13, PRS unanimously voted to table NPRR541 and refer the issue to WMS and ROS. All Market Segments were present for the votes. On 9/19/13, PRS voted to recommend approval of NPRR541 as amended by the 7/22/13 OWG comments and as revised by PRS. There were two abstentions from the Independent Generator and Consumer Market Segments. All Market Segments were present for the vote. On 10/17/13, PRS unanimously voted to endorse and forward the 9/19/13 PRS Report and the Impact Analysis for NPRR541 to TAC. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 5/16/13, Market Participants discussed the need for NPRR541 to be vetted by the Congestion Management Working Group (CMWG) and requested that NPRR541 be reviewed in conjunction with NPRR528, Clarification of Assessment of Chronic Congestion, and NPRR529, Congestion Management Plan. Market Participants identified specific concerns related to the definition of “facility owner” and how affected facility owners are to ensure that all SPSs and RAPs are accurately modeled when the owner of the facility is submitting the request. On 9/19/13, Market Participants reviewed suggested administrative revisions to NPRR541. On 10/17/13, there was no discussion. |  |  |

| Business Case |  |  |
| --- | --- | --- |
|  | 1 | - This NPRR provides clarity to the Protocols regarding ERCOT’s responsibilities related to SPSs and RAPs. |

| Sponsor |  |
| --- | --- |
| Name | Isabel Flores |
| E-mail Address | iflores@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6531 |
| Cell Number | 512-565-9117 |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Kelly Landry |
| E-Mail Address | klandry@ercot.com |
| Phone Number | 512-248-4630 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| CenterPoint Energy 061413 | Proposed edits to require Market Notices be issued whenever new or modified Congestion Management Plans are issued, and provided a citation for the requirement that ERCOT comply with the SPS Review and Distribution Operations Support Procedure dated December 1, 2010. |
| ROS 061713 | Endorsed NPRR541 as submitted. |
| OWG 070213 | Endorsed NPRR541 as amended by the 6/14/13 CenterPoint Energy comments and as revised by OWG. |
| ERCOT 071013 | Proposed revisions to clarify the review and market notification processes for SPSs and RAPs and additional minor revisions. |
| WMS 071113 | Endorsed NPRR541 as amended by the 7/2/13 OWG comments. |
| ROS 071513 | Recommended PRS table NPRR541 to allow time for the OWG to review and provide a response at the August ROS meeting. |
| OWG 072213 | Endorsed NPRR541 as amended by the 7/10/13 ERCOT comments and as revised by OWG. |
| ROS 081913 | Recommended PRS table NPRR541 until after the September 3, 2013 Constraint Management Plan Revision Requests Workshop. |
| Constraint Management Plan Revision Request Workshop 090913 | Endorsed NPRR541 as amended by the 7/22/13 OWG comments. |
| ROS 091613 | Endorsed NPRR541 as amended by the 9/9/13 Constraint Management Plan Revision Request comments. |

Comments

Please note that NPRR529 also proposes revisions to Section 3.10.7.4.

Revised Proposed Protocol Language

3.10.7.4	Special Protection Systems and Remedial Action Plans

(1)	All approved Special Protection Systems (SPSs) and Remedial Action Plans (RAPs) must be defined in the Network Operations Model.

(2)	Proposed new SPSs and RAPs and proposed changes to SPSs and RAPs must be submitted to ERCOT for review and approval.  ERCOT shall seek input from TSPs and Resource Entities that own Transmission Facilities included in the SPSs or RAPs, and shall approve proposed new SPSs and RAPs and proposed changes to SPSs and RAPs in accordance with the process outlined in the Operating Guides.  This shall include verification of the Network Operations Model.  ERCOT shall provide notification to the market and post all SPSs and RAPs under consideration on the MIS Secure Area within five Business Days of receipt.

(3)	ERCOT shall model approved SPSs and RAPs using a NOMCR and include the SPSs or RAPs in the security analysis.  The NOMCR shall include a detailed description of the system conditions required to implement the SPSs or RAPs.  Execution of SPSs or RAPs shall be included or assumed in the calculation of LMPs as well as the Network Operations Model.  ERCOT shall provide notification to the market and post on the MIS Secure Area all approved SPSs and RAPs at least two Business Days before implementation, identifying the date of implementation.  For RAPs developed in Real-Time, ERCOT shall provide notification to the market as soon as practicable.