| - Emerging Technologies Working Group (ETWG) Meeting |  |
| --- | --- |

| October 29, 2013 9:30 AM - 3:30 PM | RSVP: -- |
| --- | --- |
| ERCOT Austin Room 206B 7620 Metro Center Dr. Austin, TX 78744 | WebEx Conference Teleconference: 1-877-668-4493 Meeting number: 652 990 667 Meeting password: Etwg123 |

- Agenda

| 1. | Antitrust Admonition | C. Blevins | 9:30 a.m. |
| --- | --- | --- | --- |
| 2. | Election of Chair and Vice Chair | C. Blevins | 9:32 a.m. |
| 3. | Update on Board, TAC, & WMS | C. Blevins | 9:35 a.m. |
| 4. | FRRS Pilot Update | K. Ragsdale | 9:45 a.m. |
| 5. | Photovoltaic Generation Resource NPRR concept | C. Blevins | 10:15 a.m. |
| 6. | Future agenda items / next meetings | C. Blevins | 11:15 a.m. |
| 7. | Adjourn | C. Blevins | 11:30 a.m. |

# Antitrust Admonition

| C. Blevins | 9:30 a.m. |
| --- | --- |

Antitrust Admonition

ERCOT strictly prohibits Market Participants and their employees who are participating in ERCOT activities from using their participation in ERCOT activities as a forum for engaging in practices or communications that violate the antitrust laws. The ERCOT Board has approved guidelines for members of ERCOT Committees, Subcommittees and Working Groups to be reviewed and followed by each Market Participant attending ERCOT meetings. If you have not received a copy of these Guidelines, copies are available at the Client Relations desk. Please remember your ongoing obligation to comply with all applicable laws, including the antitrust laws.

Disclaimer

All presentations and materials submitted by Market Participants or any other Entity to ERCOT staff for this meeting are received and posted with the acknowledgement that the information will be considered public in accordance with the ERCOT Websites Content Management Operating Procedure.

# Election of Chair and Vice Chair

| C. Blevins | 9:32 a.m. |
| --- | --- |

## Results:

#### Chair: Chad Blevins

#### Vice Chair: Hugo Mena, P.E.

# Update on Board, TAC, & WMS

| C. Blevins | 9:35 a.m. |
| --- | --- |

The last ETWG Meeting was on May 28th.

“… a few things have happened…”

## September 17th Board Meeting

Agenda: http://www.ercot.com/calendar/2013/09/20130917-BOD

NPRR 539, Amend Wholesale Storage Load Definition: PASSED

“This Nodal Protocol Revision Request (NPRR) adds thermal energy storage associated with turbine inlet chilling to the list of technologies eligible for Wholesale Storage Load (WSL) Settlement treatment.  At its April 12, 2013 meeting, WMS endorsed this NPRR and directed Emerging Technologies Working Group (ETWG) to file it.”

## October 3rd TAC Meeting

Agenda: http://www.ercot.com/calendar/2013/10/20131003-TAC

Revised TAC Procedures (Planned Vote @ Next TAC): WGs and TFs will need approval to file NPRRs.

## October 9th WMS Meeting

Agenda: http://www.ercot.com/calendar/2013/10/20131009-WMS

No action on ETWG items.

GATF discussion on the ELCC of wind methodology: Should it be aligned with PV & Hydro?

## October 17th PRS Meeting

Agenda: http://www.ercot.com/calendar/2013/10/20131017-PRS

NPRR 560, Caps and Floors for Energy Storage Resources: TABLED, pending IA review

“This Nodal Protocol Revision Request (NPRR) creates a definition of Energy Storage Resource and specifies values for the various caps and floors used in the mitigation and make-whole calculation processes for such Resources.”

# FRRS Pilot Update

| K. Ragsdale | 9:45 a.m. |
| --- | --- |

#### See: http://www.ercot.com/mktrules/pilots/frrs/index

Discussion topics:

Mobile Fleet storage participation; and

Looking beyond the February end of the Pilot Project.

# Photovoltaic Generation Resource NPRR concept

| C. Blevins | 10:15 a.m. |
| --- | --- |

## Need for Action

#### 3.13: “As Needed”

3.13  Renewable Production Potential Forecasts

(1)  ERCOT shall produce forecasts of Renewable Production Potential (RPP) for Wind powered Generation Resources (WGRs) to be used as an input into the Day-Ahead Reliability Unit Commitment (DRUC) and Hour-Ahead Reliability Unit Commitment (HRUC). ERCOT shall produce the forecasts using information provided by WGR Entities, meteorological information, and Supervisory Control and Data Acquisition (SCADA). WGR Entities shall install telemetry at their WGRs and transmit the ERCOT specified site-specific meteorological information to ERCOT. WGR Entities shall also provide detailed equipment status at the WGR facility as specified by ERCOT to support the RPP forecast. ERCOT shall post forecasts for each WGR to the Qualified Scheduling

Entities (QSEs) representing WGRs on the Market Information System (MIS) Certified Area. QSEs shall use the ERCOT-provided forecasts for WGRs throughout the Day Ahead and Operating Day for applicable markets and Reliability Unit Commitments (RUCs). Similar requirements for solar power and run-of-the-river hydro must be developed as needed.

#### MWs in Queue

From the latest System Planning Monthly Status Report:

1.3 Summary of Generation Interconnection Requests

Confidential Projects: 331 MWs

Projects Under Full Study: 1,152 MWs

Public Projects: 150 MWs

Grand Total: 1,633 MWs

Storage Comparison: 914 MWs

1.4 Projects with Interconnection Agreements

OCI Alamo 1: 50 MWs

White Camp Solar: 100 MWs

1.6 Generation Projects Undergoing Full Interconnection Studies

(commercial operation by 2015)

Val Verde County: 100 MWs

Kinney County: 42 MWs

Pecos County: 50 MWs

Uvalde County: 42 MWs

Deaf Smith County: 80 MWs

Travis County: 30 MWs

Ector County: 57 MWs

Sterling County: 40 MWs

Reeves County: 100 MWs

Brewster County: 100 MWs

Uvalde County: 105 MWs

Presidio County: 75 MWs

Presidio County: 30 MWs

Pecos County: 51 MWs

Andrews County: 30 MWs

Nolan County: 20 MWs

Webb and Duval Counties: 200 MWs

Also just announced:

October 21, 2013

Austin Energy Seeks Solar Addition

Austin Energy is issuing a Request for Proposals (RFP) for up to 50 megawatts (MW) of solar energy.

http://www.austinenergy.com/About%20Us/Newsroom/Press%20Releases/2013/solarRFPs.htm

## Point of Reference: WGRs

In the October 21st Nodal Protocols document (including gray boxes – so, some extras), there are:

226 references to WGR;

88 references to IRR;

123 references to wind;

9 references to “non-wind”;

12 references to PV; and

4 references to solar

## Where to Revise: Follow the Wind

Protocol references to WGR, as well as to “non-wind,” provide an indication to where references to IRR or PV Generation Resource (PVGR) may be necessary.

For example:

3.2.5  Publication of Resource and Load Information

(1)(a) An aggregate energy supply curve based on non-wind Generation Resources with Energy Offer Curves that are available to SCED. The energy supply curves will be calculated beginning at the sum of the Low Sustained Limits (LSLs) and ending at the sum of the HSLs for non-wind Generation Resources with Energy Offer Curves, with the dispatch for each Generation Resource constrained between the Generation Resource’s LSL and HSL. The result will represent the ERCOT System energy supply curve economic dispatch of the non-wind Generation Resources with Energy Offer Curves at various pricing points, not taking into consideration any physical limitations of the ERCOT System;

8.1.1.2  General Capacity Testing Requirements

(3)  ERCOT may test multiple Generation Resources within a single QSE within a single 24-hour period. However, in no case shall ERCOT test more than two Generation Resources within one QSE simultaneously. All Resources On-Line in a Combined-Cycle

Configuration will be measured on an aggregate capacity basis. All QSEs associated with a jointly owned unit will be tested simultaneously. Hydro and wind generation will be excluded from unannounced generation capacity testing. ERCOT shall not perform an unannounced Generation Resource test during a Watch or Energy Emergency Alert (EEA) event. If an unannounced Generation Resource test is underway when a Watch or EEA event commences, ERCOT may cancel the test.

## Plan for Action

#### Identify “Soft-Ball” Revisions and put those forward 1st

Rather than pushing forward a “PV omnibus NPRR,” I suggest we move forward initially with clarifying Revisions that are least likely to present a significant cost or time impact for implementation.

#### Proposed “Soft-Ball” Revisions

- Section 2 (Definitions): adding PV Generation Resource, and PV Generation Resource Group; Amending Forced Derate;

- Section 3.2.5(1)(a) (Publication of Resource and Load Information): changing “non-wind” to “non-IRR”;

- Sections 3.9.1(7) and (8) (Current Operating Plan (COP) Criteria): provide a PVGR equivalent regarding setting HSL in COP to your “best estimate;”

- Section 3.10.7.2(9/10) (Modeling of Resources and Transmission Loads): adding a PVGR equivalent regarding the aggregation of PV equipment connected to the same Electrical Bus at the Point of Interconnection;

- Sections 4.4.9.2.3(1) and (2) (Startup Offer and Minimum-Energy Offer Generic Caps): Enumerating the caps for PV Generation Resources;

- Section 6.5.5.2(3) (Operational Data Requirements): PVGR equivalent for "QSE shall set the HSL equal "; and

- Section 8.1.1.2(3) (General Capacity Testing Requirements): Extending the exemption from unannounced testing to "IRRs".

#### ERCOT Stakeholder Process

- Put this forward at the November 13th WMS meeting, and ask that they vote for ETWG file draft language that addresses the “round 1” PhotoVoltaic Generation Resource revisions.

- File ETWG consensus document.

- Request PRS to vote for IA.

- …

# Future agenda items / next meetings

| C. Blevins | 11:15 a.m. |
| --- | --- |

## Known items:

PVGR NPRR continued discussion and drafting

## Other:

FRRS – How do we plan around the currently scheduled end of the Pilot in February 2014?

## Future Meetings:

November 25th

December 20th

# Adjourn

| C. Blevins | 11:30 a.m. |
| --- | --- |