# ERCOT STEADY STATE WORKING GROUP (SSWG)

## November 14, 2013 Report to ROS

### SSWG has met once since the September ROS meeting.

### 14DSA TPIT Updates

  - Were posted on ERCOT POI site on 10/15.

### 14 Data Set B Case Build

- Were posted on ERCOT POI site on 10/15.  The HWLL case, which has required more time to develop, will be posted on 11/15.

- Extraordinary dispatch per the SSWG Procedure Manual Section 4.3.3.1 was used as follows to complete the 14DSB cases:

  - 15SUM1: Step 1 was employed

  - 16SUM1:  Steps 1 through 3 were employed.

  - 17MIN: No extraordinary dispatch was required.

  - 17SUM1: Steps 1 through 5 were employed.

  - 18SUM: Steps 1 through 5 were employed.

  - 19SUM1: Steps 1 through 5 were employed.

  - 20SUM1: Steps 1 through 5 were employed.

### SSWG Procedure Manual Revision

- Working on revisions to incorporate future year High Wind/Low Load case build process.

Julius Horvath	Basileo Rocha

2013 SSWG Chair	2013 SSWG Vice-Chair