| NPRR Number | 540 | NPRR Title | Clarification of Credible Single Contingency |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | November 7, 2013 |  |  |
| Proposed Effective Date |  | January 1, 2014 |  |  |
| Priority and Rank Assigned |  | Not applicable |  |  |
| Nodal Protocol Sections Requiring Revision |  | 2.1, Definitions 6.5.7.1.10, Network Security Analysis Processor and Security Violation Alarm 6.5.9.3.2, Advisory 6.5.9.3.4, Emergency Notice |  |  |
| Nodal Operating Guide Sections Requiring Revision |  | 2.2.2, Security Criteria 2.7.2, Maintaining Voltage Profile 4.3, Operation to Maintain Transmission System Security 4.3.2, Real-Time and Short Term Planning 6.2.2, Design and Operating Requirements for ERCOT System Facilities |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) revises the use of Credible Single Contingency to align with actual practice. |  |  |
| Reason for Revision |  | This NPRR is in response to the 9/13/12 ROS directive to the Network Data Support Working Group (NDSWG) and the Operations Working Group (OWG) to accurately define the term Credible Single Contingency. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR540 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 4/26/13, NPRR540 was posted. - On 5/16/13, PRS considered NPRR540. - On 6/11/13, ERCOT comments were posted. - On 6/11/13, a second set of ERCOT comments were posted. - On 6/13/13, CenterPoint Energy comments were posted. - On 7/2/13, OWG comments were posted. - On 7/10/13, a third set of ERCOT comments were posted. - On 7/11/13, WMS comments were posted. - On 7/15/13, ROS comments were posted. - On 7/18/13, PRS again considered NPRR540. - On 8/7/13, an Impact Analysis was posted. - On 8/9/13, a fourth set of ERCOT comments were posted. - On 8/12/13, a fifth set of ERCOT comments were posted. - On 8/13/13, a second set of CenterPoint Energy comments were posted. - On 8/19/13, a second set of ROS comments were posted. - On 8/22/13, PRS considered the 7/18/13 PRS Report and Impact Analysis for NPRR540. - On 9/9/13, Constraint Management Plan Revision Request Workshop comments were posted. - On 9/16/13, a third set of ROS comments were posted. - On 9/19/13, PRS again considered the 7/18/13 PRS Report and Impact Analysis for NPRR540. - On 10/17/13, PRS again considered the 7/18/13 PRS Report and Impact Analysis for NPRR540. - On 11/7/13, TAC considered NPRR540. |  |  |
| PRS Decision |  | On 5/16/13, PRS unanimously voted to table NPRR540. All Market Segments were present for the vote. On 7/18/13, PRS voted to recommend approval of NPRR540 as amended by the 7/10/13 ERCOT comments and as revised by PRS. There were three opposing votes from the Independent Generator (2) and Independent Power Marketer (IPM) Market Segments, and one abstention from the Independent Retail Electric Provider (IREP) Market Segment. All Market Segments were present for the vote. On 8/22/13, PRS voted unanimously to table NPRR540. All Market Segments were present for the vote. On 9/19/13, PRS unanimously voted to table NPRR540 for one month. All Market Segments were present for the vote. On 10/17/13, PRS unanimously voted to endorse and forward the 7/18/13 PRS Report and the Impact Analysis for NPRR540 to TAC. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 5/16/13, Market Participants discussed the need for NPRR540 to be vetted in conjunction with NPRR528, Clarification of Assessment of Chronic Congestion, and NPRR529, Congestion Management Plan. On 7/18/13, Market Participants discussed how NPRR540 would potentially change how ERCOT addresses congestion as it relates to double-circuits. ERCOT Staff noted that there would be no practical changes to ERCOT’s current practice. On 8/22/13, it was noted that ERCOT will host a workshop on 9/3/13 where NPRR540 and related revision requests NPRR528, NPRR529, NPRR541, SPS and RAP Modeling Clarification, NPRR542, Clarification of the Use of Emergency Condition, NOGRR109, Revisions to Definition of Credible Single Contingency for Operations Planning, NOGRR114, Synchronization with NPRR540, Clarification of Credible Single Contingency, and NOGRR116, Synchronization with NPRR542, Clarification of the Use of Emergency Condition will be discussed. On 9/19/13, Market Participants discussed the need for NPRR540 to move through the stakeholder process in conjunction with other revision requests that were part of the Constraint Management Plan Revision Request Workshop. On 10/17/13, there was no discussion. |  |  |
| TAC Decision |  | On 11/7/13, TAC voted to recommend approval of NPRR540 as recommended by PRS in the 10/17/13 PRS Report. There were two abstentions from the IPM and Independent Generator Market Segments. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 11/7/13, there was no discussion. |  |  |
| ERCOT Opinion |  | ERCOT supports approval of NPRR540 as it provides clarity by aligning the Protocols with current practice regarding a Credible Single Contingency. |  |  |

| Business Case |  |  |
| --- | --- | --- |
|  | 1 | - Aligns the Protocols with actual practice. |

| Sponsor |  |
| --- | --- |
| Name | Frank Owens on behalf of OWG |
| E-mail Address | fowens@crosstexas.com |
| Company | Cross Texas Transmission LLC |
| Phone Number | 512-276-6122 |
| Cell Number | 512-348-3294 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Kelly Landry |
| E-Mail Address | klandry@ercot.com |
| Phone Number | 512-248-4630 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ERCOT 061113 | Proposed revisions to the definition of Reliability Must Run (RMR) Unit. |
| ERCOT 061113 | Proposed revisions to the definition of RMR Unit. |
| CenterPoint Energy 061313 | Recommended that proposed deletions in Section 6.5.7.1.10 not be made unless they are relocated to either the Operating Guides or another portion of the Protocols. |
| OWG 070213 | Endorsed NPRR540 as amended by the 6/13/13 CenterPoint Energy comments, and as revised by OWG. |
| ERCOT 071013 | Proposed non-substantive revisions. |
| WMS 071113 | Endorsed NPRR540 as amended by the 7/2/13 OWG comments. |
| ROS 071513 | Endorsed NPRR540 as amended by the 7/10/13 ERCOT comments. |
| ERCOT 080913 | Provided additional revisions to clarify the definition of Credible Single Contingency. |
| ERCOT 081213 | Noted that if approved as revised by the 8/9/13 ERCOT comments, NPRR540 remains without impacts as noted in the 8/7/13 Impact Analysis. |
| CenterPoint Energy 081313 | Provided additional revisions relating to Combined Cycle Trains to clarify the definition of Credible Single Contingency. |
| ROS 081913 | Recommended that PRS table NPRR540 until after the 9/3/13 Constraint Management Plan Revision Request Workshop. |
| Constraint Management Plan Revision Request Workshop 090913 | Endorsed NPRR540 as amended by the 8/13/13 CenterPoint Energy comments and as revised by the workshop. |
| ROS 091613 | Endorsed NPRR540 as amended by the 9/9/13 Constraint Management Plan Revision Request Workshop comments. |

Comments

Please note that the following NPRRs also propose revisions to the following sections:

- NPRR529

  - Section 6.5.7.1.10

- NPRR542

  - Section 6.5.9.3.2

  - Section 6.5.9.3.4

Please also note that the baseline Protocol language in Section 6.5.7.1.10 has been updated due to the unboxing of NPRR393, SCED Constraint Management Transparency, on October 7, 2013.

Proposed Protocol Language Revision

## 2.1	DEFINITIONS

Credible Single Contingency

(1)	A single facility, comprised of transmission line, auto transformer, or other associated pieces of equipment.  This includes multiple equipment Outaged or interrupted during a single fault (single fault multiple element).

(2)	The Forced Outage of a double-circuit transmission line in excess of 0.5 miles in length will always be considered a Credible Single Contingency for all security constrained unit commitment and energy deployment decisions.

(3)	Any Generation Resource:

(a)	A combined-cycle facility shall be considered a single Generation Resource; or

(b)	Each unit of a combined-cycle facility will be considered a single Generation Resource if the combustion turbine and the steam turbine can operate separately, as stated in the Resource registration information on the Market Information System (MIS) Public Area.

(4)	With any single Generation Resource unavailable, and with any other generation preemptively re-Dispatched, the contingency loss of a single facility, comprised of transmission line, auto transformer, or other associated pieces of equipment (either without a fault or subsequent to a normally-cleared non-three-phase fault) with all other facilities normal should not cause the following:

(a) 	Cascading or uncontrolled Outages;

(b)	Instability of Generation Resources at multiple plant locations; or

(c) 	Interruption of service to firm demand or generation other than that isolated by the Transmission Facility, following the execution of all automatic operating actions such as relaying and Special Protection Systems (SPSs).

Furthermore, the loss should result in no damage to or failure of equipment and, following the execution of specific non-automatic predefined operator-directed actions (i.e., RAPs) such as generation schedule changes or curtailment of interruptible Load, should not result in applicable voltage or thermal Ratings being exceeded.

(5)	For transmission planning purposes, contingencies are defined in the Planning Guide.

Reliability Must-Run (RMR) Unit

A Generation Resource operated under the terms of an Agreement with ERCOT that would not otherwise be operated except that it is necessary to provide voltage support, stability or management of localized transmission constraints under Credible Single Contingency criteria where market solutions do not exist.

Synchronous Condenser Unit

A unit operated under the terms of an annual Agreement with ERCOT that is only capable of supplying Volt-Amperes reactive (VArs) that would not otherwise be operated except as necessary to provide voltage support under Credible Single Contingency criteria.

6.5.7.1.10	Network Security Analysis Processor and Security Violation Alarm

(1)	Using the input provided by the State Estimator, ERCOT shall use the NSA processor to perform analysis of all contingencies remaining in the active list.  For each contingency, ERCOT shall use the NSA processor to monitor the elements for limit violations.  ERCOT shall use the NSA processor to verify Electrical Bus voltage limits to be within a percentage tolerance as outlined in the ERCOT Operating Guides.   Contingency security violations for transmission lines and transformers occur if:

(a)	The predicted post contingency MVA exceeds 100% of the Emergency Rating after adjustments for Real Time weather conditions applicable to the contingency are incorporated; and

(b)	An RAP or SPS is not defined allowing relief within the time allowed by the security criteria.

(2)	When the NSA processor notifies ERCOT of a security violation, ERCOT shall immediately:

(a)	Initiate the process described in Section 6.5.7.1.11, Transmission Network and Power Balance Constraint Management;

(b)	Seek to determine what unforeseen change in system condition has arisen that has resulted in the security violation, especially those that were 125% or greater of the Emergency Rating for a single SCED interval or greater than 100% of the Emergency Rating for a duration of 30 minutes or more; and

(c)	Where possible, seek to reverse the action (e.g. initiating a transmission clearance that the system was not properly pre-dispatched for) that has led to a security violation until further preventative action(s) can be taken.

(3)	If the SCED does not resolve an insecure state, ERCOT shall attempt to relieve the insecure state by:

(a)	Confirming that pre-determined relevant RAPs are properly modeled in the system;

(b)	Re-Dispatching generation through the mechanism of over-riding HDLs and LDLs to provide more capacity to SCED;

(c)	After declaring a Watch, as appropriate, manual Dispatch of generation;

(d)	Removing non-cascading contingency overload/constraints from the SCED process; and

(e)	If all other mechanisms have failed, ERCOT may authorize the use of a Mitigation Action Plan (MAP) previously reviewed by the appropriate TSP or DSP.  An MAP is a set of pre-defined actions taken beyond normal RAPs under emergency circumstances to relieve transmission security violations.

(4)	NSA must be capable of analyzing contingencies, including the effects of automatically deployed SPSs and RAPs.  The NSA must fully integrate into the evaluation and deployment of these SPSs and RAPs and notify the ERCOT Operator of the application of these SPSs and RAPs to the solution.

(5)	The Real-Time NSA may employ the use of appropriate ranking and other screening techniques to further reduce computation time by executing one or two iterations of the contingency study to gauge its impact and discard further study if the estimated result is inconsequential.

(6)	ERCOT shall report monthly:

(a)	All security violations that were 125% or greater of the Emergency Rating for a single SCED interval or greater than 100% of the Emergency Rating for a duration of 30 minutes or more during the prior reporting month and the number of occurrences and congestion cost associated with each of the constraints causing the security violations on a rolling 12 month basis.

(b)	Operating conditions on the ERCOT System that contributed to each securityviolation reported in paragraph (6)(a) above.  Analysis should be made to understand the root cause and what steps could be taken to avoid a recurrence in the future.

6.5.9.3.2	Advisory

(1)	An Advisory is the second of four possible levels of communication issued by ERCOT in anticipation of a possible Emergency Condition.

(2)	ERCOT shall issue an Advisory for the following reasons:

(a)	When it recognizes that conditions are developing or have changed and more Ancillary Services will be needed to maintain current or near-term operating reliability;

(b)	When weather or ERCOT System conditions require more lead-time than the normal Day-Ahead Market (DAM) allows;

(c)	When communications or other controls are significantly limited; or

(d)	When ERCOT Transmission Grid conditions are such that operations within security criteria as defined in the Operating Guides are not likely or possible because of Forced Outages or other conditions.

(3)	The Advisory must communicate existing constraints.  ERCOT shall notify TSPs and QSEs of the Advisory, and QSEs shall notify appropriate Resources and Load Serving Entities (LSEs).  ERCOT shall communicate with TSPs as needed to confirm their understanding of the condition and to determine the availability of Transmission Facilities.  For the purposes of verifying submitted information, ERCOT may communicate with QSEs.

(4)	Although an Advisory is for information purposes, ERCOT may exercise its authority, in such circumstances, to increase Ancillary Service requirements above the quantities originally specified in the Day-Ahead in accordance with procedures.  ERCOT may require information from QSEs representing Resources regarding the Resources’ fuel capabilities.  Requests for this type of information shall be for a time period of no more than seven days from the date of the request.  The specific information that may be requested shall be defined in the Operating Guide.  QSEs representing Resources shall provide the requested information in a timely manner, as defined by ERCOT at the time of the request.

6.5.9.3.4	Emergency Notice

(1)	Emergency Notice is the fourth of four possible levels of communication issued by ERCOT in anticipation of a possible Emergency Condition.

(2)	ERCOT shall issue an Emergency Notice only for one or more of the following reasons:

(a)	ERCOT cannot maintain minimum reliability standards (for reasons including fuel shortages) during the Operating Period using every Resource practicably obtainable from the market;

(b)	ERCOT is in an unreliable condition, as defined below;

(c)	Immediate action must be taken to avoid or relieve an overloaded Transmission Element;

(d)	ERCOT varies from timing requirements or omits one or more Day-Ahead or Adjustment Period and Real-Time procedures;

(e)	ERCOT varies from timing requirements or omits one or more scheduling procedures in the Real-Time process; or

(f)	The SCED process fails to reach a solution, whether or not ERCOT is using one or both of the measures specified in paragraph (3) of Section 6.5.9.2, Failure of the SCED Process.

(3)	The actions ERCOT takes during an Emergency Condition depend on the nature and severity of the situation.

(4)	ERCOT is considered to be in an unreliable condition whenever ERCOT Transmission Grid status is such that the most severe single contingency event presents the threat of uncontrolled separation or cascading Outages and/or large-scale service disruption to Load (other than Load being served from a radial transmission line) and/or overload of a criticalTransmission Element, and no timely solution is obtainable through market processes.

(5)	If the Emergency Condition is the result of a transmission problem that puts the ERCOT System in an unreliable condition, then ERCOT shall act immediately to return the ERCOT System to a reliable condition, including instructing Resources to change output, curtailing DC Tie Load and instructing TSPs or DSPs to drop Load.

(6)	If the Emergency Condition is the result of an Ancillary Service insufficiency, then ERCOT shall follow the EEA procedures.