## Slide 1
Application of Notrees Windpower, L.P. for Permanent Exemption from EPS Metering Protocols
Presented to the ERCOT
Technical Advisory Committee
November 7, 2013
Mark Bruce, Principal
Stratus Energy Group
on behalf of Duke Energy

## Slide 2: Notrees Wind Farm
Owned and operated by Duke Energy Renewables
Located in Ector and Winkler Counties in West Texas
156 MW nameplate wind generation capacity

## Slide 3: Notrees Battery Project
Developed by Duke Energy and Xtreme Power
36 MW / 24 MWh output
Modules housed in 20,000 sq. ft. building
Construction began Oct. 2011
Commercial operations began Dec. 2012

## Slide 4: Timeline
Notrees awarded ARRA funding
2011
2010
2012
2013
Initial system design
Final system design
Begin construction
PUCT P. 39657 Approved
ERCOT energy storage workshop
PUCT P. 39917 Approved
NPRR 461 filed
NPRR 461 approved
Begin commercial operation
PIR 003 issued
Construction complete
Unit testing & commissioning
SB 943 enrolled
NPRR 461 implemented

## Slide 5: ERCOT Dec. 11 Storage Workshop

## Slide 6: Notrees proposed metering design

## Slide 7: Notrees equipment schematic

## Slide 8: Notrees Temporary Metering Design
Detailed metering design work with ERCOT began in April 2011.
Notrees and Oncor have operated under an ERCOT-approved temporary metering design since December 2012.
Permanent exemption will allow continued use of approved temporary design with telemetered values for loads to be excluded from Wholesale Storage Load calculation in accordance with PIR 003.

## Slide 9: Protocols allow exemptions
10.14.1 Authority to Grant Exemptions
ERCOT may grant on a case by case basis, exemptions from compliance on a temporary basis until new arrangements can be completed in accordance with the guidelines as listed below. Any permanent exemption to this Section requires approval by the Technical Advisory Committee (TAC) and the ERCOT Board. Any permanent exemption shall be subject to periodic review and revocation by the ERCOT Board.

## Slide 10: Duke Energy request
Duke Energy respectfully requests TAC approve its application for permanent exemption from compliance with metering design Protocols for the Notrees Battery Facility.