## Slide 1: Final Report 30-Minute Emergency Response Service (ERS) Pilot Project
Mark Patterson, ERCOT
Technical Advisory Committee
November 7, 2013

## Slide 2: Background
ERCOT Board approved 30-Minute ERS Pilot Project in June 2012 to test an ERS product with a 30-minute ramp capability.
30-Minute ERS Pilot Features:
  Dispatched as early as EEA Level 1
  Procured via market clearing price mechanism
  Fleet-wide testing of Pilot Resources
  Maximum of 8 hours of obligation*
  Only financial consequences for non-compliance; no suspensions*
  * Modified in NPRR564
Procured through 5 Contract Periods
  July15, 2012 through September 2012
  October 2012 through January 2013
  February 2013 through May 2013
  June 2013 through September 2013
  October 2013 through January 2014
ERCOT Public
November 7, 2013
Notes: <number>

## Slide 3: Growth in Participation
1597 unique sites offered in to 30-Minute ERS
  1363 sites with no previous ERS-10 participation
  118 sites with more than12 months since last ERS-10 participation
Some sites that were unable to comply with ramp requirement of standard 10-Minute ERS product have migrated to 30-Minute ERS Pilot.
First ever ERS Residential Aggregations
QSEs have indicated that more sites would be willing to participate if 30-minute product was made permanent.
ERCOT Public
November 7, 2013

## Slide 4: Cost Comparison to NSRS & TDSP SOP
Comparisons to other services:
  TDSP Load Management Program
    $79.36/MW/hr
    applies to BH2 and BH3 during Jun-Sep Contract Period only
 | JulSep12 |  | Oct12Jan13 |  | FebMay13 |  | JunSep13 | 
 | ERS-30 | Non Spin | ERS-30 | Non Spin | ERS-30 | Non Spin | ERS-30 | Non Spin
BH1 | $11.00 | $1.03 | $8.10 | $1.10 | $7.81 | $3.05 | $8.00 | $1.21
BH2 | $16.00 | $19.76 | $9.20 | $2.34 | $8.60 | $5.21 | $8.50 | $9.05
BH3 | $16.00 | $21.41 | $9.50 | $3.12 | $8.90 | $6.84 | $8.80 | $13.07
NBH | $11.00 | $1.44 | $8.20 | $1.22 | $7.80 | $3.99 | $8.00 | $1.89
ERCOT Public
November 7, 2013

## Slide 5: Summary
Up to 137.9 MWs of new dispatchable capacity available to ERCOT
8 test deployments conducted to-date.
  6 of 8 test deployments were successful with overall response exceeding obligation
  1 test deployment failed due to confusion concerning obligations while ramp period crossing time periods; resolved with training session at DSWG
  1 test deployment failed primarily due to a single large site failing to deploy
Estimated pilot cost (though current SCT) - $9,158,511.96
ERCOT Public
November 7, 2013